## Forebay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2006-10-23 | 8:38
Report from file: | ...\SN32034 2006-09-21 085441 fltr060921.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fltr060921
Test defined on: | 2006-09-21 | 8:55
Test started on: | 2006-09-21 | 8:55
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 30
TOTAL DATA SAMPLES | 30
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-09-21 | 8:57 | 159 | 72.48 | 1.221 | 29.311 | 2.395 | 7.96 | 95007 | 1120.3457 | 26.94
2006-09-21 | 8:58 | 215 | 72.52 | 3.067 | 29.318 | 2.343 | 7.92 | 81765 | 964.3052 | 27.13
2006-09-21 | 8:59 | 249 | 72.5 | 5.931 | 29.32 | 2.421 | 7.87 | 78183 | 921.8371 | 27.09
2006-09-21 | 8:59 | 287 | 72.48 | 9.044 | 29.324 | 2.369 | 7.81 | 76026 | 896.0655 | 27.06
2006-09-21 | 9:00 | 338 | 72.47 | 11.994 | 29.328 | 2.317 | 7.81 | 74757 | 880.9374 | 27.04
2006-09-21 | 9:01 | 376 | 72.47 | 15.028 | 29.33 | 2.421 | 7.82 | 74049 | 872.5416 | 27.03
2006-09-21 | 9:02 | 423 | 72.45 | 18.062 | 29.333 | 2.317 | 7.79 | 97584 | 1149.4713 | 26.96
2006-09-21 | 9:03 | 479 | 72.42 | 21.05 | 29.332 | 2.395 | 7.51 | 97691 | 1150.3028 | 26.87
2006-09-21 | 9:03 | 521 | 72.35 | 23.957 | 29.334 | 2.369 | 7.48 | 97891 | 1151.7503 | 26.77
2006-09-21 | 9:04 | 572 | 72.23 | 27.164 | 29.339 | 2.395 | 7.45 | 98239 | 1154.2332 | 26.61
2006-09-21 | 9:05 | 632 | 70.61 | 30.067 | 29.339 | 2.369 | 5.77 | 103196 | 1191.6146 | 23.25
2006-09-21 | 9:06 | 683 | 65.78 | 40.214 | 29.322 | 2.369 | 5.29 | 119570 | 1309.6519 | 19.35
2006-09-21 | 9:07 | 726 | 65.01 | 50.683 | 29.339 | 2.395 | 5.31 | 122390 | 1328.1868 | 18.8
2006-09-21 | 9:07 | 760 | 64.45 | 60.057 | 29.352 | 2.395 | 5.34 | 124491 | 1341.8467 | 18.74
2006-09-21 | 9:08 | 824 | 62.81 | 70.546 | 29.367 | 2.395 | 5.34 | 130867 | 1383.4891 | 17.67
2006-09-21 | 9:08 | 828 | 62.81 | 70.523 | 29.369 | 2.395 | 5.34 | 130855 | 1383.3232 | 17.63
2006-09-21 | 9:09 | 879 | 60.33 | 80.524 | 29.37 | 2.395 | 5.36 | 141135 | 1449.1092 | 16.32
2006-09-21 | 9:10 | 935 | 58.58 | 90.509 | 29.382 | 2.395 | 5.41 | 148850 | 1496.129 | 16.04
2006-09-21 | 9:11 | 977 | 57.59 | 100.038 | 29.39 | 2.343 | 5.47 | 153423 | 1523.2048 | 16.2
2006-09-21 | 9:12 | 1029 | 56.99 | 110.01 | 29.407 | 2.395 | 5.56 | 156219 | 1538.8904 | 16.51
2006-09-21 | 9:13 | 1085 | 56.49 | 119.974 | 29.422 | 2.395 | 5.63 | 158648 | 1552.3061 | 16.7
2006-09-21 | 9:14 | 1140 | 56.12 | 130.036 | 29.431 | 2.317 | 5.67 | 160432 | 1562.155 | 16.9
2006-09-21 | 9:14 | 1179 | 55.58 | 139.825 | 29.437 | 2.317 | 5.69 | 163056 | 1576.9735 | 17.16
2006-09-21 | 9:15 | 1209 | 54.99 | 150.824 | 29.443 | 2.343 | 5.66 | 166034 | 1593.6136 | 17.82
2006-09-21 | 9:15 | 1247 | 54.36 | 160.717 | 29.452 | 2.395 | 5.62 | 169228 | 1611.1155 | 18.98
2006-09-21 | 9:16 | 1299 | 53.52 | 170.109 | 29.469 | 2.317 | 5.63 | 173652 | 1634.6519 | 19.8
2006-09-21 | 9:17 | 1333 | 52.89 | 180.039 | 29.475 | 2.291 | 5.62 | 177009 | 1652.7013 | 21.5
2006-09-21 | 9:17 | 1367 | 52.56 | 190.365 | 29.484 | 2.317 | 5.61 | 178783 | 1661.796 | 22.98
2006-09-21 | 9:18 | 1401 | 52.39 | 200.368 | 29.496 | 2.369 | 5.93 | 179705 | 1666.0629 | 24.73
2006-09-21 | 9:18 | 1414 | 52.38 | 201.714 | 29.499 | 2.343 | 6.01 | 179764 | 1666.2063 | 27.67

## Winchell Bay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2006-10-23 | 8:40
Report from file: | ...\SN32034 2006-09-21 092737 win060921.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | win060921
Test defined on: | 2006-09-21 | 9:28
Test started on: | 2006-09-21 | 9:28
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 24
TOTAL DATA SAMPLES | 24
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-09-21 | 9:28 | 47 | 71.7 | 0.414 | 29.309 | 2.395 | 9.01 | 88040 | 1029.5997 | 26.34
2006-09-21 | 9:29 | 97 | 73.24 | 3.006 | 29.309 | 2.395 | 8.97 | 63217 | 751.5378 | 27.3
2006-09-21 | 9:30 | 156 | 73.18 | 6.054 | 29.313 | 2.317 | 8.87 | 60648 | 720.4168 | 27.29
2006-09-21 | 9:31 | 186 | 73.17 | 8.978 | 29.313 | 2.317 | 8.84 | 60294 | 716.175 | 27.28
2006-09-21 | 9:31 | 224 | 73.13 | 12.057 | 29.315 | 2.317 | 8.87 | 59418 | 705.4278 | 27.27
2006-09-21 | 9:32 | 267 | 73.05 | 15.061 | 29.317 | 2.317 | 8.84 | 58772 | 697.0896 | 27.2
2006-09-21 | 9:33 | 305 | 72.92 | 18.07 | 29.319 | 2.395 | 8.78 | 58845 | 696.9332 | 27.13
2006-09-21 | 9:34 | 369 | 72.86 | 21.184 | 29.322 | 2.291 | 8.73 | 58241 | 689.2314 | 27.03
2006-09-21 | 9:35 | 434 | 71.48 | 24.144 | 29.323 | 2.369 | 7.08 | 55563 | 647.931 | 24.14
2006-09-21 | 9:35 | 464 | 67.75 | 26.909 | 29.301 | 2.369 | 6.66 | 109725 | 1229.4533 | 20.57
2006-09-21 | 9:39 | 664 | 65.87 | 36.282 | 29.332 | 2.369 | 6.39 | 62430 | 684.2845 | 19.3
2006-09-21 | 9:40 | 724 | 65.32 | 46.28 | 29.334 | 2.369 | 6.4 | 62847 | 684.5152 | 18.97
2006-09-21 | 9:41 | 780 | 64.81 | 55.994 | 29.346 | 2.369 | 6.34 | 61089 | 661.2769 | 18.82
2006-09-21 | 9:44 | 989 | 64.71 | 56.09 | 29.349 | 2.369 | 6.52 | 59091 | 638.8621 | 18.86
2006-09-21 | 9:47 | 1169 | 63.32 | 66.04 | 29.365 | 2.291 | 6.48 | 59537 | 633.1981 | 17.99
2006-09-21 | 9:48 | 1211 | 61.6 | 76.213 | 29.357 | 2.317 | 6.43 | 61356 | 639.7931 | 16.81
2006-09-21 | 9:49 | 1301 | 59.41 | 85.43 | 29.376 | 2.369 | 6.45 | 64252 | 652.3847 | 16.31
2006-09-21 | 9:50 | 1361 | 57.91 | 96.313 | 29.381 | 2.369 | 6.39 | 63800 | 636.0817 | 16.3
2006-09-21 | 9:51 | 1408 | 57.13 | 106.017 | 29.388 | 2.369 | 6.43 | 63280 | 624.8142 | 17.05
2006-09-21 | 9:52 | 1447 | 56.66 | 116.184 | 29.397 | 2.369 | 6.44 | 62161 | 610.0739 | 17.06
2006-09-21 | 9:53 | 1515 | 56.26 | 125.768 | 29.417 | 2.369 | 6.46 | 63904 | 623.6647 | 16.95
2006-09-21 | 9:53 | 1524 | 56.24 | 125.757 | 29.42 | 2.369 | 6.47 | 64014 | 624.5202 | 16.95
2006-09-21 | 9:57 | 1742 | 55.93 | 135.618 | 29.392 | 2.317 | 6.64 | 66358 | 645.8746 | 149.94
2006-09-21 | 9:57 | 1759 | 55.87 | 135.757 | 29.409 | 2.343 | 6.58 | 161644 | 1571.6074 | 230.25

## Finegold
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2006-10-23 | 8:41
Report from file: | ...\SN32034 2006-09-21 101005 fin060921.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fin060921
Test defined on: | 2006-09-21 | 10:10
Test started on: | 2006-09-21 | 10:10
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 17
TOTAL DATA SAMPLES | 17
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-09-21 | 10:11 | 34 | 73.21 | 1.022 | 29.297 | 2.369 | 8.45 | 95358 | 1133.7269 | 26.5
2006-09-21 | 10:11 | 60 | 73.1 | 3.043 | 29.301 | 2.343 | 8.37 | 95675 | 1136.0106 | 26.65
2006-09-21 | 10:12 | 89 | 73.04 | 6.137 | 29.303 | 2.317 | 8.31 | 95857 | 1137.3577 | 26.58
2006-09-21 | 10:12 | 136 | 72.97 | 9.056 | 29.305 | 2.369 | 8.29 | 96053 | 1138.7689 | 26.53
2006-09-21 | 10:13 | 175 | 72.95 | 12.026 | 29.308 | 2.369 | 8.32 | 96107 | 1139.0933 | 26.51
2006-09-21 | 10:14 | 243 | 71.53 | 15.227 | 29.311 | 2.369 | 7.26 | 100352 | 1171.3957 | 24.53
2006-09-21 | 10:15 | 281 | 69.72 | 18.074 | 29.301 | 2.369 | 6.81 | 106036 | 1214.2248 | 22.71
2006-09-21 | 10:16 | 354 | 66.85 | 28.202 | 29.303 | 2.291 | 6.44 | 115728 | 1283.765 | 20.48
2006-09-21 | 10:17 | 397 | 65.46 | 37.949 | 29.307 | 2.343 | 6.39 | 120736 | 1318.3875 | 19.7
2006-09-21 | 10:17 | 444 | 64.66 | 47.538 | 29.316 | 2.369 | 6.38 | 123695 | 1338.1183 | 19.26
2006-09-21 | 10:18 | 491 | 64.31 | 57.981 | 29.33 | 2.369 | 6.4 | 125023 | 1346.4356 | 19.1
2006-09-21 | 10:19 | 559 | 63.11 | 68.919 | 29.346 | 2.369 | 6.26 | 129673 | 1376.6464 | 18.44
2006-09-21 | 10:20 | 611 | 61.23 | 78.431 | 29.346 | 2.343 | 6.13 | 137326 | 1426.2435 | 18.15
2006-09-21 | 10:22 | 697 | 59.78 | 87.753 | 29.371 | 2.317 | 5.96 | 143522 | 1463.9771 | 18.89
2006-09-21 | 10:22 | 739 | 58.31 | 97.823 | 29.365 | 2.343 | 5.99 | 150083 | 1504.4445 | 19.48
2006-09-21 | 10:23 | 778 | 57.42 | 107.951 | 29.37 | 2.343 | 6.01 | 154189 | 1528.8238 | 19.87
2006-09-21 | 10:23 | 791 | 56.77 | 113.506 | 29.373 | 2.343 | 6.25 | 157290 | 1547.0099 | 20.24