## Forebay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2006-12-22 | 7:21
Report from file: | ...\SN32034 2006-12-21 083124 fltr061221.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fltr061221
Test defined on: | 2006-12-21 | 8:31
Test started on: | 2006-12-21 | 8:31
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 45
TOTAL DATA SAMPLES | 45
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-12-21 | 8:32 | 17 | 55.01 | 1.88 | 29.701 | 2.759 | 7.69 | 14234 | 135.4552 | 24.25
2006-12-21 | 8:32 | 51 | 55.01 | 4.002 | 29.704 | 2.759 | 7.7 | 14236 | 135.4475 | 24.26
2006-12-21 | 8:33 | 89 | 55.02 | 6.189 | 29.708 | 2.785 | 7.69 | 14229 | 135.3906 | 24.23
2006-12-21 | 8:33 | 123 | 55.03 | 9.165 | 29.712 | 2.707 | 7.61 | 14224 | 135.3436 | 24.25
2006-12-21 | 8:34 | 152 | 55.03 | 12.24 | 29.715 | 2.759 | 7.57 | 14225 | 135.3321 | 24.23
2006-12-21 | 8:34 | 177 | 55.03 | 15.003 | 29.718 | 2.759 | 7.51 | 14226 | 135.3298 | 24.23
2006-12-21 | 8:35 | 202 | 55.03 | 17.734 | 29.72 | 2.759 | 7.45 | 14225 | 135.3127 | 24.24
2006-12-21 | 8:35 | 232 | 55.02 | 20.201 | 29.724 | 2.759 | 7.41 | 14229 | 135.3162 | 24.22
2006-12-21 | 8:36 | 253 | 55.03 | 25.89 | 29.728 | 2.759 | 7.33 | 14227 | 135.2828 | 24.22
2006-12-21 | 8:36 | 274 | 55.03 | 25.924 | 29.731 | 2.759 | 7.32 | 14223 | 135.2487 | 24.2
2006-12-21 | 8:36 | 299 | 55.03 | 27.929 | 29.734 | 2.759 | 7.29 | 14225 | 135.2478 | 24.2
2006-12-21 | 8:37 | 329 | 55.02 | 30.903 | 29.738 | 2.759 | 7.2 | 14227 | 135.238 | 24.18
2006-12-21 | 8:37 | 358 | 55.03 | 33.96 | 29.741 | 2.759 | 7.19 | 14226 | 135.2188 | 24.19
2006-12-21 | 8:38 | 384 | 55.02 | 36.967 | 29.745 | 2.759 | 7.16 | 14229 | 135.2169 | 24.17
2006-12-21 | 8:38 | 413 | 55.03 | 40.337 | 29.749 | 2.759 | 7.13 | 14225 | 135.1779 | 24.16
2006-12-21 | 8:39 | 459 | 55.03 | 43.177 | 29.75 | 2.759 | 7.1 | 14223 | 135.1614 | 24.15
2006-12-21 | 8:40 | 501 | 55.02 | 46.249 | 29.752 | 2.759 | 7.08 | 14228 | 135.1771 | 24.15
2006-12-21 | 8:40 | 538 | 55 | 49.898 | 29.756 | 2.733 | 7.07 | 14237 | 135.2084 | 24.14
2006-12-21 | 8:41 | 580 | 55.01 | 52.906 | 29.76 | 2.759 | 7.05 | 14234 | 135.1764 | 24.12
2006-12-21 | 8:42 | 617 | 55.01 | 55.995 | 29.763 | 2.759 | 7.04 | 14232 | 135.1522 | 24.1
2006-12-21 | 8:42 | 663 | 55 | 58.985 | 29.765 | 2.733 | 7.03 | 14236 | 135.1648 | 24.1
2006-12-21 | 8:43 | 700 | 55.01 | 61.992 | 29.768 | 2.759 | 7.02 | 14234 | 135.1387 | 24.1
2006-12-21 | 8:44 | 742 | 55.02 | 65.082 | 29.774 | 2.759 | 7.02 | 14229 | 135.0856 | 24.09
2006-12-21 | 8:44 | 780 | 55.01 | 68.006 | 29.778 | 2.759 | 7.02 | 14232 | 135.0833 | 24.08
2006-12-21 | 8:45 | 829 | 55.01 | 70.948 | 29.781 | 2.759 | 7.02 | 14232 | 135.0705 | 24.07
2006-12-21 | 8:46 | 879 | 55 | 74.169 | 29.784 | 2.759 | 7.01 | 14237 | 135.0797 | 24.06
2006-12-21 | 8:47 | 925 | 55.01 | 76.814 | 29.787 | 2.759 | 7.01 | 14233 | 135.0476 | 24.07
2006-12-21 | 8:48 | 1000 | 55 | 80.034 | 29.79 | 2.733 | 7.01 | 14238 | 135.0638 | 24.07
2006-12-21 | 8:49 | 1042 | 55.01 | 83.223 | 29.793 | 2.759 | 7.02 | 14233 | 135.0221 | 24.04
2006-12-21 | 8:49 | 1071 | 55.01 | 85.967 | 29.796 | 2.759 | 7.02 | 14234 | 135.0079 | 24.06
2006-12-21 | 8:50 | 1104 | 55.01 | 88.792 | 29.8 | 2.733 | 7.02 | 14231 | 134.9747 | 24.05
2006-12-21 | 8:50 | 1141 | 55 | 91.126 | 29.805 | 2.733 | 7.02 | 14235 | 134.9745 | 24.04
2006-12-21 | 8:51 | 1175 | 55.01 | 94.183 | 29.808 | 2.759 | 7.01 | 14233 | 134.9469 | 24.07
2006-12-21 | 8:52 | 1208 | 55 | 97.025 | 29.814 | 2.707 | 7.01 | 14236 | 134.9389 | 24.04
2006-12-21 | 8:52 | 1254 | 55.01 | 100.016 | 29.819 | 2.733 | 7.02 | 14234 | 134.9054 | 24.05
2006-12-21 | 8:53 | 1325 | 55.01 | 109.616 | 29.833 | 2.733 | 7.01 | 14234 | 134.8408 | 24.06
2006-12-21 | 8:55 | 1400 | 54.72 | 119.013 | 29.842 | 2.759 | 6.84 | 14360 | 135.5021 | 25.03
2006-12-21 | 8:56 | 1487 | 54.36 | 130.073 | 29.851 | 2.759 | 6.85 | 14518 | 136.3316 | 26.29
2006-12-21 | 8:57 | 1533 | 54.07 | 141.184 | 29.864 | 2.759 | 6.84 | 14645 | 136.9777 | 26.91
2006-12-21 | 8:58 | 1587 | 53.97 | 150.152 | 29.875 | 2.759 | 6.75 | 14692 | 137.1811 | 26.4
2006-12-21 | 8:59 | 1645 | 53.72 | 160.627 | 29.887 | 2.681 | 6.65 | 14802 | 137.7254 | 25.33
2006-12-21 | 9:00 | 1699 | 53.46 | 170.971 | 29.899 | 2.733 | 6.69 | 14920 | 138.3124 | 26.05
2006-12-21 | 9:00 | 1745 | 53.27 | 180.024 | 29.909 | 2.681 | 6.63 | 15005 | 138.7269 | 26.38
2006-12-21 | 9:02 | 1808 | 52.9 | 190.506 | 29.92 | 2.759 | 6.73 | 15175 | 139.5881 | 31.58
2006-12-21 | 9:02 | 1824 | 52.87 | 195.002 | 29.922 | 2.759 | 6.8 | 15191 | 139.6701 | 34.18

## Winchell Bay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2006-12-22 | 7:34
Report from file: | ...\SN32034 2006-12-21 091702 win061221.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | win061221
Test defined on: | 2006-12-21 | 9:17
Test started on: | 2006-12-21 | 9:17
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 35
TOTAL DATA SAMPLES | 35
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-12-21 | 9:18 | 68 | 54.91 | 1.656 | 29.718 | 2.759 | 9.06 | 14273 | 135.5816 | 24.15
2006-12-21 | 9:19 | 97 | 54.89 | 2.977 | 29.714 | 2.759 | 8.94 | 14285 | 135.6665 | 24.28
2006-12-21 | 9:19 | 139 | 54.91 | 6.006 | 29.711 | 2.759 | 8.72 | 14275 | 135.6308 | 24.3
2006-12-21 | 9:21 | 215 | 54.9 | 12.028 | 29.714 | 2.733 | 8.57 | 14279 | 135.6343 | 24.27
2006-12-21 | 9:21 | 257 | 54.9 | 14.79 | 29.717 | 2.759 | 8.51 | 14279 | 135.6258 | 24.25
2006-12-21 | 9:22 | 295 | 54.92 | 18.005 | 29.722 | 2.759 | 8.43 | 14270 | 135.5522 | 24.26
2006-12-21 | 9:23 | 329 | 54.92 | 20.715 | 29.724 | 2.681 | 8.38 | 14272 | 135.5498 | 24.27
2006-12-21 | 9:23 | 367 | 54.93 | 23.984 | 29.728 | 2.759 | 8.3 | 14267 | 135.5048 | 24.26
2006-12-21 | 9:24 | 400 | 54.93 | 27.057 | 29.73 | 2.707 | 8.24 | 14266 | 135.4908 | 24.25
2006-12-21 | 9:24 | 425 | 54.92 | 30.046 | 29.733 | 2.759 | 8.19 | 14270 | 135.496 | 24.24
2006-12-21 | 9:25 | 459 | 54.91 | 33.152 | 29.738 | 2.733 | 8.16 | 14274 | 135.503 | 24.26
2006-12-21 | 9:26 | 517 | 54.92 | 36.389 | 29.737 | 2.759 | 8 | 14272 | 135.4928 | 24.26
2006-12-21 | 9:26 | 551 | 54.9 | 38.936 | 29.743 | 2.733 | 7.95 | 14279 | 135.5069 | 24.26
2006-12-21 | 9:27 | 580 | 54.9 | 42.156 | 29.747 | 2.681 | 7.87 | 14282 | 135.5016 | 24.26
2006-12-21 | 9:27 | 593 | 54.9 | 42.239 | 29.747 | 2.733 | 7.84 | 14281 | 135.4968 | 24.24
2006-12-21 | 9:28 | 634 | 54.9 | 44.917 | 29.751 | 2.733 | 7.81 | 14279 | 135.4709 | 24.24
2006-12-21 | 9:28 | 668 | 54.9 | 47.973 | 29.755 | 2.733 | 7.74 | 14279 | 135.4515 | 24.25
2006-12-21 | 9:29 | 706 | 54.9 | 51.096 | 29.758 | 2.733 | 7.68 | 14279 | 135.4372 | 24.25
2006-12-21 | 9:29 | 748 | 54.88 | 54.038 | 29.761 | 2.733 | 7.64 | 14287 | 135.4671 | 24.26
2006-12-21 | 9:30 | 799 | 54.89 | 57.343 | 29.764 | 2.733 | 7.55 | 14285 | 135.4404 | 24.26
2006-12-21 | 9:31 | 854 | 54.88 | 60.104 | 29.766 | 2.707 | 7.48 | 14288 | 135.4514 | 24.26
2006-12-21 | 9:31 | 862 | 54.88 | 60.104 | 29.766 | 2.733 | 7.48 | 14290 | 135.4591 | 24.26
2006-12-21 | 9:32 | 900 | 54.89 | 62.782 | 29.769 | 2.733 | 7.44 | 14286 | 135.4231 | 24.27
2006-12-21 | 9:33 | 938 | 54.87 | 65.987 | 29.773 | 2.733 | 7.4 | 14295 | 135.4578 | 24.25
2006-12-21 | 9:33 | 972 | 54.87 | 68.977 | 29.777 | 2.733 | 7.38 | 14292 | 135.4247 | 24.26
2006-12-21 | 9:34 | 1006 | 54.87 | 71.969 | 29.781 | 2.707 | 7.35 | 14294 | 135.4152 | 24.26
2006-12-21 | 9:34 | 1048 | 54.87 | 75.058 | 29.786 | 2.733 | 7.33 | 14294 | 135.3896 | 24.25
2006-12-21 | 9:35 | 1094 | 54.86 | 77.885 | 29.789 | 2.707 | 7.29 | 14296 | 135.3902 | 24.25
2006-12-21 | 9:36 | 1132 | 54.86 | 80.925 | 29.792 | 2.733 | 7.27 | 14296 | 135.3781 | 24.26
2006-12-21 | 9:36 | 1162 | 54.86 | 83.965 | 29.796 | 2.733 | 7.26 | 14298 | 135.3656 | 24.26
2006-12-21 | 9:37 | 1192 | 54.86 | 87.284 | 29.8 | 2.707 | 7.25 | 14298 | 135.3528 | 24.25
2006-12-21 | 9:37 | 1217 | 54.87 | 90.127 | 29.804 | 2.733 | 7.24 | 14294 | 135.3104 | 24.26
2006-12-21 | 9:38 | 1259 | 54.79 | 100.255 | 29.817 | 2.733 | 7.21 | 14329 | 135.4433 | 24.45
2006-12-21 | 9:39 | 1305 | 54.8 | 109.971 | 29.828 | 2.707 | 7.2 | 14325 | 135.3709 | 24.44
2006-12-21 | 9:39 | 1322 | 54.8 | 114.359 | 29.832 | 2.681 | 7.22 | 14324 | 135.3496 | 28.25

## Finegold
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2006-12-22 | 7:37
Report from file: | ...\SN32034 2006-12-21 095417 fin061221.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fin061221
Test defined on: | 2006-12-21 | 9:54
Test started on: | 2006-12-21 | 9:54
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 37
TOTAL DATA SAMPLES | 37
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-12-21 | 9:55 | 28 | 54.64 | 2.729 | 29.755 | 2.681 | 9.4 | 14392 | 136.0736 | 25.05
2006-12-21 | 9:55 | 62 | 54.61 | 3.034 | 29.736 | 2.707 | 9.13 | 14405 | 136.2375 | 25.03
2006-12-21 | 9:56 | 129 | 54.66 | 5.919 | 29.718 | 2.733 | 8.78 | 14385 | 136.2095 | 25.02
2006-12-21 | 9:57 | 168 | 54.69 | 9.012 | 29.719 | 2.733 | 8.71 | 14370 | 136.1244 | 25.02
2006-12-21 | 9:58 | 202 | 54.69 | 12.257 | 29.72 | 2.733 | 8.65 | 14369 | 136.1119 | 25.02
2006-12-21 | 9:58 | 253 | 54.69 | 15.264 | 29.721 | 2.681 | 8.51 | 14369 | 136.1071 | 25.01
2006-12-21 | 9:59 | 291 | 54.68 | 18.134 | 29.723 | 2.733 | 8.46 | 14374 | 136.1291 | 25.02
2006-12-21 | 10:00 | 316 | 54.68 | 20.961 | 29.725 | 2.733 | 8.39 | 14377 | 136.1355 | 25.01
2006-12-21 | 10:00 | 346 | 54.68 | 23.918 | 29.729 | 2.733 | 8.31 | 14377 | 136.1155 | 25.02
2006-12-21 | 10:01 | 380 | 54.69 | 26.956 | 29.732 | 2.681 | 8.23 | 14373 | 136.0802 | 25
2006-12-21 | 10:01 | 414 | 54.68 | 29.733 | 29.735 | 2.733 | 8.17 | 14376 | 136.0795 | 25
2006-12-21 | 10:02 | 453 | 54.69 | 32.969 | 29.737 | 2.733 | 8.1 | 14370 | 136.0398 | 25.02
2006-12-21 | 10:02 | 491 | 54.69 | 36.009 | 29.741 | 2.681 | 8.06 | 14373 | 136.04 | 25.02
2006-12-21 | 10:03 | 529 | 54.68 | 39.064 | 29.746 | 2.733 | 7.94 | 14374 | 136.022 | 25.01
2006-12-21 | 10:04 | 559 | 54.68 | 42.089 | 29.749 | 2.707 | 7.92 | 14377 | 136.0251 | 24.99
2006-12-21 | 10:04 | 589 | 54.69 | 45.392 | 29.753 | 2.733 | 7.84 | 14370 | 135.9704 | 25
2006-12-21 | 10:05 | 614 | 54.67 | 48.168 | 29.757 | 2.733 | 7.79 | 14379 | 135.9983 | 25
2006-12-21 | 10:05 | 648 | 54.68 | 51.061 | 29.759 | 2.733 | 7.74 | 14376 | 135.9735 | 25
2006-12-21 | 10:06 | 682 | 54.67 | 53.97 | 29.76 | 2.733 | 7.73 | 14381 | 135.9961 | 24.99
2006-12-21 | 10:06 | 720 | 54.67 | 57.061 | 29.763 | 2.733 | 7.68 | 14381 | 135.9794 | 24.97
2006-12-21 | 10:07 | 758 | 54.65 | 59.92 | 29.767 | 2.707 | 7.64 | 14388 | 136.0044 | 25.04
2006-12-21 | 10:07 | 775 | 54.67 | 59.987 | 29.765 | 2.681 | 7.6 | 14382 | 135.9794 | 25.02
2006-12-21 | 10:08 | 805 | 54.65 | 62.994 | 29.768 | 2.733 | 7.58 | 14391 | 136.0117 | 25.03
2006-12-21 | 10:08 | 835 | 54.65 | 66.067 | 29.771 | 2.707 | 7.55 | 14388 | 135.9825 | 25.12
2006-12-21 | 10:09 | 873 | 54.65 | 68.796 | 29.773 | 2.707 | 7.5 | 14388 | 135.9745 | 25.05
2006-12-21 | 10:10 | 924 | 54.64 | 71.771 | 29.776 | 2.733 | 7.48 | 14392 | 135.9864 | 25.12
2006-12-21 | 10:10 | 954 | 54.64 | 74.976 | 29.78 | 2.707 | 7.46 | 14391 | 135.9632 | 25.06
2006-12-21 | 10:11 | 992 | 54.65 | 78.279 | 29.785 | 2.733 | 7.44 | 14391 | 135.9357 | 25.09
2006-12-21 | 10:11 | 1026 | 54.66 | 80.415 | 29.786 | 2.655 | 7.41 | 14385 | 135.8965 | 25.08
2006-12-21 | 10:12 | 1065 | 54.66 | 84.145 | 29.79 | 2.707 | 7.39 | 14386 | 135.8833 | 25.04
2006-12-21 | 10:12 | 1073 | 54.66 | 84.128 | 29.79 | 2.733 | 7.39 | 14387 | 135.8917 | 25.06
2006-12-21 | 10:13 | 1099 | 54.64 | 86.873 | 29.792 | 2.733 | 7.36 | 14393 | 135.9157 | 25.14
2006-12-21 | 10:13 | 1124 | 54.64 | 90.013 | 29.796 | 2.733 | 7.36 | 14393 | 135.8938 | 25.15
2006-12-21 | 10:14 | 1163 | 54.44 | 99.323 | 29.809 | 2.733 | 7.33 | 14482 | 136.3356 | 25.68
2006-12-21 | 10:14 | 1197 | 54.02 | 109.359 | 29.82 | 2.707 | 7.32 | 14669 | 137.3105 | 26.07
2006-12-21 | 10:15 | 1239 | 53.33 | 119.86 | 29.833 | 2.707 | 7.31 | 14981 | 138.9559 | 26.49
2006-12-21 | 10:15 | 1256 | 53.34 | 129.637 | 29.84 | 2.681 | 7.28 | 14975 | 138.8896 | 32.8