## Forebay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2007-03-23 | 6:57
Report from file: | ...\SN32034 2007-02-21 091200 2-21-2007.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | 2007-02-21
Test defined on: | 2007-02-21 | 9:12
Test started on: | 2007-02-21 | 9:12
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 31
TOTAL DATA SAMPLES | 31
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2007-02-21 | 9:14 | 136 | 52.05 | 3.074 | 29.532 | 2.447 | 6.82 | 10014 | 92.3218 | 24.59
2007-02-21 | 9:15 | 208 | 52.05 | 5.994 | 29.538 | 2.447 | 6.8 | 10205 | 94.0658 | 24.58
2007-02-21 | 9:16 | 260 | 52.06 | 8.957 | 29.542 | 2.369 | 6.77 | 10365 | 95.5431 | 24.6
2007-02-21 | 9:17 | 307 | 52.04 | 11.984 | 29.545 | 2.447 | 6.71 | 10579 | 97.4861 | 24.61
2007-02-21 | 9:18 | 358 | 52.04 | 15.013 | 29.547 | 2.447 | 6.66 | 10727 | 98.8372 | 24.62
2007-02-21 | 9:19 | 401 | 51.92 | 17.949 | 29.551 | 2.421 | 6.63 | 10919 | 100.4399 | 24.54
2007-02-21 | 9:19 | 439 | 51.8 | 20.957 | 29.555 | 2.447 | 6.62 | 11056 | 101.5167 | 24.46
2007-02-21 | 9:20 | 478 | 51.75 | 23.931 | 29.557 | 2.447 | 6.61 | 11179 | 102.583 | 24.41
2007-02-21 | 9:21 | 521 | 51.63 | 26.985 | 29.561 | 2.369 | 6.59 | 11428 | 104.6888 | 24.36
2007-02-21 | 9:22 | 572 | 51.55 | 29.961 | 29.565 | 2.447 | 6.57 | 11642 | 106.5224 | 24.26
2007-02-21 | 9:22 | 624 | 51.51 | 32.962 | 29.57 | 2.421 | 6.55 | 11838 | 108.2534 | 24.28
2007-02-21 | 9:23 | 675 | 51.51 | 35.91 | 29.574 | 2.447 | 6.54 | 12055 | 110.2053 | 24.29
2007-02-21 | 9:24 | 731 | 51.48 | 38.89 | 29.578 | 2.447 | 6.5 | 12233 | 111.7878 | 24.31
2007-02-21 | 9:25 | 791 | 51.48 | 41.984 | 29.582 | 2.421 | 6.48 | 12379 | 113.0955 | 24.29
2007-02-21 | 9:26 | 838 | 51.45 | 44.994 | 29.584 | 2.369 | 6.46 | 12491 | 114.0739 | 24.25
2007-02-21 | 9:27 | 885 | 51.42 | 47.925 | 29.587 | 2.421 | 6.45 | 12667 | 115.6155 | 24.3
2007-02-21 | 9:28 | 950 | 51.01 | 51.018 | 29.594 | 2.421 | 6.35 | 12811 | 116.295 | 24.18
2007-02-21 | 9:29 | 1001 | 49.78 | 53.921 | 29.591 | 2.421 | 6.22 | 13071 | 116.7741 | 23.93
2007-02-21 | 9:30 | 1061 | 48.82 | 60.079 | 29.596 | 2.421 | 6.05 | 13123 | 115.7365 | 24.04
2007-02-21 | 9:31 | 1138 | 48.34 | 69.951 | 29.609 | 2.369 | 5.94 | 12972 | 113.6233 | 24
2007-02-21 | 9:32 | 1198 | 47.75 | 79.973 | 29.61 | 2.343 | 5.89 | 13214 | 114.8369 | 24.01
2007-02-21 | 9:33 | 1257 | 47.07 | 90.063 | 29.621 | 2.343 | 5.86 | 13405 | 115.3894 | 24.02
2007-02-21 | 9:34 | 1308 | 46.4 | 100.008 | 29.626 | 2.421 | 5.87 | 13708 | 116.9105 | 24.08
2007-02-21 | 9:35 | 1360 | 46.09 | 109.987 | 29.638 | 2.421 | 5.86 | 14146 | 120.0918 | 24
2007-02-21 | 9:36 | 1427 | 45.97 | 119.944 | 29.651 | 2.421 | 5.85 | 14646 | 124.0831 | 23.91
2007-02-21 | 9:37 | 1485 | 45.92 | 129.92 | 29.662 | 2.343 | 5.84 | 14992 | 126.8822 | 24.05
2007-02-21 | 9:38 | 1544 | 45.89 | 140.036 | 29.673 | 2.421 | 5.83 | 15148 | 128.1047 | 23.9
2007-02-21 | 9:39 | 1591 | 45.88 | 149.916 | 29.682 | 2.343 | 5.82 | 15541 | 131.3592 | 24.15
2007-02-21 | 9:40 | 1654 | 45.88 | 159.993 | 29.696 | 2.395 | 5.75 | 15589 | 131.7095 | 24.15
2007-02-21 | 9:40 | 1692 | 45.88 | 170.018 | 29.706 | 2.395 | 5.75 | 15648 | 132.165 | 24.16
2007-02-21 | 9:41 | 1747 | 45.9 | 179.91 | 29.719 | 2.395 | 5.76 | 15777 | 133.236 | 24.26

## Winchell Bay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2007-03-23 | 6:58
Report from file: | ...\SN32034 2007-02-21 095924 2-21-2007-wc.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | 2-21-2007-wc
Test defined on: | 2007-02-21 | 9:59
Test started on: | 2007-02-21 | 9:59
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 25
TOTAL DATA SAMPLES | 25
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2007-02-21 | 10:00 | 59 | 52.5 | 2.955 | 29.531 | 2.421 | 7.05 | 11501 | 106.6498 | 24.91
2007-02-21 | 10:01 | 101 | 52.14 | 6.032 | 29.53 | 2.421 | 6.89 | 11674 | 107.756 | 24.75
2007-02-21 | 10:03 | 195 | 51.98 | 9.015 | 29.534 | 2.421 | 6.74 | 11938 | 109.9531 | 24.65
2007-02-21 | 10:04 | 254 | 51.65 | 11.952 | 29.536 | 2.369 | 6.62 | 12111 | 111.0738 | 24.39
2007-02-21 | 10:04 | 297 | 51.43 | 15.101 | 29.537 | 2.343 | 6.55 | 12265 | 112.1659 | 24.42
2007-02-21 | 10:05 | 344 | 51.38 | 17.984 | 29.54 | 2.395 | 6.49 | 12354 | 112.8857 | 24.36
2007-02-21 | 10:06 | 386 | 51.34 | 21.056 | 29.544 | 2.343 | 6.44 | 12472 | 113.8924 | 24.33
2007-02-21 | 10:07 | 442 | 51.29 | 24.044 | 29.548 | 2.395 | 6.39 | 12627 | 115.2212 | 24.29
2007-02-21 | 10:08 | 489 | 51.28 | 26.96 | 29.551 | 2.395 | 6.37 | 12738 | 116.2043 | 24.28
2007-02-21 | 10:08 | 532 | 51.22 | 30.01 | 29.554 | 2.343 | 6.33 | 12834 | 116.9747 | 24.24
2007-02-21 | 10:09 | 583 | 51.06 | 33.003 | 29.556 | 2.317 | 6.3 | 13051 | 118.6938 | 24.12
2007-02-21 | 10:10 | 629 | 50.98 | 35.976 | 29.557 | 2.369 | 6.27 | 13038 | 118.4468 | 24.11
2007-02-21 | 10:11 | 685 | 50.96 | 38.978 | 29.56 | 2.395 | 6.25 | 13138 | 119.3244 | 24.04
2007-02-21 | 10:12 | 732 | 50.84 | 42.013 | 29.563 | 2.395 | 6.24 | 13184 | 119.5403 | 24.08
2007-02-21 | 10:13 | 792 | 50.72 | 44.941 | 29.567 | 2.395 | 6.19 | 13299 | 120.3728 | 23.96
2007-02-21 | 10:14 | 847 | 50.54 | 47.988 | 29.568 | 2.395 | 6.16 | 13383 | 120.8452 | 23.94
2007-02-21 | 10:14 | 894 | 50.12 | 51.086 | 29.569 | 2.343 | 6.09 | 13479 | 121.0411 | 23.9
2007-02-21 | 10:15 | 958 | 49.35 | 54.144 | 29.572 | 2.395 | 6 | 13505 | 120.0399 | 23.93
2007-02-21 | 10:16 | 1018 | 48.63 | 59.923 | 29.574 | 2.395 | 5.96 | 13570 | 119.4712 | 24.17
2007-02-21 | 10:17 | 1073 | 47.73 | 69.929 | 29.58 | 2.395 | 5.92 | 13716 | 119.2944 | 24.09
2007-02-21 | 10:18 | 1128 | 47.46 | 79.979 | 29.591 | 2.343 | 5.9 | 13838 | 119.876 | 23.9
2007-02-21 | 10:19 | 1179 | 47.16 | 89.986 | 29.6 | 2.343 | 5.9 | 14032 | 121.0364 | 23.98
2007-02-21 | 10:20 | 1240 | 46.63 | 99.951 | 29.611 | 2.395 | 5.92 | 14341 | 122.7541 | 23.99
2007-02-21 | 10:21 | 1308 | 46.35 | 109.951 | 29.625 | 2.395 | 5.93 | 14586 | 124.3224 | 24.01
2007-02-21 | 10:23 | 1437 | 46.15 | 119.956 | 29.64 | 2.343 | 5.93 | 14818 | 125.8858 | 24.19

## Finegold
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2007-03-23 | 7:07
Report from file: | ...\SN32034 2007-02-21 103858 2-21-2007-fg.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | 2-21-2007-fg
Test defined on: | 2007-02-21 | 10:39
Test started on: | 2007-02-21 | 10:39
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 39
TOTAL DATA SAMPLES | 39
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2007-02-21 | 10:40 | 66 | 51.95 | 2.96 | 29.515 | 2.421 | 7.43 | 11717 | 107.955 | 25.8
2007-02-21 | 10:42 | 155 | 51.83 | 6.038 | 29.52 | 2.369 | 7.24 | 11969 | 110.0804 | 25.83
2007-02-21 | 10:43 | 253 | 51.71 | 8.947 | 29.522 | 2.317 | 7.08 | 12075 | 110.8822 | 25.85
2007-02-21 | 10:44 | 308 | 51.56 | 11.889 | 29.522 | 2.317 | 6.98 | 12258 | 112.3442 | 25.95
2007-02-21 | 10:45 | 355 | 51.37 | 14.955 | 29.523 | 2.395 | 6.89 | 12379 | 113.1621 | 25.97
2007-02-21 | 10:46 | 402 | 51.25 | 17.97 | 29.526 | 2.395 | 6.82 | 12551 | 114.55 | 25.87
2007-02-21 | 10:46 | 449 | 51.16 | 20.953 | 29.528 | 2.395 | 6.75 | 12656 | 115.3637 | 26.16
2007-02-21 | 10:47 | 500 | 50.61 | 23.974 | 29.529 | 2.369 | 6.65 | 12880 | 116.5724 | 25.7
2007-02-21 | 10:48 | 556 | 50.49 | 26.953 | 29.533 | 2.395 | 6.57 | 12917 | 116.707 | 25.89
2007-02-21 | 10:49 | 607 | 50.44 | 29.963 | 29.537 | 2.317 | 6.5 | 12930 | 116.7359 | 25.86
2007-02-21 | 10:50 | 654 | 50.31 | 32.935 | 29.536 | 2.317 | 6.44 | 29740 | 268.0643 | 25.64
2007-02-21 | 10:51 | 704 | 50.24 | 35.961 | 29.539 | 2.317 | 6.4 | 14594 | 131.4031 | 25.66
2007-02-21 | 10:52 | 768 | 50.2 | 39.017 | 29.544 | 2.395 | 6.34 | 14156 | 127.3745 | 25.85
2007-02-21 | 10:53 | 815 | 50.07 | 41.971 | 29.545 | 2.395 | 6.32 | 14082 | 126.4803 | 25.98
2007-02-21 | 10:54 | 908 | 50.07 | 45.026 | 29.549 | 2.395 | 6.25 | 13993 | 125.6724 | 25.98
2007-02-21 | 10:55 | 951 | 49.83 | 47.986 | 29.548 | 2.291 | 6.23 | 14026 | 125.5802 | 25.55
2007-02-21 | 10:56 | 1015 | 49.73 | 50.986 | 29.553 | 2.369 | 6.18 | 14056 | 125.6522 | 25.36
2007-02-21 | 10:57 | 1075 | 49.65 | 53.929 | 29.556 | 2.369 | 6.15 | 14025 | 125.2246 | 25.51
2007-02-21 | 10:57 | 1109 | 49.36 | 57.023 | 29.556 | 2.369 | 6.12 | 14076 | 125.2087 | 25.95
2007-02-21 | 10:59 | 1216 | 49.22 | 59.992 | 29.563 | 2.317 | 6.07 | 13998 | 124.2485 | 26.29
2007-02-21 | 11:01 | 1305 | 49.05 | 63.012 | 29.565 | 2.369 | 6.05 | 13903 | 123.1281 | 27.77
2007-02-21 | 11:01 | 1340 | 48.92 | 66.034 | 29.566 | 2.369 | 6.04 | 13977 | 123.5572 | 27.48
2007-02-21 | 11:03 | 1425 | 48.58 | 69.013 | 29.571 | 2.369 | 6.02 | 14079 | 123.8825 | 28.12
2007-02-21 | 11:03 | 1455 | 48.22 | 72.011 | 29.57 | 2.369 | 6 | 14115 | 123.617 | 28.58
2007-02-21 | 11:03 | 1464 | 48.29 | 72.07 | 29.57 | 2.369 | 6 | 14108 | 123.6644 | 28.66
2007-02-21 | 11:04 | 1508 | 48.03 | 75.084 | 29.57 | 2.369 | 5.99 | 14204 | 124.0737 | 28.53
2007-02-21 | 11:05 | 1546 | 47.67 | 77.999 | 29.571 | 2.369 | 5.98 | 14298 | 124.2951 | 28.34
2007-02-21 | 11:06 | 1623 | 47.25 | 80.999 | 29.578 | 2.343 | 5.98 | 14371 | 124.1959 | 27.02
2007-02-21 | 11:07 | 1653 | 47.06 | 83.98 | 29.578 | 2.317 | 5.98 | 14466 | 124.6915 | 26.2
2007-02-21 | 11:07 | 1679 | 46.98 | 87.009 | 29.577 | 2.369 | 5.98 | 14559 | 125.3725 | 26.09
2007-02-21 | 11:07 | 1709 | 46.93 | 89.987 | 29.581 | 2.369 | 5.97 | 14678 | 126.2789 | 25.89
2007-02-21 | 11:08 | 1747 | 46.88 | 92.946 | 29.586 | 2.369 | 5.97 | 14819 | 127.3919 | 25.8
2007-02-21 | 11:09 | 1786 | 46.84 | 95.983 | 29.592 | 2.369 | 5.97 | 14978 | 128.6623 | 25.73
2007-02-21 | 11:09 | 1812 | 46.59 | 99.057 | 29.594 | 2.369 | 5.98 | 15146 | 129.652 | 25.2
2007-02-21 | 11:10 | 1859 | 46.57 | 101.929 | 29.598 | 2.369 | 5.98 | 15272 | 130.68 | 25.11
2007-02-21 | 11:11 | 1902 | 46.54 | 105.052 | 29.602 | 2.317 | 5.98 | 15407 | 131.762 | 25.06
2007-02-21 | 11:11 | 1906 | 46.53 | 105.102 | 29.602 | 2.369 | 5.98 | 15425 | 131.8925 | 25.08
2007-02-21 | 11:11 | 1936 | 46.29 | 107.996 | 29.602 | 2.291 | 5.98 | 15578 | 132.7748 | 24.74
2007-02-21 | 11:12 | 1966 | 46.4 | 110.937 | 29.606 | 2.369 | 5.78 | 15927 | 135.9397 | 28.72