## Forebay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2007-04-03 | 14:52
Report from file: | ...\SN32034 2003-07-02 120044 fltr070323.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fltr070323
Test defined on: | 2003-07-02 | 12:01
Test started on: | 2003-07-02 | 12:01
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 27
TOTAL DATA SAMPLES | 27
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2007-03-23 | 12:01 | 26 | 60.17 | 0.86 | 29.368 | 3.202 | 6.22 | 13931 | 142.7932 | 28.58
2007-03-23 | 12:02 | 61 | 60.15 | 3.011 | 29.364 | 3.202 | 6.26 | 14002 | 143.5052 | 28.63
2007-03-23 | 12:05 | 270 | 60.1 | 5.925 | 29.371 | 3.176 | 6.39 | 13539 | 138.6348 | 28.57
2007-03-23 | 12:06 | 287 | 60.1 | 6.041 | 29.372 | 3.176 | 6.4 | 13440 | 137.6168 | 28.57
2007-03-23 | 12:06 | 334 | 60.05 | 9.353 | 29.373 | 3.15 | 6.37 | 13491 | 138.0435 | 28.54
2007-03-23 | 12:07 | 394 | 60 | 12.334 | 29.377 | 3.202 | 6.37 | 13444 | 137.4736 | 28.51
2007-03-23 | 12:09 | 505 | 59.89 | 15.235 | 29.378 | 3.15 | 6.37 | 13570 | 138.5795 | 28.47
2007-03-23 | 12:10 | 539 | 59.89 | 18.016 | 29.379 | 3.202 | 6.39 | 13858 | 141.5169 | 28.46
2007-03-23 | 12:10 | 578 | 59.66 | 20.888 | 29.382 | 3.15 | 6.41 | 13837 | 140.8882 | 28.39
2007-03-23 | 12:11 | 629 | 59.34 | 23.952 | 29.385 | 3.202 | 6.46 | 14018 | 142.1843 | 28.26
2007-03-23 | 12:12 | 676 | 52.07 | 34.515 | 29.348 | 3.202 | 6.04 | 15817 | 146.7907 | 25.49
2007-03-23 | 12:13 | 710 | 49.6 | 43.67 | 29.348 | 3.176 | 5.8 | 16912 | 151.9897 | 28.7
2007-03-23 | 12:15 | 877 | 48.88 | 53.774 | 29.398 | 3.176 | 6.11 | 16143 | 143.4538 | 29.47
2007-03-23 | 12:17 | 950 | 48.5 | 64.625 | 29.414 | 3.176 | 6.09 | 16123 | 142.4736 | 29.17
2007-03-23 | 12:17 | 976 | 47.99 | 74.003 | 29.416 | 3.176 | 6.04 | 16205 | 142.2316 | 25.08
2007-03-23 | 12:18 | 1019 | 47.62 | 83.756 | 29.423 | 3.176 | 5.97 | 16170 | 141.1851 | 24.63
2007-03-23 | 12:18 | 1066 | 47.27 | 94.455 | 29.437 | 3.176 | 5.95 | 17042 | 148.0301 | 25.2
2007-03-23 | 12:19 | 1105 | 46.99 | 104.304 | 29.451 | 3.176 | 5.96 | 16600 | 143.5897 | 25.97
2007-03-23 | 12:20 | 1135 | 46.76 | 113.833 | 29.458 | 3.176 | 5.96 | 16617 | 143.2504 | 24.8
2007-03-23 | 12:20 | 1175 | 46.58 | 123.993 | 29.473 | 3.176 | 5.95 | 16594 | 142.6204 | 24.16
2007-03-23 | 12:21 | 1214 | 46.42 | 134.146 | 29.487 | 3.176 | 5.94 | 16545 | 141.8219 | 24.07
2007-03-23 | 12:22 | 1253 | 46.36 | 144.243 | 29.5 | 3.176 | 5.93 | 16539 | 141.6061 | 24.05
2007-03-23 | 12:22 | 1283 | 46.31 | 154.13 | 29.512 | 3.176 | 5.92 | 16447 | 140.66 | 24.06
2007-03-23 | 12:23 | 1331 | 46.29 | 163.903 | 29.529 | 3.124 | 5.92 | 16486 | 140.8604 | 24.16
2007-03-23 | 12:24 | 1371 | 46.26 | 174.196 | 29.542 | 3.176 | 5.91 | 16377 | 139.8077 | 24.28
2007-03-23 | 12:24 | 1414 | 46.26 | 184.026 | 29.554 | 3.124 | 5.92 | 16270 | 138.8377 | 24.3
2007-03-23 | 12:25 | 1436 | 46.29 | 191.187 | 29.561 | 3.176 | 6 | 16194 | 138.2246 | 25.47

## Winchell Bay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2007-04-03 | 14:55
Report from file: | ...\SN32034 2003-07-02 123255 win070323.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | win070323
Test defined on: | 2003-07-02 | 12:33
Test started on: | 2003-07-02 | 12:33
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 16
TOTAL DATA SAMPLES | 16
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2007-03-23 | 12:33 | 13 | 62.08 | 0.433 | 29.381 | 3.176 | 7.58 | 12688 | 132.9448 | 29.18
2007-03-23 | 12:34 | 90 | 61.28 | 2.925 | 29.371 | 3.124 | 7.4 | 13072 | 135.7313 | 29.1
2007-03-23 | 12:36 | 193 | 60.05 | 6.016 | 29.375 | 3.15 | 7.15 | 13476 | 137.8822 | 28.61
2007-03-23 | 12:37 | 252 | 59.19 | 8.914 | 29.373 | 3.176 | 7.02 | 13689 | 138.6516 | 28.3
2007-03-23 | 12:38 | 295 | 57.74 | 18.914 | 29.373 | 3.176 | 6.96 | 14260 | 141.9239 | 27.55
2007-03-23 | 12:39 | 355 | 53.47 | 28.969 | 29.373 | 3.124 | 6.73 | 15499 | 146.3032 | 26.02
2007-03-23 | 12:40 | 397 | 50.1 | 38.871 | 29.361 | 3.176 | 6.33 | 16127 | 145.8341 | 27.69
2007-03-23 | 12:41 | 462 | 48.88 | 48.888 | 29.391 | 3.124 | 6.27 | 16116 | 143.2688 | 28.06
2007-03-23 | 12:42 | 521 | 48.48 | 58.584 | 29.405 | 3.124 | 6.29 | 15844 | 140.0264 | 27.69
2007-03-23 | 12:42 | 573 | 48.36 | 69.138 | 29.418 | 3.15 | 6.32 | 15443 | 136.1958 | 29.12
2007-03-23 | 12:44 | 641 | 48.17 | 79.039 | 29.431 | 3.15 | 6.39 | 15271 | 134.2731 | 30.05
2007-03-23 | 12:44 | 688 | 47.83 | 88.766 | 29.437 | 3.176 | 6.41 | 15296 | 133.8682 | 29.18
2007-03-23 | 12:45 | 726 | 47.27 | 99.337 | 29.442 | 3.176 | 6.37 | 15421 | 133.9318 | 27.33
2007-03-23 | 12:46 | 778 | 47.19 | 109.408 | 29.459 | 3.176 | 6.37 | 15420 | 133.6983 | 27.18
2007-03-23 | 12:46 | 813 | 46.73 | 119.386 | 29.466 | 3.176 | 6.35 | 15527 | 133.7619 | 25.95
2007-03-23 | 12:47 | 835 | 46.67 | 128.218 | 29.473 | 3.176 | 6.3 | 15476 | 133.1719 | 25.63

## Finegold
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2007-04-03 | 14:57
Report from file: | ...\SN32034 2003-07-02 130126 fin070323.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fin070323
Test defined on: | 2003-07-02 | 13:01
Test started on: | 2003-07-02 | 13:01
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 18
TOTAL DATA SAMPLES | 18
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2007-03-23 | 13:02 | 41 | 62.1 | 0.381 | 29.363 | 3.15 | 7.41 | 12651 | 132.6633 | 9.8
2007-03-23 | 13:03 | 113 | 61.92 | 2.964 | 29.369 | 3.15 | 7.25 | 12718 | 133.0635 | 30.97
2007-03-23 | 13:04 | 160 | 61.49 | 6.07 | 29.368 | 3.176 | 7.1 | 12896 | 134.2507 | 30.76
2007-03-23 | 13:05 | 194 | 58.48 | 8.905 | 29.359 | 3.15 | 6.94 | 13620 | 136.8416 | 31.22
2007-03-23 | 13:05 | 241 | 54.3 | 18.97 | 29.343 | 3.176 | 6.73 | 14751 | 140.859 | 28.69
2007-03-23 | 13:06 | 288 | 51.47 | 29.455 | 29.35 | 3.124 | 6.56 | 15477 | 142.5151 | 34.41
2007-03-23 | 13:06 | 296 | 51.48 | 29.509 | 29.356 | 3.176 | 6.6 | 15508 | 142.7894 | 34.45
2007-03-23 | 13:07 | 326 | 49.53 | 39.384 | 29.357 | 3.15 | 6.55 | 15838 | 142.1633 | 34.32
2007-03-23 | 13:07 | 339 | 49.5 | 39.431 | 29.364 | 3.15 | 6.58 | 15875 | 142.4174 | 34.33
2007-03-23 | 13:08 | 382 | 48.95 | 48.873 | 29.377 | 3.176 | 6.59 | 16089 | 143.2244 | 34.26
2007-03-23 | 13:09 | 433 | 48.42 | 59.119 | 29.39 | 3.176 | 6.62 | 16152 | 142.7164 | 33.46
2007-03-23 | 13:10 | 485 | 48.01 | 68.968 | 29.405 | 3.098 | 6.64 | 16374 | 143.8181 | 32.51
2007-03-23 | 13:10 | 536 | 47.64 | 78.927 | 29.417 | 3.098 | 6.61 | 16497 | 144.1197 | 31.42
2007-03-23 | 13:11 | 574 | 47.25 | 88.861 | 29.423 | 3.124 | 6.54 | 16574 | 143.9957 | 30.2
2007-03-23 | 13:12 | 618 | 47.08 | 99.158 | 29.43 | 3.176 | 6.47 | 16471 | 142.7412 | 29.57
2007-03-23 | 13:13 | 691 | 46.96 | 109.718 | 29.461 | 3.176 | 6.46 | 16274 | 140.6427 | 29.04
2007-03-23 | 13:14 | 755 | 46.91 | 119.411 | 29.473 | 3.176 | 6.55 | 15951 | 137.7047 | 29.04
2007-03-23 | 13:14 | 768 | 46.94 | 121.371 | 29.477 | 3.15 | 6.45 | 15838 | 136.7801 | 50.41