## Forebay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2007-04-27 | 10:47
Report from file: | ...\SN32034 2007-04-27 075919 fltr070427.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fltr070427
Test defined on: | 2007-04-27 | 7:59
Test started on: | 2007-04-27 | 7:59
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 33
TOTAL DATA SAMPLES | 33
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2007-04-27 | 8:00 | 17 | 62.52 | 1.305 | 29.37 | 3.124 | 6.7 | 16436 | 173.1568 | 33.07
2007-04-27 | 8:00 | 55 | 62.54 | 2.986 | 29.369 | 3.124 | 6.69 | 15717 | 165.6279 | 33.24
2007-04-27 | 8:01 | 98 | 62.52 | 6.112 | 29.374 | 3.124 | 6.64 | 15426 | 162.487 | 33.27
2007-04-27 | 8:02 | 136 | 62.46 | 9.187 | 29.377 | 3.072 | 6.64 | 15522 | 163.3817 | 33.21
2007-04-27 | 8:02 | 174 | 62.52 | 12.163 | 29.382 | 3.098 | 6.66 | 15578 | 164.0437 | 33.27
2007-04-27 | 8:03 | 217 | 62.46 | 15.121 | 29.386 | 3.098 | 7.02 | 15673 | 164.9081 | 33.21
2007-04-27 | 8:04 | 264 | 62.45 | 17.917 | 29.392 | 3.098 | 7.1 | 15701 | 165.1659 | 33.23
2007-04-27 | 8:04 | 298 | 62.41 | 21.237 | 29.394 | 3.098 | 7.19 | 15757 | 165.6546 | 33.2
2007-04-27 | 8:04 | 307 | 62.4 | 21.205 | 29.394 | 3.072 | 7.2 | 15802 | 166.1162 | 33.2
2007-04-27 | 8:05 | 349 | 62.35 | 23.92 | 29.397 | 3.124 | 7.26 | 15840 | 166.3973 | 33.16
2007-04-27 | 8:06 | 404 | 61.59 | 27.143 | 29.399 | 3.124 | 7.31 | 16150 | 168.1547 | 32.74
2007-04-27 | 8:07 | 456 | 60.7 | 30.084 | 29.399 | 3.124 | 7.38 | 16257 | 167.5042 | 32.35
2007-04-27 | 8:07 | 464 | 60.69 | 30.112 | 29.399 | 3.072 | 7.39 | 16247 | 167.3607 | 32.35
2007-04-27 | 8:08 | 511 | 54.39 | 33.04 | 29.376 | 3.098 | 6.81 | 18289 | 174.6364 | 34.18
2007-04-27 | 8:09 | 563 | 51.82 | 43.27 | 29.381 | 3.124 | 6.81 | 19309 | 178.4179 | 33.81
2007-04-27 | 8:10 | 619 | 51.05 | 53.457 | 29.405 | 3.098 | 6.88 | 17807 | 162.7707 | 34
2007-04-27 | 8:11 | 675 | 50.62 | 62.906 | 29.42 | 3.124 | 6.95 | 17910 | 162.7272 | 33.49
2007-04-27 | 8:11 | 722 | 50.05 | 73.702 | 29.43 | 3.098 | 6.94 | 18066 | 162.8638 | 32.35
2007-04-27 | 8:12 | 769 | 49.53 | 83.666 | 29.442 | 3.072 | 6.92 | 18196 | 162.8654 | 31.01
2007-04-27 | 8:13 | 807 | 49.14 | 93.18 | 29.45 | 3.098 | 6.94 | 18220 | 162.186 | 30.05
2007-04-27 | 8:13 | 841 | 48.29 | 102.704 | 29.457 | 3.098 | 6.91 | 18487 | 162.6761 | 28.14
2007-04-27 | 8:14 | 901 | 47.99 | 113.061 | 29.474 | 3.098 | 6.9 | 18282 | 160.141 | 27.55
2007-04-27 | 8:15 | 948 | 47.73 | 123.022 | 29.49 | 3.098 | 6.93 | 18281 | 159.496 | 27.27
2007-04-27 | 8:16 | 987 | 47.43 | 133.432 | 29.499 | 3.072 | 6.94 | 18275 | 158.733 | 27.09
2007-04-27 | 8:16 | 1021 | 47.27 | 143.439 | 29.512 | 3.046 | 6.95 | 18159 | 157.3273 | 27
2007-04-27 | 8:17 | 1060 | 47.23 | 153.222 | 29.524 | 3.098 | 6.96 | 18049 | 156.211 | 26.9
2007-04-27 | 8:18 | 1107 | 47.11 | 163.395 | 29.541 | 3.124 | 6.97 | 18083 | 156.1644 | 26.56
2007-04-27 | 8:18 | 1150 | 47.03 | 173.025 | 29.552 | 3.046 | 6.99 | 18065 | 155.7864 | 26.33
2007-04-27 | 8:19 | 1180 | 46.99 | 183.697 | 29.562 | 3.072 | 7 | 18036 | 155.399 | 26.18
2007-04-27 | 8:20 | 1214 | 46.93 | 193.383 | 29.572 | 3.046 | 7.01 | 17986 | 154.7943 | 26.05
2007-04-27 | 8:20 | 1248 | 46.91 | 203.068 | 29.578 | 3.098 | 7.01 | 17948 | 154.3938 | 26.1
2007-04-27 | 8:20 | 1257 | 46.9 | 202.987 | 29.578 | 3.046 | 7 | 17930 | 154.2304 | 26.1
2007-04-27 | 8:20 | 1270 | 46.92 | 206.921 | 29.58 | 3.072 | 7.14 | 17887 | 153.8746 | 27.68

## Winchell Bay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2007-04-27 | 10:58
Report from file: | ...\SN32034 2007-04-27 083131 win070427.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | win070427
Test defined on: | 2007-04-27 | 8:32
Test started on: | 2007-04-27 | 8:32
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 20
TOTAL DATA SAMPLES | 20
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2007-04-27 | 8:32 | 15 | 64.14 | 0.644 | 29.397 | 3.098 | 7.47 | 15084 | 161.7554 | 34.1
2007-04-27 | 8:32 | 37 | 64.13 | 2.931 | 29.401 | 3.046 | 7.39 | 15138 | 162.2943 | 34.2
2007-04-27 | 8:33 | 71 | 64.09 | 6.017 | 29.4 | 3.046 | 7.18 | 15151 | 162.376 | 34.16
2007-04-27 | 8:34 | 126 | 64.05 | 9 | 29.399 | 3.046 | 6.91 | 15126 | 162.036 | 34.15
2007-04-27 | 8:35 | 181 | 63.55 | 11.624 | 29.401 | 3.098 | 6.85 | 15262 | 162.5387 | 33.87
2007-04-27 | 8:36 | 253 | 63.01 | 15.361 | 29.403 | 3.072 | 6.87 | 16389 | 173.4419 | 33.65
2007-04-27 | 8:36 | 266 | 63 | 15.414 | 29.404 | 3.072 | 6.87 | 16385 | 173.3798 | 33.66
2007-04-27 | 8:37 | 317 | 61.31 | 18.28 | 29.399 | 3.098 | 6.87 | 16785 | 174.1696 | 32.85
2007-04-27 | 8:37 | 351 | 59.77 | 20.923 | 29.394 | 3.046 | 6.81 | 17255 | 175.8673 | 32.47
2007-04-27 | 8:38 | 398 | 56.76 | 31.131 | 29.393 | 3.046 | 6.57 | 17215 | 169.1926 | 33.18
2007-04-27 | 8:39 | 441 | 52.77 | 41.054 | 29.386 | 3.046 | 6.4 | 18588 | 173.8357 | 35.2
2007-04-27 | 8:40 | 483 | 51.17 | 51.18 | 29.398 | 3.098 | 6.47 | 19181 | 175.658 | 35.09
2007-04-27 | 8:40 | 517 | 50.4 | 61.097 | 29.411 | 3.046 | 6.51 | 19301 | 174.9085 | 33.81
2007-04-27 | 8:41 | 560 | 49.8 | 71.233 | 29.428 | 3.046 | 6.58 | 19353 | 173.9187 | 32.97
2007-04-27 | 8:41 | 568 | 49.8 | 71.338 | 29.432 | 3.046 | 6.59 | 19363 | 173.9751 | 33
2007-04-27 | 8:42 | 607 | 49.17 | 81.287 | 29.442 | 3.098 | 6.62 | 19495 | 173.6626 | 31.92
2007-04-27 | 8:42 | 637 | 48.71 | 91.08 | 29.449 | 3.046 | 6.62 | 19518 | 172.7706 | 30.9
2007-04-27 | 8:43 | 667 | 48.43 | 101.03 | 29.457 | 3.098 | 6.64 | 19401 | 171.0546 | 30.22
2007-04-27 | 8:43 | 701 | 48.05 | 110.933 | 29.467 | 3.098 | 6.65 | 19472 | 170.7287 | 29.77
2007-04-27 | 8:43 | 714 | 47.9 | 117.912 | 29.473 | 3.098 | 6.7 | 19456 | 170.226 | 29.67

## Finegold
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2007-04-27 | 10:59
Report from file: | ...\SN32034 2007-04-27 085630 fin070427.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fin070427
Test defined on: | 2007-04-27 | 8:56
Test started on: | 2007-04-27 | 8:56
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 18
TOTAL DATA SAMPLES | 18
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2007-04-27 | 8:57 | 19 | 64.79 | 1.04 | 29.394 | 3.098 | 7.06 | 15723 | 169.889 | 36.49
2007-04-27 | 8:57 | 45 | 64.8 | 3.068 | 29.394 | 3.098 | 6.89 | 18643 | 201.456 | 36.6
2007-04-27 | 8:58 | 100 | 64.74 | 5.989 | 29.395 | 3.098 | 6.73 | 16226 | 175.2219 | 36.61
2007-04-27 | 8:58 | 109 | 64.74 | 5.962 | 29.396 | 3.098 | 6.72 | 16155 | 174.4386 | 36.59
2007-04-27 | 8:59 | 143 | 61.66 | 8.96 | 29.379 | 3.098 | 6.71 | 16886 | 176.0747 | 34.76
2007-04-27 | 9:00 | 186 | 56.95 | 19.31 | 29.364 | 3.046 | 6.52 | 18827 | 185.6559 | 34.96
2007-04-27 | 9:00 | 233 | 52.69 | 28.857 | 29.366 | 3.046 | 6.39 | 18857 | 176.2941 | 33.98
2007-04-27 | 9:01 | 283 | 50.86 | 38.951 | 29.389 | 3.072 | 6.47 | 19621 | 179.0244 | 33.87
2007-04-27 | 9:02 | 343 | 50.52 | 49.398 | 29.413 | 3.072 | 6.64 | 18205 | 165.2371 | 33.83
2007-04-27 | 9:03 | 381 | 50.34 | 58.902 | 29.421 | 3.072 | 6.76 | 18133 | 164.1334 | 33.79
2007-04-27 | 9:03 | 390 | 50.34 | 58.894 | 29.423 | 3.072 | 6.77 | 18114 | 163.9596 | 33.79
2007-04-27 | 9:04 | 424 | 50.07 | 68.963 | 29.432 | 3.098 | 6.86 | 21139 | 190.6169 | 33.66
2007-04-27 | 9:04 | 467 | 49.73 | 78.959 | 29.442 | 3.098 | 6.88 | 18091 | 162.3366 | 33.65
2007-04-27 | 9:05 | 519 | 49.08 | 88.951 | 29.457 | 3.072 | 6.86 | 18209 | 161.9336 | 32.96
2007-04-27 | 9:07 | 604 | 48.74 | 98.924 | 29.477 | 3.098 | 6.89 | 18322 | 162.0868 | 32.43
2007-04-27 | 9:07 | 651 | 48.44 | 109.141 | 29.483 | 3.072 | 6.89 | 18317 | 161.3714 | 31.96
2007-04-27 | 9:08 | 690 | 48.04 | 119.275 | 29.488 | 3.046 | 6.88 | 18412 | 161.3069 | 31.2
2007-04-27 | 9:08 | 703 | 48.03 | 121.643 | 29.491 | 3.046 | 6.95 | 19703 | 172.6165 | 68.26