## Forebay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2009-04-16 | 8:33
Report from file: | ...\SN47636 2009-02-05 113701 20090205fltr.bin
Win-Situ Version | 4.5
Serial number: | 47636
Firmware Version | 2.03
Unit name: | Troll 9000
Test name: |  | 20090205fltr
Test defined on: | 2009-02-05 | 11:37
Test started on: | 2009-02-05 | 11:37
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 5
TOTAL DATA SAMPLES | 5
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [36]
Measurement type: | Rugged Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[36] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Rugged DO | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2009-02-05 | 11:37 | 20 | 52.21 | 0.639 | 29.471 | 3.15 | 7.19 | 10601 | 27.38
2009-02-05 | 11:38 | 52 | 52.21 | 2.915 | 29.484 | 3.15 | 7.18 | 10653 | 27.46
2009-02-05 | 11:38 | 78 | 52.21 | 5.911 | 29.492 | 3.15 | 7.19 | 10672 | 27.45
2009-02-05 | 11:39 | 123 | 52.2 | 8.796 | 29.501 | 3.15 | 7.21 | 10680 | 27.43
2009-02-05 | 11:40 | 149 | 52.04 | 11.775 | 29.506 | 3.124 | 7.19 | 10669 | 27.4
2009-02-05 | 11:41 | 23 | 52.04 | 11.848 | 29.5 | 3.15 | 7.19 | 10649 | 27.38
2009-02-05 | 11:41 | 43 | 52.01 | 14.742 | 29.502 | 3.124 | 7.17 | 10652 | 27.37
2009-02-05 | 11:43 | 179 | 51.59 | 18.033 | 29.508 | 3.124 | 7.15 | 10489 | 27.2
2009-02-05 | 11:44 | 225 | 51.39 | 21.074 | 29.51 | 3.124 | 7.14 | 10469 | 27.17
2009-02-05 | 11:45 | 250 | 51.34 | 24.062 | 29.513 | 3.15 | 7.14 | 10453 | 27.16
2009-02-05 | 11:45 | 276 | 51.24 | 27.083 | 29.515 | 3.124 | 7.12 | 10418 | 27.13
2009-02-05 | 11:45 | 302 | 51.16 | 29.973 | 29.518 | 3.124 | 7.12 | 10374 | 27.13
2009-02-05 | 11:46 | 328 | 51.09 | 33.077 | 29.521 | 3.15 | 7.1 | 10340 | 27.13
2009-02-05 | 11:46 | 354 | 50.99 | 36.05 | 29.525 | 3.124 | 7.1 | 10311 | 27.13
2009-02-05 | 11:47 | 380 | 50.94 | 39.005 | 29.529 | 3.124 | 7.06 | 10264 | 27.12
2009-02-05 | 11:47 | 406 | 50.9 | 41.991 | 29.533 | 3.124 | 7.02 | 10220 | 27.07
2009-02-05 | 11:48 | 432 | 50.89 | 44.908 | 29.536 | 3.124 | 7.07 | 10170 | 27.08
2009-02-05 | 11:48 | 451 | 50.85 | 47.839 | 29.539 | 3.124 | 7.05 | 10132 | 27.03
2009-02-05 | 11:49 | 503 | 50.79 | 50.98 | 29.544 | 3.124 | 7.05 | 10005 | 27.02
2009-02-05 | 11:49 | 523 | 50.77 | 53.928 | 29.547 | 3.098 | 7.02 | 9965 | 27.03
2009-02-05 | 11:50 | 561 | 50.73 | 56.944 | 29.552 | 3.124 | 6.98 | 9832 | 27.24
2009-02-05 | 11:50 | 587 | 50.49 | 60.048 | 29.554 | 3.098 | 6.99 | 9686 | 27.57
2009-02-05 | 11:51 | 613 | 49.73 | 62.958 | 29.558 | 3.124 | 6.9 | 9040 | 29.89
2009-02-05 | 11:51 | 639 | 49.26 | 65.997 | 29.559 | 3.124 | 6.85 | 8325 | 29.93
2009-02-05 | 11:51 | 665 | 49.06 | 69.013 | 29.562 | 3.098 | 6.8 | 7998 | 30.53
2009-02-05 | 11:52 | 691 | 48.57 | 78.924 | 29.569 | 3.124 | 6.79 | 8484 | 28.28
2009-02-05 | 11:52 | 717 | 48.03 | 88.847 | 29.577 | 3.124 | 6.84 | 9516 | 27.65
2009-02-05 | 11:53 | 749 | 47.82 | 98.99 | 29.586 | 3.098 | 6.88 | 10045 | 27.35
2009-02-05 | 11:53 | 782 | 47.65 | 108.823 | 29.597 | 3.098 | 6.87 | 10172 | 27.49
2009-02-05 | 11:54 | 814 | 47.23 | 118.629 | 29.608 | 3.098 | 6.9 | 10488 | 27.53
2009-02-05 | 11:55 | 859 | 46.75 | 128.812 | 29.62 | 3.124 | 6.91 | 10684 | 28.74
2009-02-05 | 11:55 | 905 | 46.64 | 138.615 | 29.632 | 3.124 | 6.95 | 10913 | 28.87
2009-02-05 | 11:56 | 937 | 46.6 | 148.508 | 29.642 | 3.098 | 6.95 | 11014 | 29.04
2009-02-05 | 11:57 | 970 | 46.59 | 158.71 | 29.652 | 3.124 | 6.97 | 11074 | 29.16
2009-02-05 | 11:57 | 1021 | 46.55 | 169.413 | 29.666 | 3.098 | 6.94 | 11102 | 29.3
2009-02-05 | 11:58 | 1060 | 46.53 | 179.492 | 29.68 | 3.124 | 6.97 | 11006 | 29.79
2009-02-05 | 11:58 | 1086 | 46.54 | 180.765 | 29.682 | 3.098 | 6.93 | 7291 | 30.15

## Winchell Bay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2009-04-16 | 8:38
Report from file: | ...\SN47636 2009-02-05 120833 20090205win.bin
Win-Situ Version | 4.5
Serial number: | 47636
Firmware Version | 2.03
Unit name: | Troll 9000
Test name: |  | 20090205win
Test defined on: | 2009-02-05 | 12:09
Test started on: | 2009-02-05 | 12:09
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 27
TOTAL DATA SAMPLES | 27
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [36]
Measurement type: | Rugged Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[36] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Rugged DO | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2009-02-05 | 12:09 | 25 | 51.82 | 0.698 | 29.493 | 3.124 | 7.21 | 11071 | 27.22
2009-02-05 | 12:10 | 71 | 51.85 | 3.893 | 29.498 | 3.124 | 7.23 | 10806 | 27.24
2009-02-05 | 12:10 | 90 | 51.8 | 6.784 | 29.505 | 3.124 | 7.2 | 10735 | 27.24
2009-02-05 | 12:11 | 123 | 51.55 | 9.973 | 29.513 | 3.124 | 7.2 | 10670 | 27.18
2009-02-05 | 12:11 | 149 | 51.53 | 13.189 | 29.51 | 3.098 | 7.18 | 10619 | 27.16
2009-02-05 | 12:12 | 181 | 51.53 | 16.086 | 29.509 | 3.098 | 7.18 | 10586 | 27.16
2009-02-05 | 12:12 | 201 | 51.48 | 19.049 | 29.51 | 3.098 | 7.16 | 10564 | 27.17
2009-02-05 | 12:12 | 227 | 51.37 | 21.948 | 29.513 | 3.098 | 7.14 | 10534 | 27.1
2009-02-05 | 12:13 | 246 | 51.21 | 24.8 | 29.516 | 3.098 | 7.09 | 10487 | 27.05
2009-02-05 | 12:13 | 278 | 51.1 | 28.196 | 29.519 | 3.098 | 7.1 | 10364 | 27.04
2009-02-05 | 12:14 | 304 | 51.07 | 31.086 | 29.522 | 3.124 | 7.11 | 10293 | 27.07
2009-02-05 | 12:14 | 330 | 51.06 | 33.988 | 29.524 | 3.098 | 7.09 | 10237 | 27.06
2009-02-05 | 12:14 | 356 | 51.03 | 36.986 | 29.528 | 3.098 | 7.08 | 10194 | 27.05
2009-02-05 | 12:15 | 389 | 51.03 | 39.936 | 29.531 | 3.098 | 7.06 | 10166 | 27.07
2009-02-05 | 12:15 | 415 | 50.95 | 42.867 | 29.533 | 3.098 | 7.05 | 10129 | 27.1
2009-02-05 | 12:16 | 441 | 50.93 | 45.75 | 29.536 | 3.098 | 7.04 | 10088 | 27.09
2009-02-05 | 12:17 | 479 | 50.88 | 48.718 | 29.54 | 3.098 | 7.04 | 10030 | 27.08
2009-02-05 | 12:17 | 518 | 50.86 | 52.255 | 29.543 | 3.098 | 7 | 9961 | 27.08
2009-02-05 | 12:18 | 544 | 50.81 | 55.253 | 29.546 | 3.098 | 7.02 | 9919 | 27.13
2009-02-05 | 12:18 | 570 | 50.77 | 58.069 | 29.547 | 3.098 | 6.98 | 9865 | 27.18
2009-02-05 | 12:18 | 596 | 50.72 | 61.035 | 29.551 | 3.098 | 6.93 | 9813 | 27.2
2009-02-05 | 12:19 | 635 | 50.57 | 63.961 | 29.554 | 3.098 | 6.9 | 9682 | 27.44
2009-02-05 | 12:20 | 668 | 50.54 | 66.949 | 29.557 | 3.098 | 6.95 | 9603 | 27.5
2009-02-05 | 12:20 | 693 | 50.38 | 69.903 | 29.56 | 3.098 | 6.93 | 9456 | 27.85
2009-02-05 | 12:21 | 719 | 49.99 | 72.821 | 29.563 | 3.098 | 6.88 | 9265 | 28.1
2009-02-05 | 12:21 | 745 | 49.51 | 75.818 | 29.565 | 3.098 | 6.82 | 9097 | 28.29
2009-02-05 | 12:21 | 765 | 48.8 | 82.74 | 29.57 | 3.098 | 6.82 | 8748 | 28.46

## Finegold
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2009-04-16 | 8:40
Report from file: | ...\SN47636 2009-02-05 123358 20090205fin.bin
Win-Situ Version | 4.5
Serial number: | 47636
Firmware Version | 2.03
Unit name: | Troll 9000
Test name: |  | 20090205fin
Test defined on: | 2009-02-05 | 12:34
Test started on: | 2009-02-05 | 12:34
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 31
TOTAL DATA SAMPLES | 31
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [36]
Measurement type: | Rugged Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[36] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Rugged DO | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2009-02-05 | 12:35 | 35 | 51.11 | 0.605 | 29.488 | 3.124 | 7.13 | 10764 | 28.24
2009-02-05 | 12:35 | 61 | 51.09 | 3.227 | 29.493 | 3.098 | 7.12 | 10680 | 28.26
2009-02-05 | 12:35 | 87 | 50.91 | 6.067 | 29.496 | 3.098 | 7.03 | 10585 | 27.99
2009-02-05 | 12:36 | 113 | 50.84 | 8.947 | 29.509 | 3.098 | 7.1 | 10515 | 27.98
2009-02-05 | 12:36 | 145 | 50.82 | 12.148 | 29.506 | 3.098 | 7 | 10456 | 27.96
2009-02-05 | 12:37 | 171 | 50.82 | 15.112 | 29.506 | 3.098 | 7.06 | 10424 | 27.93
2009-02-05 | 12:37 | 197 | 50.76 | 17.975 | 29.508 | 3.098 | 7.08 | 10373 | 27.88
2009-02-05 | 12:38 | 223 | 50.7 | 20.889 | 29.509 | 3.098 | 7.09 | 10353 | 27.85
2009-02-05 | 12:38 | 249 | 50.68 | 23.805 | 29.512 | 3.098 | 7.05 | 10300 | 27.87
2009-02-05 | 12:39 | 282 | 50.63 | 27.04 | 29.516 | 3.098 | 7.05 | 10245 | 27.93
2009-02-05 | 12:39 | 308 | 50.61 | 29.972 | 29.519 | 3.098 | 7.03 | 10220 | 27.93
2009-02-05 | 12:40 | 334 | 50.63 | 32.837 | 29.521 | 3.098 | 7.04 | 10204 | 27.91
2009-02-05 | 12:40 | 360 | 50.58 | 35.984 | 29.524 | 3.098 | 7.03 | 10175 | 28.08
2009-02-05 | 12:40 | 386 | 50.58 | 38.998 | 29.526 | 3.098 | 7.03 | 10174 | 28.07
2009-02-05 | 12:41 | 412 | 50.57 | 42.062 | 29.53 | 3.098 | 7.02 | 10166 | 28.08
2009-02-05 | 12:41 | 438 | 50.56 | 45.175 | 29.532 | 3.098 | 7.02 | 10168 | 28.08
2009-02-05 | 12:42 | 464 | 50.54 | 48.221 | 29.536 | 3.098 | 7.01 | 10170 | 28.02
2009-02-05 | 12:42 | 490 | 50.54 | 51.351 | 29.539 | 3.098 | 7.02 | 10158 | 27.96
2009-02-05 | 12:43 | 516 | 50.53 | 54.23 | 29.544 | 3.098 | 6.97 | 10153 | 28.01
2009-02-05 | 12:43 | 535 | 50.5 | 57.359 | 29.548 | 3.098 | 7.01 | 10148 | 28.25
2009-02-05 | 12:43 | 568 | 50.45 | 60.293 | 29.552 | 3.098 | 7 | 10096 | 28.5
2009-02-05 | 12:44 | 600 | 50.42 | 63.075 | 29.556 | 3.072 | 6.97 | 10054 | 28.58
2009-02-05 | 12:44 | 626 | 50.34 | 65.991 | 29.559 | 3.098 | 6.91 | 10014 | 28.67
2009-02-05 | 12:45 | 646 | 50.17 | 68.991 | 29.561 | 3.098 | 6.98 | 9918 | 29.37
2009-02-05 | 12:45 | 672 | 49.64 | 72.117 | 29.564 | 3.098 | 6.97 | 9879 | 30.03
2009-02-05 | 12:46 | 698 | 48.8 | 81.765 | 29.57 | 3.098 | 6.96 | 10119 | 29.76
2009-02-05 | 12:46 | 730 | 47.98 | 91.629 | 29.576 | 3.098 | 6.95 | 10539 | 29.91
2009-02-05 | 12:47 | 769 | 47.49 | 101.786 | 29.587 | 3.072 | 6.95 | 10901 | 30.08
2009-02-05 | 12:47 | 808 | 46.4 | 112.247 | 29.596 | 3.072 | 7 | 11296 | 30.58
2009-02-05 | 12:48 | 840 | 46.28 | 122.185 | 29.605 | 3.098 | 7.04 | 11451 | 30.73
2009-02-05 | 12:49 | 873 | 46.27 | 122.265 | 29.606 | 3.098 | 7.03 | 9829 | 30.87