## Forebay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2009-04-16 | 8:42
Report from file: | ...\SN47636 2009-03-18 104659 20090317fltr.bin
Win-Situ Version | 4.5
Serial number: | 47636
Firmware Version | 2.03
Unit name: | Troll 9000
Test name: |  | 20090317fltr
Test defined on: | 2009-03-18 | 10:47
Test started on: | 2009-03-18 | 10:47
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 32
TOTAL DATA SAMPLES | 32
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [36]
Measurement type: | Rugged Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[36] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Rugged DO | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2009-03-18 | 10:47 | 25 | 58.04 | 0.387 | 29.638 | 2.707 | 7.64 | 10232 | 30.71
2009-03-18 | 10:48 | 58 | 56.29 | 3.873 | 29.633 | 2.707 | 7.67 | 10862 | 29.81
2009-03-18 | 10:48 | 90 | 56.14 | 6.748 | 29.597 | 2.707 | 7.7 | 11426 | 29.78
2009-03-18 | 10:49 | 129 | 55.93 | 9.655 | 29.593 | 2.707 | 7.74 | 11666 | 29.71
2009-03-18 | 10:50 | 155 | 55.49 | 12.639 | 29.591 | 2.707 | 7.74 | 11864 | 29.52
2009-03-18 | 10:50 | 194 | 55.25 | 15.871 | 29.591 | 2.707 | 7.77 | 11913 | 29.41
2009-03-18 | 10:51 | 246 | 54.86 | 18.994 | 29.603 | 2.707 | 7.8 | 11799 | 29.23
2009-03-18 | 10:52 | 278 | 54.76 | 21.979 | 29.61 | 2.707 | 7.79 | 11644 | 29.15
2009-03-18 | 10:52 | 311 | 54.47 | 24.799 | 29.615 | 2.681 | 7.81 | 11496 | 29
2009-03-18 | 10:53 | 350 | 53.15 | 27.992 | 29.62 | 2.707 | 7.78 | 11411 | 28.59
2009-03-18 | 10:53 | 382 | 52.74 | 30.852 | 29.622 | 2.707 | 7.67 | 11233 | 28.44
2009-03-18 | 10:54 | 447 | 51.33 | 34.099 | 29.63 | 2.707 | 7.53 | 10731 | 28.28
2009-03-18 | 10:56 | 551 | 49.93 | 36.925 | 29.64 | 2.707 | 7.29 | 10351 | 28.57
2009-03-18 | 10:57 | 609 | 48.46 | 40.321 | 29.64 | 2.707 | 7.16 | 10035 | 28.87
2009-03-18 | 10:59 | 726 | 48.1 | 43.227 | 29.654 | 2.681 | 7.06 | 9838 | 28.81
2009-03-18 | 11:00 | 772 | 47.67 | 46.074 | 29.65 | 2.681 | 7.02 | 9842 | 29.05
2009-03-18 | 11:00 | 804 | 47.39 | 49.137 | 29.647 | 2.681 | 7.01 | 9883 | 29.04
2009-03-18 | 11:01 | 817 | 47.4 | 49.063 | 29.649 | 2.707 | 6.97 | 9893 | 29.04
2009-03-18 | 11:01 | 856 | 47.29 | 52.119 | 29.651 | 2.707 | 6.98 | 9980 | 29.27
2009-03-18 | 11:02 | 914 | 46.49 | 61.976 | 29.65 | 2.681 | 6.97 | 10158 | 30.18
2009-03-18 | 11:03 | 979 | 45.86 | 71.865 | 29.666 | 2.681 | 7 | 10403 | 30.86
2009-03-18 | 11:04 | 1044 | 45.72 | 82.338 | 29.684 | 2.681 | 7.02 | 10555 | 30.83
2009-03-18 | 11:06 | 1141 | 45.57 | 91.924 | 29.709 | 2.681 | 7.07 | 10874 | 29.85
2009-03-18 | 11:08 | 1252 | 45.53 | 101.844 | 29.722 | 2.681 | 7.06 | 10895 | 30.61
2009-03-18 | 11:09 | 1310 | 45.45 | 112.162 | 29.714 | 2.681 | 7.07 | 10934 | 30.58
2009-03-18 | 11:11 | 1433 | 45.35 | 121.987 | 29.75 | 2.681 | 7.03 | 10783 | 31.14
2009-03-18 | 11:12 | 1505 | 45.28 | 131.888 | 29.749 | 2.681 | 7.05 | 10772 | 31.19
2009-03-18 | 11:13 | 1544 | 45.2 | 141.97 | 29.747 | 2.681 | 7.05 | 10804 | 31.2
2009-03-18 | 11:14 | 1596 | 45.13 | 152.143 | 29.76 | 2.655 | 7.06 | 10764 | 31.28
2009-03-18 | 11:14 | 1648 | 45.03 | 162.931 | 29.771 | 2.681 | 7.04 | 10747 | 31.24
2009-03-18 | 11:16 | 1738 | 44.96 | 172.306 | 29.797 | 2.681 | 7.04 | 10710 | 31.24
2009-03-18 | 11:17 | 1790 | 44.92 | 182.053 | 29.802 | 2.655 | 7.03 | 10603 | 31.37
2009-03-18 | 11:19 | 23 | 44.9 | 192.483 | 29.827 | 2.681 | 7.02 | 10391 | 31.45
2009-03-18 | 11:20 | 56 | 44.89 | 202.04 | 29.826 | 2.681 | 7.01 | 10376 | 31.45
2009-03-18 | 11:21 | 108 | 44.88 | 213.741 | 29.834 | 2.681 | 6.99 | 10280 | 31.58

## Winchell Bay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2009-04-16 | 8:46
Report from file: | ...\SN47636 2009-03-18 113415 20090318win.bin
Win-Situ Version | 4.5
Serial number: | 47636
Firmware Version | 2.03
Unit name: | Troll 9000
Test name: |  | 20090318win
Test defined on: | 2009-03-18 | 11:34
Test started on: | 2009-03-18 | 11:34
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 25
TOTAL DATA SAMPLES | 25
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [36]
Measurement type: | Rugged Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[36] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Rugged DO | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2009-03-18 | 11:35 | 39 | 58.74 | 0.319 | 29.647 | 2.681 | 7.65 | 10953 | 31.01
2009-03-18 | 11:36 | 97 | 58.11 | 3.059 | 29.632 | 2.681 | 7.57 | 11135 | 30.65
2009-03-18 | 11:36 | 130 | 57.98 | 6.078 | 29.623 | 2.681 | 7.62 | 11179 | 30.58
2009-03-18 | 11:37 | 169 | 56.72 | 9.114 | 29.628 | 2.681 | 7.7 | 11195 | 30.01
2009-03-18 | 11:38 | 208 | 55.74 | 12.025 | 29.625 | 2.681 | 7.75 | 11342 | 29.65
2009-03-18 | 11:38 | 247 | 54.87 | 15.067 | 29.621 | 2.681 | 7.85 | 11480 | 29.28
2009-03-18 | 11:39 | 273 | 54.06 | 18.095 | 29.62 | 2.681 | 7.9 | 11571 | 28.88
2009-03-18 | 11:40 | 325 | 53.75 | 21.015 | 29.624 | 2.681 | 7.93 | 11652 | 28.68
2009-03-18 | 11:40 | 357 | 53.46 | 24.14 | 29.627 | 2.655 | 7.84 | 11621 | 28.54
2009-03-18 | 11:41 | 390 | 53.29 | 26.975 | 29.629 | 2.655 | 7.85 | 11619 | 28.47
2009-03-18 | 11:42 | 448 | 53.11 | 29.957 | 29.623 | 2.655 | 7.71 | 11552 | 28.51
2009-03-18 | 11:42 | 474 | 52.37 | 33.104 | 29.626 | 2.655 | 7.63 | 11358 | 28.2
2009-03-18 | 11:42 | 487 | 52.38 | 33.062 | 29.629 | 2.681 | 7.61 | 11287 | 28.22
2009-03-18 | 11:44 | 559 | 51.22 | 36.029 | 29.64 | 2.655 | 7.37 | 10667 | 28.27
2009-03-18 | 11:44 | 591 | 49.33 | 38.98 | 29.641 | 2.655 | 7.27 | 10348 | 28.94
2009-03-18 | 11:45 | 624 | 47.1 | 49.035 | 29.63 | 2.655 | 7.17 | 10137 | 30.32
2009-03-18 | 11:45 | 663 | 46.55 | 60.533 | 29.628 | 2.655 | 6.99 | 10235 | 30.17
2009-03-18 | 11:46 | 708 | 46.5 | 59.157 | 29.648 | 2.655 | 7.07 | 10362 | 30.03
2009-03-18 | 11:47 | 773 | 46.18 | 69.031 | 29.664 | 2.655 | 7.06 | 10580 | 30.18
2009-03-18 | 11:48 | 799 | 45.87 | 78.966 | 29.665 | 2.655 | 7.09 | 10715 | 29.13
2009-03-18 | 11:49 | 864 | 45.82 | 88.891 | 29.678 | 2.655 | 7.1 | 11010 | 28.83
2009-03-18 | 11:49 | 890 | 45.74 | 98.71 | 29.679 | 2.655 | 7.09 | 11013 | 29.27
2009-03-18 | 11:50 | 936 | 45.6 | 108.542 | 29.688 | 2.655 | 7.06 | 10893 | 29.9
2009-03-18 | 11:50 | 968 | 45.46 | 119.49 | 29.696 | 2.655 | 7.06 | 10821 | 30.24
2009-03-18 | 11:51 | 994 | 45.43 | 122.964 | 29.699 | 2.655 | 7.07 | 10765 | 30.32

## Finegold
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2009-04-16 | 8:55
Report from file: | ...\SN47636 2009-03-18 120405 20090318fin.bin
Win-Situ Version | 4.5
Serial number: | 47636
Firmware Version | 2.03
Unit name: | Troll 9000
Test name: |  | 20090318fin
Test defined on: | 2009-03-18 | 12:04
Test started on: | 2009-03-18 | 12:04
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 31
TOTAL DATA SAMPLES | 31
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [36]
Measurement type: | Rugged Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[36] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Rugged DO | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2009-03-18 | 12:05 | 49 | 58.81 | 0.368 | 29.633 | 2.681 | 7.59 | 11101 | 33.05
2009-03-18 | 12:05 | 81 | 58.54 | 3.021 | 29.633 | 2.681 | 7.65 | 11262 | 33.05
2009-03-18 | 12:06 | 133 | 57.66 | 6.042 | 29.605 | 2.655 | 7.65 | 11290 | 32.53
2009-03-18 | 12:07 | 179 | 55.98 | 9.016 | 29.606 | 2.655 | 7.78 | 11439 | 32.06
2009-03-18 | 12:08 | 224 | 54.21 | 12.095 | 29.604 | 2.655 | 7.92 | 11717 | 29.71
2009-03-18 | 12:08 | 263 | 53.74 | 14.993 | 29.599 | 2.681 | 7.95 | 11767 | 29.19
2009-03-18 | 12:09 | 309 | 53.03 | 17.92 | 29.602 | 2.655 | 7.85 | 11661 | 29.24
2009-03-18 | 12:10 | 342 | 52.81 | 20.974 | 29.603 | 2.655 | 7.75 | 11610 | 29.29
2009-03-18 | 12:11 | 400 | 52.34 | 24.103 | 29.609 | 2.681 | 7.62 | 11469 | 30.86
2009-03-18 | 12:12 | 472 | 51.84 | 27.004 | 29.616 | 2.655 | 7.51 | 11155 | 32.09
2009-03-18 | 12:13 | 531 | 51.34 | 30.124 | 29.615 | 2.655 | 7.34 | 10848 | 31.6
2009-03-18 | 12:14 | 570 | 50.15 | 32.981 | 29.617 | 2.655 | 7.29 | 10538 | 30.93
2009-03-18 | 12:15 | 635 | 49.2 | 36.09 | 29.624 | 2.655 | 7.24 | 10550 | 29.96
2009-03-18 | 12:15 | 674 | 48.88 | 38.967 | 29.622 | 2.655 | 7.17 | 10539 | 30.35
2009-03-18 | 12:16 | 693 | 48.03 | 42.076 | 29.624 | 2.655 | 7.21 | 10557 | 28.82
2009-03-18 | 12:17 | 772 | 47.97 | 42.117 | 29.633 | 2.655 | 7.16 | 10764 | 28.86
2009-03-18 | 12:19 | 869 | 47.76 | 44.845 | 29.635 | 2.655 | 7.13 | 10820 | 28.97
2009-03-18 | 12:20 | 941 | 47.44 | 47.964 | 29.639 | 2.655 | 7.13 | 10798 | 29.24
2009-03-18 | 12:21 | 1019 | 46.95 | 51.148 | 29.644 | 2.655 | 7.14 | 10877 | 28.79
2009-03-18 | 12:22 | 1085 | 46.72 | 54.104 | 29.644 | 2.655 | 7.14 | 10940 | 28.5
2009-03-18 | 12:23 | 1150 | 46.55 | 57.284 | 29.645 | 2.629 | 7.1 | 11034 | 28.46
2009-03-18 | 12:24 | 1202 | 46.42 | 60.109 | 29.648 | 2.655 | 7.11 | 11021 | 28.64
2009-03-18 | 12:26 | 1293 | 46.07 | 70.074 | 29.651 | 2.629 | 7.11 | 11200 | 28.14
2009-03-18 | 12:27 | 1345 | 45.84 | 80.11 | 29.658 | 2.629 | 7.13 | 11311 | 27.61
2009-03-18 | 12:27 | 1404 | 45.66 | 89.98 | 29.665 | 2.629 | 7.14 | 11447 | 27.4
2009-03-18 | 12:28 | 1437 | 45.5 | 100.094 | 29.669 | 2.629 | 7.15 | 11515 | 27.27
2009-03-18 | 12:28 | 1463 | 45.31 | 110.022 | 29.676 | 2.629 | 7.15 | 11572 | 27.1
2009-03-18 | 12:29 | 1489 | 45.2 | 119.903 | 29.68 | 2.629 | 7.14 | 11634 | 26.99
2009-03-18 | 12:29 | 1515 | 44.92 | 130.005 | 29.689 | 2.629 | 7.11 | 11731 | 26.74
2009-03-18 | 12:30 | 1580 | 44.75 | 150.081 | 29.717 | 2.629 | 7.15 | 11842 | 26.67
2009-03-18 | 12:31 | 1626 | 44.7 | 158.03 | 29.73 | 2.629 | 6.93 | 6987 | 27.01