## Forebay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2009-09-25 | 11:17
Report from file: | ...\SN48416 2009-09-25 081309 fltr090925.bin
Win-Situ Version | 4.5
Serial number: | 48416
Firmware Version | 2.13
Unit name: | Troll 9000
Test name: |  | fltr090925
Test defined on: | 2009-09-25 | 8:13
Test started on: | 2009-09-25 | 8:13
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 33
TOTAL DATA SAMPLES | 33
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [36]
Measurement type: | Rugged Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[36] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Rugged DO | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2009-09-25 | 8:15 | 85 | 76.71 | 0.917 | 29.367 | 3.072 | 7.59 | 9635 | 33.46
2009-09-25 | 8:16 | 159 | 76.72 | 3.064 | 29.362 | 3.072 | 8.23 | 9829 | 33.62
2009-09-25 | 8:18 | 300 | 76.74 | 5.965 | 29.367 | 3.072 | 8.47 | 9970 | 33.6
2009-09-25 | 8:19 | 346 | 76.72 | 8.938 | 29.37 | 3.072 | 8.46 | 10049 | 33.55
2009-09-25 | 8:20 | 393 | 76.71 | 11.984 | 29.373 | 3.046 | 8.47 | 10127 | 33.52
2009-09-25 | 8:20 | 427 | 76.71 | 15.131 | 29.376 | 3.046 | 8.49 | 10141 | 33.52
2009-09-25 | 8:21 | 461 | 76.67 | 18.08 | 29.379 | 3.046 | 8.47 | 10202 | 33.51
2009-09-25 | 8:22 | 501 | 76.61 | 21.182 | 29.381 | 3.072 | 8.51 | 10163 | 33.48
2009-09-25 | 8:22 | 508 | 76.62 | 21.183 | 29.381 | 3.072 | 8.48 | 10171 | 33.46
2009-09-25 | 8:23 | 588 | 75.04 | 24.145 | 29.383 | 3.072 | 7.97 | 9882 | 30.95
2009-09-25 | 8:25 | 688 | 69.79 | 33.968 | 29.38 | 3.072 | 7.39 | 8639 | 24.63
2009-09-25 | 8:26 | 769 | 68.34 | 44.149 | 29.388 | 3.046 | 7.13 | 7950 | 25.88
2009-09-25 | 8:27 | 836 | 67.66 | 53.648 | 29.396 | 3.046 | 7.01 | 7674 | 24.46
2009-09-25 | 8:29 | 923 | 66.78 | 63.661 | 29.412 | 3.046 | 6.8 | 6987 | 21.04
2009-09-25 | 8:30 | 1037 | 65.42 | 73.846 | 29.426 | 3.02 | 6.65 | 6475 | 20.14
2009-09-25 | 8:32 | 1104 | 63.34 | 84.271 | 29.429 | 3.046 | 6.62 | 6442 | 19.23
2009-09-25 | 8:32 | 1111 | 63.3 | 84.405 | 29.43 | 3.046 | 6.63 | 6469 | 19.23
2009-09-25 | 8:33 | 1185 | 58.79 | 94.313 | 29.433 | 3.046 | 6.59 | 6733 | 18.08
2009-09-25 | 8:34 | 1225 | 54.91 | 104.574 | 29.43 | 3.046 | 6.56 | 7020 | 18.77
2009-09-25 | 8:35 | 1292 | 52.43 | 114.33 | 29.438 | 3.046 | 6.59 | 6847 | 22.87
2009-09-25 | 8:36 | 1359 | 50.63 | 124.131 | 29.451 | 3.046 | 6.66 | 6889 | 26.29
2009-09-25 | 8:37 | 1407 | 49.28 | 134.513 | 29.454 | 3.046 | 6.68 | 6798 | 28.43
2009-09-25 | 8:37 | 1460 | 48.39 | 144.027 | 29.468 | 3.046 | 6.7 | 6640 | 29.43
2009-09-25 | 8:38 | 1519 | 47.8 | 154.16 | 29.485 | 3.046 | 6.69 | 6482 | 30.19
2009-09-25 | 8:39 | 1559 | 47.14 | 164.61 | 29.49 | 3.046 | 6.68 | 6475 | 30.92
2009-09-25 | 8:40 | 1627 | 46.68 | 174.366 | 29.514 | 3.02 | 6.67 | 5990 | 31.57
2009-09-25 | 8:42 | 1701 | 46.47 | 183.788 | 29.535 | 3.046 | 6.66 | 5525 | 31.97
2009-09-25 | 8:42 | 1714 | 46.46 | 183.991 | 29.538 | 3.046 | 6.65 | 5506 | 31.95
2009-09-25 | 8:43 | 1768 | 46.39 | 194.627 | 29.542 | 3.02 | 6.66 | 5321 | 32.08
2009-09-25 | 8:44 | 1835 | 46.32 | 203.853 | 29.563 | 3.046 | 6.62 | 5020 | 32.18
2009-09-25 | 8:44 | 1869 | 46.29 | 214.463 | 29.563 | 3.02 | 6.62 | 4783 | 32.38
2009-09-25 | 8:45 | 1909 | 46.3 | 219.981 | 29.567 | 3.02 | 6.61 | 4528 | 81.69
2009-09-25 | 8:45 | 1923 | 46.3 | 219.979 | 29.571 | 3.046 | 6.62 | 4503 | 82.01

## Winchell Bay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2009-09-25 | 11:18
Report from file: | ...\SN48416 2009-09-25 085702 win090925.bin
Win-Situ Version | 4.5
Serial number: | 48416
Firmware Version | 2.13
Unit name: | Troll 9000
Test name: |  | win090925
Test defined on: | 2009-09-25 | 8:57
Test started on: | 2009-09-25 | 8:57
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 2
TOTAL DATA SAMPLES | 2
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [36]
Measurement type: | Rugged Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[36] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Rugged DO | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2009-09-25 | 8:58 | 53 | 77.2 | 0.819 | 29.391 | 3.046 | 8.39 | 9954 | 33.67
2009-09-25 | 8:59 | 92 | 77.2 | 3.947 | 29.396 | 3.046 | 8.39 | 9894 | 33.69
2009-09-25 | 9:02 | 78 | 77.02 | 6.02 | 29.386 | 3.02 | 8.44 | 9765 | 33.5
2009-09-25 | 9:04 | 151 | 76.87 | 8.993 | 29.387 | 3.02 | 8.4 | 9725 | 33.4
2009-09-25 | 9:05 | 211 | 76.34 | 11.931 | 29.389 | 3.046 | 8.29 | 9688 | 32.78
2009-09-25 | 9:06 | 265 | 76.32 | 15.013 | 29.389 | 3.02 | 8.3 | 9698 | 32.75
2009-09-25 | 9:06 | 311 | 76.31 | 18.285 | 29.39 | 3.046 | 8.25 | 9691 | 32.72
2009-09-25 | 9:08 | 384 | 76.27 | 20.495 | 29.393 | 3.02 | 8.25 | 9689 | 32.63
2009-09-25 | 9:08 | 438 | 75.65 | 23.734 | 29.396 | 3.02 | 8.05 | 9595 | 31.85
2009-09-25 | 9:09 | 451 | 75.65 | 23.634 | 29.395 | 3.046 | 8.01 | 9570 | 31.87
2009-09-25 | 9:09 | 491 | 72.48 | 26.968 | 29.395 | 3.02 | 7.76 | 8811 | 25.92
2009-09-25 | 9:10 | 549 | 69.17 | 37.132 | 29.389 | 3.02 | 7.32 | 7933 | 25.14
2009-09-25 | 9:13 | 58 | 68.08 | 46.889 | 29.405 | 3.02 | 6.94 | 7374 | 25.74
2009-09-25 | 9:14 | 125 | 67.26 | 56.952 | 29.412 | 3.02 | 6.82 | 7077 | 23.01
2009-09-25 | 9:15 | 165 | 66.59 | 66.301 | 29.418 | 3.02 | 6.76 | 6835 | 20.8
2009-09-25 | 9:16 | 218 | 65.7 | 76.68 | 29.428 | 3.02 | 6.66 | 6697 | 20.13
2009-09-25 | 9:17 | 285 | 62.39 | 87.594 | 29.439 | 3.02 | 6.62 | 6203 | 19.13
2009-09-25 | 9:17 | 331 | 58.23 | 97.184 | 29.437 | 3.02 | 6.59 | 6592 | 17.74
2009-09-25 | 9:18 | 384 | 54.63 | 108.063 | 29.436 | 3.02 | 6.58 | 6827 | 19.05
2009-09-25 | 9:19 | 451 | 51.5 | 117.984 | 29.446 | 3.02 | 6.6 | 6264 | 24.3
2009-09-25 | 9:20 | 498 | 49.8 | 126.857 | 29.451 | 3.02 | 6.6 | 5972 | 27.3
2009-09-25 | 9:21 | 558 | 49.15 | 135.302 | 29.463 | 2.994 | 6.65 | 5656 | 28.52
2009-09-25 | 9:21 | 571 | 49.15 | 135.322 | 29.469 | 3.02 | 6.66 | 5615 | 28.5

## Finegold
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2009-09-25 | 11:25
Report from file: | ...\SN48416 2009-09-25 093841 fin090925.bin
Win-Situ Version | 4.5
Serial number: | 48416
Firmware Version | 2.13
Unit name: | Troll 9000
Test name: |  | fin090925
Test defined on: | 2009-09-25 | 9:39
Test started on: | 2009-09-25 | 9:39
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 25
TOTAL DATA SAMPLES | 25
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [36]
Measurement type: | Rugged Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[36] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Rugged DO | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2009-09-25 | 9:39 | 31 | 76.88 | 0.732 | 29.382 | 3.02 | 7.96 | 9638 | 33.22
2009-09-25 | 9:40 | 71 | 76.85 | 3.051 | 29.383 | 3.02 | 7.98 | 9584 | 33.3
2009-09-25 | 9:41 | 124 | 76.84 | 6 | 29.382 | 3.02 | 8 | 9573 | 33.25
2009-09-25 | 9:41 | 157 | 76.53 | 9.337 | 29.383 | 3.02 | 7.98 | 9597 | 32.93
2009-09-25 | 9:42 | 191 | 75.52 | 11.866 | 29.384 | 2.994 | 7.93 | 9710 | 31.82
2009-09-25 | 9:44 | 290 | 74.68 | 14.77 | 29.381 | 2.994 | 7.78 | 9823 | 31.11
2009-09-25 | 9:45 | 350 | 70.4 | 24.249 | 29.376 | 2.994 | 7.44 | 8959 | 29.4
2009-09-25 | 9:46 | 430 | 69.03 | 34.832 | 29.383 | 2.994 | 7.23 | 8588 | 28.65
2009-09-25 | 9:49 | 623 | 67.83 | 46.374 | 29.406 | 3.02 | 7.22 | 8236 | 27.73
2009-09-25 | 9:50 | 696 | 67.38 | 54.878 | 29.417 | 3.02 | 7.02 | 7728 | 26.82
2009-09-25 | 9:51 | 750 | 66.74 | 64.338 | 29.422 | 2.994 | 6.93 | 7286 | 23.95
2009-09-25 | 9:52 | 810 | 65.44 | 74.654 | 29.431 | 3.02 | 6.77 | 6940 | 20.53
2009-09-25 | 9:53 | 863 | 63.26 | 84.047 | 29.436 | 3.02 | 6.66 | 6789 | 19.41
2009-09-25 | 9:55 | 956 | 59.93 | 94.523 | 29.448 | 3.02 | 6.61 | 6633 | 18.77
2009-09-25 | 9:56 | 1016 | 56.65 | 104.826 | 29.445 | 2.994 | 6.57 | 6190 | 20.91
2009-09-25 | 9:57 | 1076 | 53.37 | 116.011 | 29.449 | 2.994 | 6.53 | 5181 | 25.46
2009-09-25 | 9:57 | 1116 | 51.45 | 125.36 | 29.45 | 2.994 | 6.53 | 4657 | 27.74
2009-09-25 | 9:58 | 1176 | 50.28 | 134.396 | 29.46 | 2.994 | 6.57 | 4288 | 29.08
2009-09-25 | 9:59 | 1216 | 48.85 | 144.836 | 29.465 | 2.994 | 6.54 | 4097 | 30.49
2009-09-25 | 10:00 | 1256 | 48.12 | 154.83 | 29.471 | 2.994 | 6.56 | 3997 | 31.12
2009-09-25 | 10:00 | 1289 | 47.84 | 164.759 | 29.482 | 2.994 | 6.57 | 3959 | 31.23
2009-09-25 | 10:00 | 1303 | 47.87 | 164.766 | 29.491 | 2.994 | 6.59 | 3930 | 31.15
2009-09-25 | 10:01 | 1349 | 47.59 | 174.504 | 29.507 | 2.994 | 6.6 | 3922 | 31.41
2009-09-25 | 10:02 | 1402 | 47.5 | 185.503 | 29.526 | 2.994 | 6.58 | 3906 | 31.48
2009-09-25 | 10:03 | 1456 | 47.44 | 190.074 | 29.534 | 2.994 | 6.65 | 3421 | 283.74