## INS1A
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2011-05-02 | 7:51
Report from file: | ...\SN48416 2011-04-29 150059 fin_20110429.bin
Win-Situ® Version | 4.57.0.0
Serial number: | 48416
Firmware Version | 2.13
Unit name: | Troll 9000
Test name: |  | fin_20110429
Test defined on: | 2011-04-29 | 15:01
Test started on: | 2011-04-29 | 15:01
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 18
TOTAL DATA SAMPLES | 18
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Sensor Offset: | 0.000 psi
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [36]
Measurement type: | Rugged Dissolved Oxygen
Channel name:
Fixed Salinity(PSU): | 0.00 PSU
Channel number [36]
Measurement type: | RDO %Saturation
Channel name:
Fixed Salinity(PSU): | 0.00 PSU
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[36] | Chan[36] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Rugged DO | Rugged DO Sat | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2011-04-29 | 15:01 | 30 | 67.17 | 0.292 | 29.44 | 3.072 | 8.3 | 10726 | 118.8518 | 55.18
2011-04-29 | 15:02 | 83 | 66.47 | 2.972 | 29.44 | 3.072 | 8.28 | 10812 | 118.8832 | 54.73
2011-04-29 | 15:04 | 154 | 65.39 | 5.862 | 29.44 | 3.072 | 8.29 | 10888 | 118.2671 | 52.42
2011-04-29 | 15:04 | 200 | 65.14 | 9.038 | 29.44 | 3.072 | 8.31 | 10872 | 117.7555 | 54.32
2011-04-29 | 15:05 | 232 | 64.75 | 11.956 | 29.44 | 3.072 | 8.27 | 10816 | 116.6421 | 54.85
2011-04-29 | 15:06 | 271 | 64.61 | 14.967 | 29.44 | 3.072 | 8.25 | 10884 | 117.1783 | 54.47
2011-04-29 | 15:06 | 330 | 58.82 | 17.919 | 29.44 | 3.072 | 7.8 | 10682 | 107.4726 | 43.88
2011-04-29 | 15:08 | 402 | 51.8 | 28.06 | 29.44 | 3.072 | 7.59 | 11376 | 104.878 | 24.93
2011-04-29 | 15:09 | 460 | 50.83 | 37.945 | 29.44 | 3.072 | 7.39 | 11548 | 105.1407 | 23.63
2011-04-29 | 15:09 | 506 | 50.07 | 48.115 | 29.44 | 3.072 | 7.29 | 11549 | 104.0996 | 23.26
2011-04-29 | 15:10 | 552 | 49.77 | 58.051 | 29.44 | 3.046 | 5.73 | 11550 | 103.7036 | 22.99
2011-04-29 | 15:11 | 610 | 49.59 | 68.13 | 29.44 | 3.046 | 4.3 | 11564 | 103.5869 | 22.92
2011-04-29 | 15:12 | 636 | 49.37 | 78.022 | 29.44 | 3.046 | 3.98 | 11562 | 103.27 | 22.79
2011-04-29 | 15:12 | 689 | 49.24 | 88.096 | 29.44 | 3.046 | 4.12 | 11542 | 102.918 | 22.83
2011-04-29 | 15:13 | 741 | 49.09 | 97.674 | 29.44 | 3.046 | 5.12 | 11509 | 102.411 | 22.76
2011-04-29 | 15:14 | 773 | 48.88 | 108.232 | 29.44 | 3.046 | 5.96 | 11467 | 101.7489 | 23.23
2011-04-29 | 15:15 | 812 | 48.68 | 117.814 | 29.44 | 3.072 | 7.58 | 11281 | 99.8462 | 23.87
2011-04-29 | 15:15 | 864 | 48.65 | 127.351 | 29.44 | 3.046 | 8.62 | 11116 | 98.3377 | 24.25