## INS1CA
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2011-09-29 | 9:22
Report from file: | ...\SN48416 2003-07-02 091659 mil011111.bin
Win-Situ® Version | 4.57.0.0
Serial number: | 48416
Firmware Version | 2.13
Unit name: | Troll 9000
Test name: |  | mil011111
Test defined on: | 2003-07-02 | 9:17
Test started on: | 2003-07-02 | 9:17
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 47
TOTAL DATA SAMPLES | 47
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Sensor Offset: | 0.000 psi
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [36]
Measurement type: | Rugged Dissolved Oxygen
Channel name:
Fixed Salinity(PSU): | 0.00 PSU
Channel number [36]
Measurement type: | RDO %Saturation
Channel name:
Fixed Salinity(PSU): | 0.00 PSU
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[36] | Chan[36] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Rugged DO | Rugged DO Sat | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2011-01-11 | 9:18 | 37 | 50.76 | 0.183 | 29.78 | 3.124 | 7.09 | 9342 | 83.9903 | 23.18
2011-01-11 | 9:18 | 83 | 50.77 | 3.295 | 29.769 | 3.124 | 7.12 | 9344 | 84.0508 | 23.19
2011-01-11 | 9:19 | 115 | 50.75 | 6.089 | 29.766 | 3.124 | 7.13 | 9358 | 84.1607 | 23.17
2011-01-11 | 9:19 | 142 | 50.75 | 8.8 | 29.769 | 3.124 | 7.13 | 9365 | 84.2229 | 23.19
2011-01-11 | 9:20 | 168 | 50.76 | 11.794 | 29.775 | 3.098 | 7.13 | 9367 | 84.2282 | 23.2
2011-01-11 | 9:20 | 208 | 50.75 | 15.105 | 29.782 | 3.098 | 7.14 | 9355 | 84.0904 | 23.19
2011-01-11 | 9:21 | 247 | 50.75 | 18.067 | 29.787 | 3.124 | 7.16 | 9352 | 84.0448 | 23.17
2011-01-11 | 9:22 | 273 | 50.76 | 20.911 | 29.791 | 3.098 | 7.16 | 9355 | 84.0734 | 23.18
2011-01-11 | 9:22 | 280 | 50.75 | 20.927 | 29.791 | 3.124 | 7.16 | 9354 | 84.0582 | 23.17
2011-01-11 | 9:22 | 313 | 50.74 | 23.854 | 29.795 | 3.098 | 7.15 | 9360 | 84.0933 | 23.17
2011-01-11 | 9:23 | 346 | 50.74 | 27.132 | 29.802 | 3.124 | 7.15 | 9375 | 84.2076 | 23.18
2011-01-11 | 9:23 | 378 | 50.74 | 30.193 | 29.806 | 3.098 | 5.77 | 9398 | 84.3994 | 23.15
2011-01-11 | 9:24 | 405 | 50.73 | 33.236 | 29.81 | 3.098 | 6.06 | 9396 | 84.3647 | 23.14
2011-01-11 | 9:24 | 425 | 50.74 | 36.131 | 29.814 | 3.098 | 6.12 | 9406 | 84.4455 | 23.15
2011-01-11 | 9:24 | 444 | 50.75 | 38.941 | 29.818 | 3.098 | 6.12 | 9404 | 84.4279 | 23.15
2011-01-11 | 9:25 | 457 | 50.75 | 38.924 | 29.819 | 3.124 | 6.18 | 9398 | 84.3693 | 23.16
2011-01-11 | 9:25 | 490 | 50.76 | 42.269 | 29.822 | 3.098 | 6.16 | 9391 | 84.3081 | 23.14
2011-01-11 | 9:26 | 530 | 50.75 | 45.028 | 29.825 | 3.098 | 6.14 | 9379 | 84.1823 | 23.12
2011-01-11 | 9:26 | 556 | 50.76 | 47.821 | 29.828 | 3.124 | 6.13 | 9371 | 84.1104 | 23.13
2011-01-11 | 9:27 | 582 | 50.76 | 50.698 | 29.832 | 3.098 | 6.08 | 9369 | 84.0805 | 23.13
2011-01-11 | 9:27 | 622 | 50.74 | 54.193 | 29.837 | 3.124 | 6.06 | 9383 | 84.1765 | 23.13
2011-01-11 | 9:28 | 661 | 50.75 | 57.02 | 29.841 | 3.098 | 5.85 | 9378 | 84.1258 | 23.16
2011-01-11 | 9:28 | 681 | 50.74 | 60.064 | 29.845 | 3.098 | 5.78 | 9378 | 84.104 | 23.1
2011-01-11 | 9:29 | 701 | 50.75 | 62.89 | 29.847 | 3.098 | 5.75 | 9380 | 84.1242 | 23.11
2011-01-11 | 9:29 | 721 | 50.74 | 65.834 | 29.852 | 3.098 | 5.71 | 9384 | 84.1413 | 23.2
2011-01-11 | 9:29 | 740 | 50.72 | 68.761 | 29.855 | 3.098 | 5.64 | 9369 | 83.9837 | 23.27
2011-01-11 | 9:30 | 793 | 50.7 | 71.357 | 29.861 | 3.124 | 5.76 | 9266 | 83.0139 | 23.5
2011-01-11 | 9:31 | 826 | 50.69 | 73.934 | 29.864 | 3.098 | 5.75 | 9237 | 82.7311 | 23.5
2011-01-11 | 9:31 | 852 | 50.54 | 76.684 | 29.866 | 3.098 | 5.64 | 9123 | 81.5474 | 24.33
2011-01-11 | 9:32 | 885 | 50.38 | 79.477 | 29.87 | 3.098 | 5.86 | 8714 | 77.7179 | 25.34
2011-01-11 | 9:33 | 977 | 50.18 | 82.527 | 29.876 | 3.098 | 6.77 | 8175 | 72.7071 | 25.59
2011-01-11 | 9:34 | 1023 | 49.99 | 85.593 | 29.879 | 3.098 | 6.88 | 8282 | 73.4737 | 25.69
2011-01-11 | 9:35 | 1082 | 49.48 | 88.342 | 29.883 | 3.098 | 7 | 8803 | 77.5643 | 26.24
2011-01-11 | 9:36 | 1122 | 48.77 | 97.846 | 29.89 | 3.098 | 6.84 | 9142 | 79.7728 | 25.79
2011-01-11 | 9:36 | 1161 | 48.32 | 107.484 | 29.901 | 3.098 | 6.53 | 9318 | 80.8011 | 25.16
2011-01-11 | 9:37 | 1207 | 47.98 | 117.328 | 29.912 | 3.098 | 6.41 | 9491 | 81.8991 | 28.54
2011-01-11 | 9:38 | 1246 | 47.59 | 126.269 | 29.922 | 3.072 | 6.35 | 9613 | 82.4812 | 27.92
2011-01-11 | 9:39 | 1306 | 47.17 | 137.221 | 29.935 | 3.098 | 6.41 | 9835 | 83.8797 | 29.18
2011-01-11 | 9:40 | 1370 | 46.41 | 147.428 | 29.946 | 3.098 | 6.59 | 9933 | 83.8172 | 28.15
2011-01-11 | 9:40 | 1409 | 46.04 | 157.13 | 29.954 | 3.072 | 6.55 | 10030 | 84.1848 | 27.67
2011-01-11 | 9:41 | 1449 | 45.86 | 167.571 | 29.965 | 3.098 | 6.52 | 10093 | 84.4787 | 27.54
2011-01-11 | 9:42 | 1488 | 45.77 | 176.738 | 29.977 | 3.072 | 6.68 | 10099 | 84.3836 | 27.33
2011-01-11 | 9:43 | 1540 | 45.74 | 187.6 | 29.992 | 3.098 | 6.87 | 10049 | 83.8943 | 27.27
2011-01-11 | 9:43 | 1586 | 45.74 | 196.86 | 30.004 | 3.098 | 7.09 | 10074 | 84.0773 | 27.79
2011-01-11 | 9:44 | 1626 | 45.73 | 206.198 | 30.014 | 3.098 | 7.05 | 10099 | 84.2384 | 27.85
2011-01-11 | 9:45 | 1665 | 45.68 | 216.795 | 30.027 | 3.098 | 7.06 | 10068 | 83.8786 | 27.47
2011-01-11 | 9:45 | 1698 | 45.68 | 218.286 | 30.029 | 3.072 | 7.34 | 9307 | 77.5444 | 28.26