## INS19
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2011-05-23 | 14:46
Report from file: | ...\SN48416 2011-05-23 123217 win05232011.bin
Win-Situ® Version | 4.57.0.0
Serial number: | 48416
Firmware Version | 2.13
Unit name: | Troll 9000
Test name: |  | win05232011
Test defined on: | 2011-05-23 | 12:32
Test started on: | 2011-05-23 | 12:32
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 18
TOTAL DATA SAMPLES | 18
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Sensor Offset: | 0.000 psi
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [36]
Measurement type: | Rugged Dissolved Oxygen
Channel name:
Fixed Salinity(PSU): | 0.00 PSU
Channel number [36]
Measurement type: | RDO %Saturation
Channel name:
Fixed Salinity(PSU): | 0.00 PSU
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[36] | Chan[36] | Chan[45]
|  |  | Temperature | Pressure | Barometric | Battery | pH | Rugged DO | Rugged DO Sat | Conductivity
Date | Time | ET (sec) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2011-05-23 | 12:36 | 208 | 65.91 | 0.602 | 29.44 | 2.759 | 7.3 | 10339 | 112.95 | 33.86
2011-05-23 | 12:38 | 326 | 64.49 | 3.466 | 29.44 | 2.759 | 7.18 | 10445 | 112.3014 | 33.04
2011-05-23 | 12:40 | 462 | 63.64 | 6.321 | 29.44 | 2.759 | 7.15 | 10538 | 112.1951 | 32.48
2011-05-23 | 12:42 | 573 | 61.76 | 9.69 | 29.44 | 2.733 | 7.21 | 10631 | 110.7455 | 30.92
2011-05-23 | 12:44 | 710 | 53.82 | 13.405 | 29.44 | 2.733 | 7.04 | 11118 | 105.1611 | 23.21
2011-05-23 | 12:47 | 860 | 51.89 | 17.306 | 29.44 | 2.759 | 6.81 | 11085 | 102.3095 | 21.3
2011-05-23 | 12:49 | 977 | 51.52 | 21.335 | 29.44 | 2.759 | 7.69 | 10987 | 100.9244 | 21.23
2011-05-23 | 12:52 | 1212 | 51.27 | 25.326 | 29.44 | 2.733 | 7.68 | 10934 | 100.1053 | 20.74
2011-05-23 | 12:54 | 1296 | 51 | 32.05 | 29.44 | 2.733 | 6.67 | 10868 | 99.1694 | 21.18
2011-05-23 | 12:56 | 1427 | 50.57 | 44.605 | 29.44 | 2.733 | 7.04 | 10977 | 99.5871 | 20.59
2011-05-23 | 12:57 | 1466 | 50.56 | 44.641 | 29.44 | 2.733 | 7.41 | 10991 | 99.7056 | 20.6
2011-05-23 | 13:00 | 1681 | 50.33 | 57.687 | 29.44 | 2.733 | 8.03 | 11103 | 100.4141 | 20.32
2011-05-23 | 13:06 | 2046 | 49.93 | 73.543 | 29.44 | 2.733 | 7.8 | 11283 | 101.521 | 19.68
2011-05-23 | 13:08 | 2144 | 49.7 | 87.661 | 29.44 | 2.733 | 7.95 | 11280 | 101.189 | 19.57
2011-05-23 | 13:09 | 2229 | 49.5 | 100.571 | 29.44 | 2.733 | 8.02 | 11151 | 99.7681 | 19.89
2011-05-23 | 13:11 | 2340 | 49.32 | 113.131 | 29.44 | 2.733 | 8.18 | 11091 | 98.9892 | 19.75
2011-05-23 | 13:13 | 2418 | 49.16 | 125.647 | 29.44 | 2.733 | 8.11 | 11053 | 98.4413 | 19.72
2011-05-23 | 13:14 | 2483 | 49.11 | 133.235 | 29.44 | 2.733 | 8.18 | 10921 | 97.2028 | 19.83