## Forebay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2005-03-24 | 14:31
Report from file: | ...\SN32034 2005-03-24 085401 fltr0503.bin
Win-Situ Version | 4.5
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fltr0503
Test defined on: | 2005-03-24 | 8:54
Test started on: | 2005-03-24 | 8:54
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 3
TOTAL DATA SAMPLES | 3
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 555.15
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2005-03-24 | 8:55 | 63 | 553.892 | 57.6 | 1.258 | 29.364 | 2.733 | 6.79 | 9666 | 35.04
2005-03-24 | 8:56 | 89 | 551.722 | 57.57 | 3.428 | 29.363 | 2.811 | 6.85 | 9678 | 35.1
2005-03-24 | 8:56 | 139 | 548.265 | 57.56 | 6.885 | 29.369 | 2.811 | 6.76 | 9698 | 35.13
2005-03-24 | 8:57 | 25 | 544.959 | 57.54 | 10.191 | 29.376 | 2.811 | 6.78 | 9683 | 35.11
2005-03-24 | 8:58 | 92 | 543.133 | 57.55 | 12.017 | 29.378 | 2.811 | 6.68 | 9681 | 35.14
2005-03-24 | 8:59 | 130 | 540.008 | 57.52 | 15.142 | 29.382 | 2.811 | 6.69 | 9648 | 35.14
2005-03-24 | 9:00 | 160 | 537.017 | 57.51 | 18.133 | 29.386 | 2.811 | 6.64 | 9631 | 35.14
2005-03-24 | 9:01 | 223 | 534.336 | 57.5 | 20.814 | 29.388 | 2.811 | 6.61 | 9624 | 35.17
2005-03-24 | 9:01 | 257 | 531 | 57.49 | 24.15 | 29.394 | 2.811 | 6.57 | 9567 | 35.15
2005-03-24 | 9:04 | 423 | 524.117 | 50.66 | 31.033 | 29.392 | 2.733 | 6.48 | 9535 | 36.49
2005-03-24 | 9:05 | 485 | 514.806 | 48.64 | 40.344 | 29.391 | 2.733 | 6.53 | 9955 | 34.48
2005-03-24 | 9:06 | 540 | 504.148 | 47.82 | 51.002 | 29.406 | 2.785 | 6.57 | 10010 | 33.81
2005-03-24 | 9:07 | 595 | 493.688 | 47.46 | 61.462 | 29.421 | 2.785 | 6.58 | 9904 | 33.71
2005-03-24 | 9:08 | 642 | 484.238 | 47.08 | 70.912 | 29.433 | 2.785 | 6.59 | 9852 | 33.41
2005-03-24 | 9:09 | 705 | 473.894 | 46.63 | 81.256 | 29.448 | 2.733 | 6.59 | 9706 | 32.86
2005-03-24 | 9:11 | 849 | 462.433 | 46.38 | 92.717 | 29.46 | 2.785 | 6.56 | 9610 | 32.58
2005-03-24 | 9:12 | 887 | 452.616 | 46.17 | 102.534 | 29.47 | 2.785 | 6.54 | 9523 | 32.59
2005-03-24 | 9:13 | 946 | 443.999 | 45.97 | 111.151 | 29.484 | 2.785 | 6.49 | 9374 | 30.88
2005-03-24 | 9:13 | 984 | 432.743 | 45.92 | 122.407 | 29.493 | 2.785 | 6.51 | 9377 | 33.7
2005-03-24 | 9:14 | 1043 | 423.901 | 45.84 | 131.249 | 29.51 | 2.785 | 6.53 | 9554 | 33.46
2005-03-24 | 9:16 | 1141 | 413.005 | 45.78 | 142.145 | 29.526 | 2.759 | 6.52 | 8877 | 33.21
2005-03-24 | 9:17 | 1208 | 402.821 | 45.7 | 152.329 | 29.536 | 2.733 | 6.52 | 8694 | 32.84
2005-03-24 | 9:18 | 1255 | 393.036 | 45.66 | 162.114 | 29.544 | 2.785 | 6.49 | 8817 | 32.65
2005-03-24 | 9:19 | 1301 | 382.852 | 45.55 | 172.298 | 29.556 | 2.785 | 6.48 | 8876 | 32
2005-03-24 | 9:20 | 1373 | 374.062 | 45.48 | 181.088 | 29.571 | 2.785 | 6.47 | 8836 | 31.14
2005-03-24 | 9:21 | 1445 | 363.88 | 45.44 | 191.27 | 29.584 | 2.785 | 6.46 | 8700 | 31.03
2005-03-24 | 9:22 | 1500 | 353.663 | 45.37 | 201.487 | 29.594 | 2.785 | 6.43 | 8653 | 30.18
2005-03-24 | 9:23 | 1577 | 343.594 | 45.34 | 211.556 | 29.608 | 2.759 | 6.4 | 8421 | 29.9
2005-03-24 | 9:24 | 1623 | 332.922 | 45.29 | 222.228 | 29.617 | 2.759 | 6.35 | 8357 | 29.7
2005-03-24 | 9:25 | 1661 | 322.12 | 45.29 | 233.03 | 29.627 | 2.785 | 6.33 | 8301 | 29.74
2005-03-24 | 9:29 | 55 | 312.603 | 45.3 | 242.547 | 29.651 | 2.785 | 6.31 | 8292 | 29.72
2005-03-24 | 9:30 | 110 | 305.417 | 45.35 | 249.733 | 29.654 | 2.785 | 6.35 | 8153 | 31.15

## Winchell Bay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2005-03-24 | 15:02
Report from file: | ...\SN32034 2005-03-24 094550 win050324.bin
Win-Situ Version | 4.5
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | win050324
Test defined on: | 2005-03-24 | 9:46
Test started on: | 2005-03-24 | 9:46
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 28
TOTAL DATA SAMPLES | 28
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 555.15
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2005-03-24 | 9:47 | 50 | 551.854 | 57.5 | 3.296 | 29.38 | 2.759 | 7.24 | 9884 | 34.93
2005-03-24 | 9:47 | 92 | 549.109 | 57.37 | 6.041 | 29.379 | 2.785 | 7.25 | 9933 | 35.02
2005-03-24 | 9:48 | 134 | 545.849 | 57.31 | 9.301 | 29.378 | 2.785 | 7.39 | 9937 | 35.1
2005-03-24 | 9:49 | 167 | 542.542 | 57.29 | 12.608 | 29.382 | 2.785 | 7.32 | 9955 | 35.24
2005-03-24 | 9:49 | 209 | 540.174 | 57.28 | 14.976 | 29.384 | 2.785 | 7.33 | 9940 | 35.3
2005-03-24 | 9:50 | 238 | 537.081 | 57.26 | 18.069 | 29.386 | 2.785 | 7.4 | 9921 | 35.36
2005-03-24 | 9:50 | 272 | 534.122 | 57.24 | 21.028 | 29.389 | 2.759 | 7.34 | 9914 | 35.48
2005-03-24 | 9:51 | 322 | 530.922 | 54.98 | 24.228 | 29.388 | 2.785 | 7.24 | 9982 | 35.75
2005-03-24 | 9:53 | 415 | 528.046 | 53.28 | 27.104 | 29.385 | 2.785 | 7.08 | 9972 | 36.23
2005-03-24 | 9:54 | 508 | 518.125 | 48.61 | 37.025 | 29.393 | 2.785 | 7.06 | 10531 | 33.25
2005-03-24 | 9:55 | 550 | 507.571 | 47.82 | 47.579 | 29.403 | 2.785 | 7.04 | 10649 | 31.92
2005-03-24 | 9:55 | 575 | 507.726 | 47.81 | 47.424 | 29.407 | 2.785 | 7.01 | 10559 | 31.9
2005-03-24 | 9:57 | 656 | 497.679 | 47.24 | 57.471 | 29.422 | 2.785 | 6.93 | 10514 | 31.75
2005-03-24 | 9:58 | 715 | 486.604 | 46.81 | 68.546 | 29.432 | 2.759 | 6.88 | 10489 | 32.38
2005-03-24 | 9:59 | 769 | 477.813 | 46.5 | 77.337 | 29.444 | 2.785 | 6.82 | 10373 | 33.73
2005-03-24 | 10:01 | 930 | 468.01 | 46.34 | 87.14 | 29.459 | 2.733 | 6.74 | 9117 | 34.07
2005-03-24 | 10:02 | 963 | 457.923 | 46.15 | 97.227 | 29.464 | 2.785 | 6.73 | 9079 | 33.17
2005-03-24 | 10:03 | 1018 | 448.021 | 46.06 | 107.129 | 29.48 | 2.785 | 6.71 | 8912 | 32.98
2005-03-24 | 10:04 | 1090 | 438.537 | 45.97 | 116.613 | 29.494 | 2.759 | 6.67 | 8805 | 33.11
2005-03-24 | 10:05 | 1144 | 428.719 | 45.91 | 126.431 | 29.501 | 2.785 | 6.63 | 8788 | 33.35
2005-03-24 | 10:05 | 1174 | 418.657 | 45.88 | 136.493 | 29.51 | 2.759 | 6.63 | 8790 | 33.35
2005-03-24 | 10:06 | 1225 | 407.53 | 45.76 | 147.62 | 29.525 | 2.733 | 6.63 | 8791 | 33.45
2005-03-24 | 10:07 | 1263 | 397.858 | 45.73 | 157.292 | 29.539 | 2.759 | 6.61 | 8756 | 33.34
2005-03-24 | 10:07 | 1292 | 388.307 | 45.73 | 166.843 | 29.548 | 2.759 | 6.56 | 8727 | 33.38
2005-03-24 | 10:09 | 1368 | 378.159 | 45.68 | 176.991 | 29.567 | 2.759 | 6.55 | 8749 | 33.2
2005-03-24 | 10:10 | 1423 | 369.266 | 45.69 | 185.884 | 29.576 | 2.759 | 6.55 | 8753 | 33.22
2005-03-24 | 10:10 | 1461 | 370.188 | 45.68 | 184.962 | 29.579 | 2.759 | 6.55 | 8684 | 42.65

## Finegold
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2005-03-24 | 15:05
Report from file: | ...\SN32034 2005-03-24 102748 fin050324.bin
Win-Situ Version | 4.5
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fin050324
Test defined on: | 2005-03-24 | 10:28
Test started on: | 2005-03-24 | 10:28
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 17
TOTAL DATA SAMPLES | 17
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 555.15
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2005-03-24 | 10:29 | 72 | 554.703 | 57.56 | 0.447 | 29.361 | 2.759 | 7.25 | 10580 | 41.99
2005-03-24 | 10:30 | 118 | 552.722 | 57.55 | 2.428 | 29.373 | 2.733 | 7.38 | 10483 | 42.25
2005-03-24 | 10:30 | 151 | 548.973 | 56.91 | 6.177 | 29.368 | 2.759 | 7.47 | 10547 | 41.77
2005-03-24 | 10:31 | 184 | 546.173 | 56.82 | 8.977 | 29.37 | 2.759 | 7.4 | 10501 | 41.92
2005-03-24 | 10:31 | 214 | 542.737 | 56.8 | 12.413 | 29.374 | 2.785 | 7.43 | 10433 | 42.19
2005-03-24 | 10:32 | 264 | 539.951 | 56.54 | 15.199 | 29.376 | 2.759 | 7.39 | 10459 | 43.8
2005-03-24 | 10:33 | 305 | 537.405 | 54.89 | 17.745 | 29.373 | 2.785 | 7.37 | 10713 | 54.88
2005-03-24 | 10:34 | 384 | 526.755 | 51.18 | 28.395 | 29.381 | 2.759 | 7.37 | 11185 | 35.72
2005-03-24 | 10:35 | 459 | 517.11 | 49.66 | 38.04 | 29.393 | 2.733 | 7.21 | 11189 | 31.82
2005-03-24 | 10:36 | 514 | 507.753 | 48.01 | 47.397 | 29.396 | 2.785 | 7.21 | 11356 | 29.92
2005-03-24 | 10:37 | 547 | 497.221 | 47.41 | 57.929 | 29.404 | 2.785 | 7.16 | 11358 | 29.29
2005-03-24 | 10:38 | 593 | 487.975 | 47.08 | 67.175 | 29.419 | 2.759 | 7.11 | 11155 | 29.28
2005-03-24 | 10:39 | 643 | 479.156 | 46.79 | 75.994 | 29.431 | 2.759 | 7.02 | 11048 | 29.46
2005-03-24 | 10:42 | 830 | 464.209 | 46.49 | 90.941 | 29.425 | 2.785 | 7.01 | 9887 | 33.44
2005-03-24 | 10:43 | 910 | 455.723 | 46.42 | 99.427 | 29.463 | 2.707 | 7 | 9459 | 32.41
2005-03-24 | 10:45 | 1018 | 446.607 | 46.31 | 108.543 | 29.476 | 2.759 | 6.69 | 9404 | 32.81
2005-03-24 | 10:45 | 1055 | 444.083 | 46.29 | 111.067 | 29.479 | 2.759 | 6.81 | 9322 | 33.07