## Forebay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2005-04-22 | 13:34
Report from file: | ...\SN32034 2005-04-22 100503 fltr050422.bin
Win-Situ Version | 4.5
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fltr050422
Test defined on: | 2005-04-22 | 10:05
Test started on: | 2005-04-22 | 10:05
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 31
TOTAL DATA SAMPLES | 31
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 563.03
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2005-04-22 | 10:05 | 19 | 562.414 | 63.98 | 0.616 | 29.251 | 2.655 | 6.56 | 10010 | 43.31
2005-04-22 | 10:06 | 60 | 559.888 | 63.66 | 3.142 | 29.209 | 2.655 | 6.66 | 10127 | 43.14
2005-04-22 | 10:07 | 98 | 556.904 | 63.51 | 6.126 | 29.22 | 2.655 | 6.74 | 10259 | 43.05
2005-04-22 | 10:08 | 148 | 553.913 | 63.26 | 9.117 | 29.231 | 2.655 | 6.79 | 10394 | 42.88
2005-04-22 | 10:08 | 206 | 551.11 | 63.15 | 11.92 | 29.239 | 2.655 | 6.82 | 10249 | 42.88
2005-04-22 | 10:09 | 248 | 548.005 | 62.93 | 15.025 | 29.242 | 2.655 | 6.73 | 10261 | 42.76
2005-04-22 | 10:10 | 298 | 545.006 | 62.54 | 18.024 | 29.247 | 2.603 | 6.62 | 10347 | 42.65
2005-04-22 | 10:11 | 356 | 541.999 | 61.79 | 21.031 | 29.251 | 2.603 | 6.56 | 10432 | 42.21
2005-04-22 | 10:13 | 489 | 538.746 | 60.99 | 24.284 | 29.271 | 2.577 | 6.43 | 10234 | 41.86
2005-04-22 | 10:16 | 635 | 528.015 | 50.15 | 35.015 | 29.253 | 2.655 | 6.6 | 11327 | 33.86
2005-04-22 | 10:17 | 706 | 518.306 | 49.04 | 44.724 | 29.256 | 2.655 | 6.6 | 11628 | 30.68
2005-04-22 | 10:18 | 756 | 508.962 | 48.49 | 54.068 | 29.259 | 2.655 | 6.61 | 11688 | 29.54
2005-04-22 | 10:19 | 810 | 498.64 | 48.15 | 64.39 | 29.27 | 2.655 | 6.62 | 11744 | 29.45
2005-04-22 | 10:19 | 864 | 489.051 | 47.69 | 73.979 | 29.281 | 2.655 | 6.65 | 11782 | 28.82
2005-04-22 | 10:20 | 910 | 478.891 | 47.59 | 84.139 | 29.29 | 2.655 | 6.62 | 11651 | 30.4
2005-04-22 | 10:21 | 956 | 469.338 | 47.47 | 93.692 | 29.304 | 2.655 | 6.58 | 11446 | 30.71
2005-04-22 | 10:22 | 1035 | 459.23 | 47.2 | 103.8 | 29.322 | 2.629 | 6.58 | 11332 | 30.54
2005-04-22 | 10:23 | 1060 | 449.254 | 46.96 | 113.776 | 29.328 | 2.655 | 6.56 | 11392 | 31.9
2005-04-22 | 10:25 | 1185 | 439.8 | 46.83 | 123.23 | 29.361 | 2.655 | 6.56 | 10986 | 32.3
2005-04-22 | 10:26 | 1243 | 428.686 | 46.66 | 134.344 | 29.362 | 2.577 | 6.55 | 10969 | 32.67
2005-04-22 | 10:27 | 1289 | 419.42 | 46.57 | 143.61 | 29.37 | 2.629 | 6.53 | 10981 | 32.43
2005-04-22 | 10:28 | 1347 | 408.831 | 46.43 | 154.199 | 29.387 | 2.603 | 6.56 | 10174 | 33.1
2005-04-22 | 10:29 | 1410 | 399.167 | 46.33 | 163.863 | 29.403 | 2.577 | 6.53 | 10277 | 33.29
2005-04-22 | 10:30 | 1507 | 388.388 | 46.19 | 174.642 | 29.426 | 2.629 | 6.55 | 10267 | 33.55
2005-04-22 | 10:31 | 1540 | 379.461 | 46.04 | 183.569 | 29.425 | 2.629 | 6.52 | 10232 | 33.8
2005-04-22 | 10:31 | 1585 | 368.618 | 45.89 | 194.412 | 29.429 | 2.629 | 6.51 | 10179 | 34
2005-04-22 | 10:33 | 1648 | 359.247 | 45.82 | 203.783 | 29.448 | 2.629 | 6.51 | 10037 | 33.99
2005-04-22 | 10:33 | 1706 | 348.965 | 45.8 | 214.065 | 29.462 | 2.629 | 6.51 | 9916 | 33.94
2005-04-22 | 10:35 | 1773 | 328.429 | 45.72 | 234.601 | 29.476 | 2.629 | 6.47 | 9723 | 33.44
2005-04-22 | 10:35 | 1818 | 318.546 | 45.71 | 244.484 | 29.492 | 2.629 | 6.42 | 9666 | 33.32
2005-04-22 | 10:36 | 1851 | 311.487 | 45.71 | 251.543 | 29.502 | 2.629 | 6.46 | 9537 | 34.41

## Winchell Bay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2005-04-22 | 13:35
Report from file: | ...\SN32034 2005-04-22 105552 win050422.bin
Win-Situ Version | 4.5
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | win050422
Test defined on: | 2005-04-22 | 10:56
Test started on: | 2005-04-22 | 10:56
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 18
TOTAL DATA SAMPLES | 18
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 563.03
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2005-04-22 | 10:56 | 15 | 562.843 | 63.88 | 0.187 | 29.231 | 2.655 | 6.79 | 15919 | 1.38
2005-04-22 | 10:57 | 86 | 559.83 | 62.26 | 3.2 | 29.214 | 2.655 | 7.02 | 14349 | 43.65
2005-04-22 | 10:58 | 140 | 557.034 | 62.18 | 5.996 | 29.225 | 2.577 | 7.07 | 14155 | 43.61
2005-04-22 | 10:59 | 207 | 553.976 | 62.16 | 9.054 | 29.23 | 2.655 | 7.09 | 13733 | 43.79
2005-04-22 | 11:00 | 257 | 550.961 | 61.51 | 12.069 | 29.231 | 2.655 | 7.11 | 12971 | 43.43
2005-04-22 | 11:01 | 320 | 547.908 | 61.37 | 15.122 | 29.236 | 2.629 | 7.12 | 11245 | 43.27
2005-04-22 | 11:02 | 378 | 544.982 | 61.36 | 18.048 | 29.238 | 2.629 | 7.1 | 11204 | 43.18
2005-04-22 | 11:06 | 595 | 541.916 | 61.14 | 21.114 | 29.241 | 2.629 | 7.27 | 10458 | 42.85
2005-04-22 | 11:06 | 637 | 539.071 | 61.11 | 23.959 | 29.243 | 2.629 | 7.25 | 10464 | 42.51
2005-04-22 | 11:07 | 682 | 536.183 | 59.34 | 26.847 | 29.241 | 2.629 | 7.22 | 10758 | 41.43
2005-04-22 | 11:10 | 841 | 525.948 | 50.5 | 37.082 | 29.247 | 2.629 | 7.15 | 11721 | 30.84
2005-04-22 | 11:11 | 887 | 516.162 | 49.35 | 46.868 | 29.246 | 2.577 | 7.11 | 11928 | 29.63
2005-04-22 | 11:12 | 974 | 505.941 | 48.99 | 57.089 | 29.268 | 2.629 | 6.92 | 11478 | 30.97
2005-04-22 | 11:13 | 1020 | 496.56 | 48.31 | 66.47 | 29.27 | 2.629 | 6.89 | 11641 | 29.69
2005-04-22 | 11:14 | 1066 | 486.125 | 47.72 | 76.905 | 29.277 | 2.629 | 6.82 | 11747 | 29
2005-04-22 | 11:14 | 1091 | 476.259 | 47.49 | 86.771 | 29.285 | 2.629 | 6.71 | 11763 | 30.64
2005-04-22 | 11:15 | 1174 | 465.9 | 47.27 | 97.13 | 29.317 | 2.629 | 6.72 | 11407 | 30.51
2005-04-22 | 11:16 | 1208 | 457.099 | 47.17 | 105.931 | 29.319 | 2.629 | 6.83 | 11346 | 30.6

## Finegold
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2005-04-22 | 13:37
Report from file: | ...\SN32034 2005-04-22 120135 fin050422.bin
Win-Situ Version | 4.5
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fin050422
Test defined on: | 2005-04-22 | 12:02
Test started on: | 2005-04-22 | 12:02
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 18
TOTAL DATA SAMPLES | 18
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 563.03
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2005-04-22 | 12:03 | 57 | 562.294 | 65.41 | 0.736 | 29.214 | 2.655 | 7.14 | 10263 | 49.97
2005-04-22 | 12:03 | 107 | 559.709 | 64.75 | 3.321 | 29.21 | 2.629 | 7.27 | 10204 | 49.81
2005-04-22 | 12:04 | 170 | 556.783 | 63.78 | 6.247 | 29.215 | 2.655 | 7.36 | 10399 | 49.24
2005-04-22 | 12:05 | 220 | 553.677 | 62.24 | 9.353 | 29.215 | 2.655 | 7.33 | 10425 | 50.53
2005-04-22 | 12:06 | 274 | 550.94 | 60.46 | 12.09 | 29.215 | 2.629 | 7.39 | 10409 | 56.13
2005-04-22 | 12:08 | 387 | 551.001 | 60.66 | 12.029 | 29.223 | 2.655 | 7.55 | 10460 | 46
2005-04-22 | 12:09 | 440 | 548.005 | 58.72 | 15.025 | 29.214 | 2.629 | 7.52 | 10568 | 44.93
2005-04-22 | 12:10 | 486 | 538.146 | 50.82 | 24.884 | 29.18 | 2.655 | 7.5 | 11949 | 29.81
2005-04-22 | 12:10 | 528 | 527.314 | 49.05 | 35.716 | 29.197 | 2.577 | 7.24 | 12158 | 27.94
2005-04-22 | 12:11 | 565 | 517.284 | 48.44 | 45.746 | 29.219 | 2.629 | 7.12 | 12073 | 27.99
2005-04-22 | 12:12 | 615 | 508.583 | 48.06 | 54.447 | 29.239 | 2.629 | 6.96 | 11805 | 28.28
2005-04-22 | 12:15 | 794 | 496.588 | 47.41 | 66.442 | 29.231 | 2.629 | 7.02 | 12001 | 28.68
2005-04-22 | 12:16 | 840 | 488.549 | 47.31 | 74.481 | 29.265 | 2.577 | 6.89 | 11662 | 28.67
2005-04-22 | 12:16 | 865 | 477.968 | 47.15 | 85.062 | 29.276 | 2.629 | 6.89 | 11599 | 28.91
2005-04-22 | 12:17 | 898 | 467.925 | 46.93 | 95.105 | 29.285 | 2.577 | 6.89 | 11492 | 29.51
2005-04-22 | 12:17 | 936 | 458.246 | 46.84 | 104.784 | 29.298 | 2.629 | 6.89 | 10903 | 29.94
2005-04-22 | 12:18 | 973 | 448.629 | 46.76 | 114.401 | 29.31 | 2.603 | 6.86 | 10797 | 30.28
2005-04-22 | 12:18 | 1007 | 440.282 | 46.67 | 122.748 | 29.321 | 2.629 | 6.84 | 10392 | 30.95