## Forebay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2005-06-24 | 13:55
Report from file: | ...\SN32034 2003-07-31 100641 fltr050624.bin
Win-Situ Version | 4.5
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fltr050624
Test defined on: | 2003-07-31 | 10:07
Test started on: | 2003-07-31 | 10:07
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 34
TOTAL DATA SAMPLES | 34
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 578.18
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2005-06-24 | 10:07 | 32 | 577.904 | 70.24 | 0.276 | 29.273 | 2.811 | 7.2 | 9009 | 1.38
2005-06-24 | 10:09 | 162 | 575.138 | 71.82 | 3.042 | 29.268 | 2.863 | 7.21 | 8761 | 38.98
2005-06-24 | 10:10 | 217 | 572.26 | 71.46 | 5.92 | 29.272 | 2.863 | 7.2 | 8670 | 38.59
2005-06-24 | 10:11 | 276 | 569.13 | 71.25 | 9.05 | 29.278 | 2.863 | 7.19 | 8693 | 38.32
2005-06-24 | 10:12 | 322 | 565.886 | 70.97 | 12.294 | 29.283 | 2.863 | 7.24 | 8671 | 37.91
2005-06-24 | 10:12 | 335 | 565.839 | 70.65 | 12.341 | 29.282 | 2.863 | 7.23 | 8725 | 37.08
2005-06-24 | 10:14 | 453 | 563.222 | 62.05 | 14.958 | 29.271 | 2.811 | 7.31 | 12613 | 24.54
2005-06-24 | 10:16 | 584 | 552.984 | 58.09 | 25.196 | 29.283 | 2.863 | 6.22 | 12008 | 20.6
2005-06-24 | 10:18 | 684 | 543.108 | 56.74 | 35.072 | 29.295 | 2.811 | 6.06 | 11737 | 19.44
2005-06-24 | 10:19 | 726 | 532.887 | 55.71 | 45.293 | 29.296 | 2.811 | 6.01 | 12058 | 18.16
2005-06-24 | 10:20 | 818 | 523.43 | 55.28 | 54.75 | 29.318 | 2.863 | 5.93 | 11692 | 17.98
2005-06-24 | 10:21 | 872 | 513.044 | 55.04 | 65.136 | 29.325 | 2.863 | 5.92 | 11668 | 17.86
2005-06-24 | 10:22 | 927 | 503.307 | 54.95 | 74.873 | 29.338 | 2.863 | 5.95 | 11605 | 17.85
2005-06-24 | 10:23 | 986 | 492.943 | 54.74 | 85.237 | 29.352 | 2.863 | 5.97 | 11592 | 17.98
2005-06-24 | 10:24 | 1023 | 483.169 | 54.68 | 95.011 | 29.361 | 2.863 | 6.01 | 11570 | 18.07
2005-06-24 | 10:24 | 1065 | 472.762 | 54.49 | 105.418 | 29.371 | 2.837 | 6.03 | 11609 | 17.93
2005-06-24 | 10:25 | 1124 | 463.16 | 54.29 | 115.02 | 29.388 | 2.837 | 6.06 | 11649 | 17.86
2005-06-24 | 10:27 | 1207 | 452.958 | 54 | 125.222 | 29.405 | 2.863 | 6.12 | 11554 | 17.63
2005-06-24 | 10:28 | 1266 | 442.95 | 53.77 | 135.23 | 29.411 | 2.785 | 6.15 | 11703 | 17.53
2005-06-24 | 10:28 | 1295 | 433.19 | 53.68 | 144.99 | 29.418 | 2.863 | 6.14 | 11692 | 18.02
2005-06-24 | 10:29 | 1342 | 423.337 | 53.54 | 154.843 | 29.429 | 2.785 | 6.15 | 11599 | 18.31
2005-06-24 | 10:30 | 1384 | 413.296 | 53.47 | 164.884 | 29.442 | 2.863 | 6.14 | 11569 | 18.4
2005-06-24 | 10:30 | 1422 | 402.829 | 53.4 | 175.351 | 29.453 | 2.837 | 6.15 | 11554 | 18.56
2005-06-24 | 10:31 | 1452 | 393.221 | 53.32 | 184.959 | 29.464 | 2.837 | 6.17 | 11586 | 18.47
2005-06-24 | 10:32 | 1502 | 383.347 | 53.14 | 194.833 | 29.478 | 2.785 | 6.16 | 11519 | 19.38
2005-06-24 | 10:32 | 1519 | 383.341 | 53.12 | 194.839 | 29.483 | 2.837 | 6.17 | 11461 | 19.39
2005-06-24 | 10:33 | 1561 | 373.1 | 52.91 | 205.08 | 29.492 | 2.837 | 6.18 | 11429 | 20
2005-06-24 | 10:34 | 1663 | 363.285 | 52.46 | 214.895 | 29.512 | 2.837 | 6.21 | 10536 | 21.26
2005-06-24 | 10:36 | 1752 | 353.472 | 51.42 | 224.708 | 29.519 | 2.811 | 6.2 | 10266 | 23.82
2005-06-24 | 10:38 | 1882 | 342.46 | 49.45 | 235.72 | 29.531 | 2.837 | 6.22 | 8901 | 27.79
2005-06-24 | 10:42 | 2093 | 333.093 | 48.86 | 245.087 | 29.541 | 2.785 | 6.19 | 8269 | 28.84
2005-06-24 | 10:42 | 2127 | 323.296 | 48.79 | 254.884 | 29.543 | 2.837 | 6.18 | 8226 | 28.99
2005-06-24 | 10:43 | 2165 | 313.333 | 48.72 | 264.847 | 29.55 | 2.811 | 6.28 | 8097 | 54.11
2005-06-24 | 10:43 | 2191 | 313.323 | 48.68 | 264.857 | 29.555 | 2.811 | 6.37 | 7924 | 63.24

## Winchell Bay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2005-06-24 | 14:05
Report from file: | ...\SN32034 2003-07-31 110247 win050624.bin
Win-Situ Version | 4.5
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | win050624
Test defined on: | 2003-07-31 | 11:03
Test started on: | 2003-07-31 | 11:03
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 25
TOTAL DATA SAMPLES | 25
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 578.18
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2005-06-24 | 11:04 | 74 | 577.423 | 75.7 | 0.757 | 29.278 | 2.811 | 7.59 | 9221 | 41.03
2005-06-24 | 11:05 | 108 | 575.1 | 75.67 | 3.08 | 29.286 | 2.811 | 7.67 | 9284 | 41.12
2005-06-24 | 11:05 | 146 | 572.025 | 75.59 | 6.155 | 29.288 | 2.785 | 7.63 | 9312 | 41.06
2005-06-24 | 11:06 | 192 | 568.898 | 75.12 | 9.282 | 29.287 | 2.811 | 7.57 | 9379 | 40.55
2005-06-24 | 11:07 | 255 | 566.015 | 70.76 | 12.165 | 29.274 | 2.785 | 7.67 | 10485 | 35.26
2005-06-24 | 11:08 | 314 | 562.489 | 63.65 | 15.691 | 29.259 | 2.785 | 7.74 | 12283 | 25.73
2005-06-24 | 11:10 | 439 | 552.906 | 57.32 | 25.274 | 29.282 | 2.811 | 7.01 | 11975 | 19.62
2005-06-24 | 11:12 | 539 | 542.888 | 55.97 | 35.292 | 29.292 | 2.811 | 6.67 | 11742 | 17.23
2005-06-24 | 11:13 | 623 | 533.094 | 55.55 | 45.086 | 29.302 | 2.785 | 6.46 | 11606 | 17.31
2005-06-24 | 11:14 | 661 | 522.914 | 55.32 | 55.266 | 29.305 | 2.785 | 6.34 | 11631 | 16.89
2005-06-24 | 11:15 | 707 | 512.523 | 55.1 | 65.657 | 29.316 | 2.785 | 6.29 | 11699 | 16.49
2005-06-24 | 11:15 | 724 | 512.531 | 55.09 | 65.649 | 29.321 | 2.785 | 6.3 | 11706 | 16.48
2005-06-24 | 11:15 | 758 | 502.874 | 55.03 | 75.306 | 29.33 | 2.785 | 6.23 | 11700 | 16.63
2005-06-24 | 11:16 | 804 | 493.026 | 54.88 | 85.154 | 29.342 | 2.785 | 6.2 | 11671 | 16.61
2005-06-24 | 11:17 | 842 | 482.452 | 54.6 | 95.728 | 29.352 | 2.733 | 6.16 | 11711 | 16.41
2005-06-24 | 11:17 | 876 | 473.374 | 54.45 | 104.806 | 29.362 | 2.785 | 6.11 | 11697 | 17.48
2005-06-24 | 11:18 | 938 | 463.234 | 54.34 | 114.946 | 29.383 | 2.785 | 6.11 | 11544 | 17.66
2005-06-24 | 11:20 | 1005 | 453.37 | 54.11 | 124.81 | 29.398 | 2.733 | 5.97 | 11436 | 18.15
2005-06-24 | 11:20 | 1039 | 442.931 | 53.89 | 135.249 | 29.404 | 2.785 | 5.94 | 11434 | 18.13
2005-06-24 | 11:21 | 1085 | 433.401 | 53.76 | 144.779 | 29.415 | 2.733 | 5.93 | 11435 | 18.06
2005-06-24 | 11:22 | 1123 | 422.747 | 53.63 | 155.433 | 29.426 | 2.785 | 5.94 | 11447 | 17.81
2005-06-24 | 11:22 | 1165 | 412.909 | 53.44 | 165.271 | 29.438 | 2.785 | 5.93 | 11491 | 17.75
2005-06-24 | 11:23 | 1220 | 402.955 | 53.37 | 175.225 | 29.454 | 2.733 | 5.93 | 11468 | 17.97
2005-06-24 | 11:24 | 1278 | 393.443 | 53.34 | 184.737 | 29.469 | 2.785 | 5.96 | 10989 | 17.88
2005-06-24 | 11:26 | 1375 | 383.663 | 53.2 | 194.517 | 29.484 | 2.759 | 6.01 | 10020 | 72.43

## Finegold
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2005-06-24 | 14:01
Report from file: | ...\SN32034 2003-07-31 115513 fin050624.bin
Win-Situ Version | 4.5
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fin050624
Test defined on: | 2003-07-31 | 11:55
Test started on: | 2003-07-31 | 11:55
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 24
TOTAL DATA SAMPLES | 24
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 578.18
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2005-06-24 | 11:56 | 19 | 577.595 | 75.21 | 0.585 | 29.271 | 2.785 | 7.28 | 10872 | 42.37
2005-06-24 | 11:56 | 53 | 575.09 | 75.21 | 3.09 | 29.274 | 2.811 | 7.35 | 10640 | 42.37
2005-06-24 | 11:57 | 121 | 571.999 | 75.08 | 6.181 | 29.274 | 2.785 | 7.41 | 10003 | 41.9
2005-06-24 | 11:58 | 171 | 568.842 | 74.97 | 9.338 | 29.276 | 2.811 | 7.31 | 9712 | 41.71
2005-06-24 | 11:59 | 213 | 566.034 | 69.71 | 12.146 | 29.261 | 2.733 | 7.34 | 10759 | 34.01
2005-06-24 | 12:00 | 288 | 555.729 | 58.13 | 22.451 | 29.235 | 2.759 | 7.07 | 12407 | 18.47
2005-06-24 | 12:01 | 371 | 545.942 | 56.14 | 32.238 | 29.273 | 2.759 | 6.87 | 12078 | 16.51
2005-06-24 | 12:02 | 417 | 536.084 | 55.84 | 42.096 | 29.279 | 2.759 | 6.75 | 11919 | 16.13
2005-06-24 | 12:03 | 451 | 526.325 | 55.59 | 51.855 | 29.285 | 2.785 | 6.61 | 11861 | 15.99
2005-06-24 | 12:03 | 493 | 515.945 | 55.46 | 62.235 | 29.297 | 2.785 | 6.49 | 11825 | 15.96
2005-06-24 | 12:04 | 543 | 506.008 | 55.22 | 72.172 | 29.315 | 2.785 | 6.44 | 11801 | 15.94
2005-06-24 | 12:05 | 593 | 495.853 | 54.89 | 82.327 | 29.329 | 2.759 | 6.35 | 11742 | 15.9
2005-06-24 | 12:06 | 652 | 486.082 | 54.62 | 92.098 | 29.344 | 2.785 | 6.28 | 11707 | 15.94
2005-06-24 | 12:07 | 695 | 477.169 | 54.3 | 101.011 | 29.351 | 2.733 | 6.27 | 11732 | 16.28
2005-06-24 | 12:07 | 737 | 464.699 | 53.95 | 113.481 | 29.362 | 2.733 | 6.23 | 11752 | 16.9
2005-06-24 | 12:08 | 779 | 454.749 | 53.79 | 123.431 | 29.374 | 2.759 | 6.19 | 11746 | 16.7
2005-06-24 | 12:09 | 842 | 445.919 | 53.66 | 132.261 | 29.396 | 2.733 | 6.14 | 11733 | 16.74
2005-06-24 | 12:10 | 876 | 435.603 | 53.55 | 142.577 | 29.404 | 2.785 | 6.19 | 11704 | 16.82
2005-06-24 | 12:11 | 943 | 425.85 | 53.49 | 152.33 | 29.419 | 2.733 | 6.18 | 11516 | 16.84
2005-06-24 | 12:12 | 998 | 416.207 | 53.41 | 161.973 | 29.431 | 2.785 | 6.11 | 11492 | 16.82
2005-06-24 | 12:13 | 1060 | 406.557 | 53.31 | 171.623 | 29.442 | 2.785 | 6.09 | 11432 | 16.94
2005-06-24 | 12:14 | 1140 | 394.509 | 53.24 | 183.671 | 29.459 | 2.785 | 6.1 | 10845 | 17.13
2005-06-24 | 12:15 | 1177 | 386.043 | 53.01 | 192.137 | 29.465 | 2.759 | 6.25 | 10583 | 20.65
2005-06-24 | 12:15 | 1186 | 386.021 | 53.02 | 192.159 | 29.466 | 2.759 | 6.25 | 10387 | 20.75