## Forebay
In-Situ Inc. | Troll 9000 Profiler
NOTE: TIME APPEARS TO BE OFF!
Report generated: | 2005-09-08 | 8:57
Report from file: | ...\SN32034 2005-09-01 224656 fltr050901.bin
Win-Situ Version | 4.5
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fltr050901
Test defined on: | 2005-09-01 | 22:47
Test started on: | 2005-09-01 | 22:47
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 30
TOTAL DATA SAMPLES | 30
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 525
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2005-09-01 | 22:47 | 30 | 524.473 | 79.6 | 0.527 | 29.236 | 2.551 | 7.01 | 15746 | 34.83
2005-09-01 | 22:49 | 151 | 521.851 | 79.13 | 3.149 | 29.219 | 2.577 | 6.92 | 16860 | 34.42
2005-09-01 | 22:51 | 231 | 518.734 | 78.86 | 6.266 | 29.221 | 2.551 | 6.79 | 17303 | 34.33
2005-09-01 | 22:52 | 328 | 513.137 | 78.56 | 11.863 | 29.23 | 2.577 | 6.67 | 16234 | 34.27
2005-09-01 | 22:54 | 404 | 512.954 | 78.38 | 12.046 | 29.23 | 2.551 | 6.65 | 16129 | 34.21
2005-09-01 | 22:56 | 555 | 509.94 | 78.31 | 15.06 | 29.229 | 2.577 | 6.64 | 16029 | 34.13
2005-09-01 | 22:57 | 585 | 509.889 | 78.3 | 15.111 | 29.23 | 2.499 | 6.64 | 16029 | 34.06
2005-09-01 | 22:57 | 623 | 506.938 | 78.24 | 18.062 | 29.232 | 2.551 | 6.59 | 16169 | 34.21
2005-09-01 | 22:58 | 669 | 503.774 | 74.8 | 21.226 | 29.233 | 2.525 | 6.26 | 17499 | 26.71
2005-09-01 | 22:59 | 710 | 493.832 | 66.54 | 31.168 | 29.17 | 2.499 | 5.84 | 19824 | 21.31
2005-09-01 | 23:01 | 828 | 483.795 | 65.03 | 41.205 | 29.241 | 2.499 | 5.51 | 18079 | 19.04
2005-09-01 | 23:02 | 915 | 473.751 | 64.32 | 51.249 | 29.254 | 2.551 | 5.54 | 17891 | 18.54
2005-09-01 | 23:04 | 1041 | 463.928 | 62.18 | 61.072 | 29.267 | 2.551 | 5.39 | 17663 | 17.11
2005-09-01 | 23:05 | 1091 | 454.236 | 60.82 | 70.764 | 29.256 | 2.551 | 5.26 | 18322 | 16.98
2005-09-01 | 23:06 | 1171 | 443.533 | 57.88 | 81.467 | 29.271 | 2.551 | 5.32 | 20142 | 17.22
2005-09-01 | 23:07 | 1180 | 443.561 | 57.88 | 81.439 | 29.275 | 2.499 | 5.31 | 20137 | 17.23
2005-09-01 | 23:07 | 1226 | 434.139 | 56.05 | 90.861 | 29.268 | 2.525 | 5.33 | 20871 | 17.37
2005-09-01 | 23:08 | 1276 | 424.018 | 55.14 | 100.982 | 29.278 | 2.551 | 5.36 | 21132 | 17.65
2005-09-01 | 23:08 | 1289 | 423.953 | 55.14 | 101.047 | 29.286 | 2.499 | 5.35 | 21060 | 17.65
2005-09-01 | 23:10 | 1369 | 413.571 | 54.72 | 111.429 | 29.311 | 2.551 | 5.33 | 21203 | 17.59
2005-09-01 | 23:11 | 1462 | 404.023 | 54.43 | 120.977 | 29.328 | 2.499 | 5.38 | 21258 | 17.77
2005-09-01 | 23:12 | 1508 | 394.153 | 54.2 | 130.847 | 29.324 | 2.551 | 5.36 | 21335 | 17.97
2005-09-01 | 23:13 | 1550 | 383.688 | 53.94 | 141.312 | 29.329 | 2.473 | 5.31 | 21458 | 18.26
2005-09-01 | 23:15 | 1660 | 373.962 | 53.63 | 151.038 | 29.365 | 2.551 | 5.38 | 20659 | 18.37
2005-09-01 | 23:18 | 1891 | 363.507 | 52.95 | 161.493 | 29.38 | 2.525 | 5.39 | 17890 | 19.67
2005-09-01 | 23:20 | 1984 | 353.734 | 52.28 | 171.266 | 29.384 | 2.551 | 5.3 | 17433 | 21.29
2005-09-01 | 23:22 | 2131 | 344.104 | 51.56 | 180.896 | 29.4 | 2.551 | 5.3 | 15585 | 23.58
2005-09-01 | 23:26 | 2363 | 333.217 | 50.97 | 191.783 | 29.413 | 2.525 | 5.33 | 12286 | 25.75
2005-09-01 | 23:31 | 2662 | 324.46 | 50.64 | 200.54 | 29.422 | 2.447 | 5.31 | 9084 | 27.2
2005-09-01 | 23:32 | 2683 | 319.098 | 50.59 | 205.902 | 29.422 | 2.525 | 5.35 | 9050 | 30.28
2005-04-05

## Winchell Bay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2005-09-08 | 9:00
Report from file: | ...\SN32034 2005-09-01 234252 win050901.bin
Win-Situ Version | 4.5
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | win050901
Test defined on: | 2005-09-01 | 23:43
Test started on: | 2005-09-01 | 23:43
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 14
TOTAL DATA SAMPLES | 14
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 525
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2005-09-01 | 23:43 | 17 | 524.613 | 78.93 | 0.387 | 29.216 | 2.473 | 7.53 | 17016 | 1.38
2005-09-01 | 23:44 | 76 | 521.91 | 79.15 | 3.09 | 29.204 | 2.473 | 7.64 | 17242 | 34.34
2005-09-01 | 23:45 | 136 | 518.915 | 79.09 | 6.085 | 29.21 | 2.525 | 7.51 | 17323 | 34.29
2005-09-01 | 23:46 | 174 | 515.889 | 78.87 | 9.111 | 29.212 | 2.551 | 7.64 | 17355 | 34.17
2005-09-01 | 23:47 | 233 | 513.032 | 78.39 | 11.968 | 29.216 | 2.551 | 7.48 | 17379 | 33.87
2005-09-01 | 23:48 | 296 | 509.917 | 77.79 | 15.083 | 29.22 | 2.499 | 7.35 | 17551 | 32.97
2005-09-01 | 23:49 | 343 | 506.872 | 77.57 | 18.128 | 29.222 | 2.525 | 7.31 | 17739 | 32.59
2005-09-01 | 23:50 | 402 | 503.95 | 76.93 | 21.05 | 29.226 | 2.499 | 7.19 | 18034 | 31.37
2005-09-01 | 23:52 | 545 | 500.638 | 68.89 | 24.362 | 29.226 | 2.525 | 6.23 | 19534 | 21.93
2005-09-01 | 23:54 | 670 | 490.956 | 66.41 | 34.044 | 29.231 | 2.525 | 5.83 | 18885 | 21.04
2005-09-01 | 23:56 | 796 | 481.066 | 65.02 | 43.934 | 29.242 | 2.525 | 5.95 | 18737 | 19.96
2005-09-01 | 23:58 | 906 | 470.783 | 63.97 | 54.217 | 29.25 | 2.525 | 5.82 | 18463 | 18.63
2005-09-01 | 23:59 | 986 | 461.216 | 62.01 | 63.784 | 29.253 | 2.525 | 5.65 | 18800 | 17.25
2005-09-02 | 0:00 | 1057 | 450.424 | 60.29 | 74.576 | 29.26 | 2.525 | 5.64 | 19427 | 16.65
2005-09-02 | 0:03 | 13 | 441.017 | 57.13 | 83.983 | 29.287 | 2.525 | 5.67 | 20062 | 17.44
2005-09-02 | 0:04 | 80 | 430.734 | 55.6 | 94.266 | 29.28 | 2.525 | 5.67 | 20401 | 17.69
2005-09-02 | 0:06 | 185 | 420.468 | 55 | 104.532 | 29.305 | 2.473 | 5.66 | 20966 | 17.46
2005-09-02 | 0:07 | 274 | 410.836 | 54.58 | 114.164 | 29.315 | 2.525 | 5.67 | 20574 | 17.91
2005-09-02 | 0:08 | 333 | 400.612 | 54.35 | 124.388 | 29.317 | 2.525 | 5.67 | 20587 | 18.12
2005-09-02 | 0:09 | 392 | 390.579 | 54.03 | 134.421 | 29.327 | 2.525 | 5.72 | 20698 | 18.18
2005-09-02 | 0:11 | 490 | 379.884 | 53.75 | 145.116 | 29.349 | 2.525 | 5.71 | 19717 | 18.52
2005-09-02 | 0:11 | 515 | 379.733 | 53.74 | 145.267 | 29.349 | 2.499 | 5.74 | 19009 | 20.06

## Finegold
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2005-09-08 | 9:03
Report from file: | ...\SN32034 2005-09-02 002517 fin050901.bin
Win-Situ Version | 4.5
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fin050901
Test defined on: | 2005-09-02 | 0:25
Test started on: | 2005-09-02 | 0:25
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 21
TOTAL DATA SAMPLES | 21
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 525
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2005-09-02 | 0:25 | 12 | 524.591 | 79.74 | 0.409 | 29.212 | 2.551 | 7.29 | 16720 | 34.56
2005-09-02 | 0:26 | 25 | 524.607 | 79.73 | 0.393 | 29.211 | 2.473 | 7.29 | 16744 | 34.54
2005-09-02 | 0:26 | 67 | 522.057 | 79.75 | 2.943 | 29.197 | 2.473 | 7.41 | 16825 | 34.59
2005-09-02 | 0:27 | 101 | 518.989 | 79.1 | 6.011 | 29.2 | 2.525 | 7.46 | 17042 | 34.29
2005-09-02 | 0:28 | 151 | 516.055 | 78.95 | 8.945 | 29.207 | 2.525 | 7.48 | 17069 | 34.33
2005-09-02 | 0:28 | 189 | 512.887 | 78.57 | 12.113 | 29.21 | 2.525 | 7.24 | 17269 | 33.87
2005-09-02 | 0:30 | 256 | 509.95 | 75.6 | 15.05 | 29.204 | 2.525 | 6.96 | 18433 | 30.14
2005-09-02 | 0:32 | 432 | 499.623 | 67.7 | 25.377 | 29.218 | 2.525 | 6.34 | 19192 | 23.62
2005-09-02 | 0:34 | 511 | 489.702 | 65.58 | 35.298 | 29.216 | 2.525 | 6.12 | 19521 | 21.7
2005-09-02 | 0:35 | 595 | 479.515 | 64.97 | 45.485 | 29.231 | 2.499 | 5.93 | 19239 | 20.95
2005-09-02 | 0:38 | 737 | 469.82 | 64.01 | 55.18 | 29.249 | 2.525 | 5.87 | 18708 | 19.32
2005-09-02 | 0:39 | 809 | 459.669 | 63.21 | 65.331 | 29.251 | 2.525 | 5.74 | 18705 | 18.36
2005-09-02 | 0:41 | 914 | 449.781 | 61.66 | 75.219 | 29.266 | 2.525 | 5.72 | 18726 | 17.01
2005-09-02 | 0:41 | 931 | 449.805 | 61.66 | 75.195 | 29.266 | 2.525 | 5.7 | 18620 | 17.02
2005-09-02 | 0:43 | 1037 | 439.456 | 60 | 85.544 | 29.275 | 2.447 | 5.62 | 18651 | 16.8
2005-09-02 | 0:45 | 1202 | 429.443 | 57.08 | 95.557 | 29.288 | 2.525 | 5.51 | 16825 | 18.63
2005-09-02 | 0:47 | 1299 | 420.096 | 55.9 | 104.904 | 29.291 | 2.473 | 5.52 | 16299 | 19.24
2005-09-02 | 0:48 | 1362 | 410.279 | 55.05 | 114.721 | 29.289 | 2.525 | 5.51 | 16359 | 19.52
2005-09-02 | 0:49 | 1422 | 399.301 | 54.51 | 125.699 | 29.299 | 2.525 | 5.6 | 16483 | 19.55
2005-09-02 | 0:50 | 1464 | 389.285 | 54.26 | 135.715 | 29.304 | 2.525 | 5.55 | 16530 | 19.73
2005-09-02 | 0:50 | 1481 | 382.891 | 54.06 | 142.109 | 29.311 | 2.525 | 5.7 | 16593 | 22.21