## Forebay
In-Situ Inc. | Troll 9000 Profiler
DATA WAS TAKEN ON 3/13/06
Report generated: | 2006-03-20 | 12:47
Report from file: | ...\SN32034 2006-03-13 093056 fltr060313.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fltr060313
Test defined on: | 2006-03-13 | 9:31
Test started on: | 2006-03-13 | 9:31
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 45
TOTAL DATA SAMPLES | 45
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 559.26
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-03-13 | 9:32 | 73 | 558.326 | 51.72 | 0.934 | 29.612 | 2.941 | 6.83 | 12512 | 114.5574 | 28.41
2006-03-13 | 9:33 | 140 | 556.362 | 51.72 | 2.898 | 29.596 | 2.915 | 6.89 | 12586 | 115.2863 | 28.31
2006-03-13 | 9:35 | 263 | 553.175 | 51.69 | 6.085 | 29.617 | 2.941 | 6.88 | 12927 | 118.2969 | 28.25
2006-03-13 | 9:37 | 339 | 550.316 | 51.48 | 8.944 | 29.621 | 2.915 | 6.84 | 13060 | 119.1618 | 28.09
2006-03-13 | 9:38 | 407 | 547.298 | 51.47 | 11.962 | 29.624 | 2.941 | 6.8 | 13070 | 119.2264 | 28.13
2006-03-13 | 9:41 | 577 | 544.167 | 51.43 | 15.093 | 29.629 | 2.889 | 6.72 | 13370 | 121.8869 | 28.08
2006-03-13 | 9:41 | 619 | 541.17 | 51.43 | 18.09 | 29.633 | 2.941 | 6.69 | 13322 | 121.4297 | 28.03
2006-03-13 | 9:43 | 730 | 538.337 | 51.42 | 20.923 | 29.638 | 2.915 | 6.68 | 13231 | 120.5518 | 28.02
2006-03-13 | 9:44 | 798 | 535.39 | 51.41 | 23.87 | 29.643 | 2.941 | 6.65 | 13226 | 120.487 | 27.98
2006-03-13 | 9:45 | 814 | 535.292 | 51.41 | 23.968 | 29.642 | 2.889 | 6.63 | 13217 | 120.4056 | 27.98
2006-03-13 | 9:45 | 853 | 532.328 | 51.4 | 26.932 | 29.646 | 2.915 | 6.56 | 13231 | 120.4937 | 28.01
2006-03-13 | 9:46 | 899 | 529.319 | 51.4 | 29.941 | 29.648 | 2.915 | 6.54 | 13211 | 120.3101 | 27.99
2006-03-13 | 9:46 | 925 | 526.276 | 51.39 | 32.984 | 29.652 | 2.915 | 6.52 | 13177 | 119.965 | 27.94
2006-03-13 | 9:47 | 963 | 523.216 | 51.37 | 36.044 | 29.654 | 2.915 | 6.51 | 13156 | 119.7333 | 27.91
2006-03-13 | 9:53 | 1317 | 520.647 | 51.35 | 38.613 | 29.66 | 2.915 | 6.45 | 13522 | 123.0042 | 27.88
2006-03-13 | 9:54 | 1381 | 517.257 | 51.35 | 42.003 | 29.664 | 2.915 | 6.49 | 13402 | 121.8944 | 27.88
2006-03-13 | 9:54 | 1410 | 517.209 | 51.32 | 42.051 | 29.664 | 2.915 | 6.5 | 13345 | 121.339 | 27.89
2006-03-13 | 9:55 | 1453 | 514.232 | 51.31 | 45.028 | 29.667 | 2.889 | 6.43 | 13342 | 121.2716 | 27.86
2006-03-13 | 9:56 | 1508 | 511.069 | 51.26 | 48.191 | 29.67 | 2.915 | 6.37 | 13423 | 121.9257 | 27.91
2006-03-13 | 9:57 | 1559 | 508.096 | 51.17 | 51.164 | 29.675 | 2.915 | 6.32 | 13364 | 121.2241 | 28.15
2006-03-13 | 9:58 | 1615 | 505.199 | 48.15 | 54.061 | 29.67 | 2.863 | 6.1 | 13701 | 119.4579 | 31.3
2006-03-13 | 9:59 | 1700 | 495.452 | 46.69 | 63.808 | 29.679 | 2.915 | 6 | 13910 | 118.9008 | 32.71
2006-03-13 | 10:00 | 1755 | 485.23 | 46.21 | 74.03 | 29.694 | 2.915 | 6.07 | 14236 | 120.8315 | 34.31
2006-03-13 | 10:01 | 1776 | 485.092 | 46.2 | 74.168 | 29.699 | 2.915 | 6.08 | 14297 | 121.3099 | 33.96
2006-03-13 | 10:02 | 1849 | 475.667 | 45.94 | 83.593 | 29.709 | 2.915 | 6.04 | 14148 | 119.5795 | 31.25
2006-03-13 | 10:03 | 1896 | 464.725 | 45.76 | 94.535 | 29.718 | 2.915 | 6.03 | 14171 | 119.4503 | 31.79
2006-03-13 | 10:03 | 1938 | 464.597 | 45.76 | 94.663 | 29.725 | 2.915 | 6.05 | 14270 | 120.2407 | 31.78
2006-03-13 | 10:04 | 1985 | 454.56 | 45.69 | 104.7 | 29.732 | 2.915 | 6.05 | 14236 | 119.8151 | 32.18
2006-03-13 | 10:05 | 2053 | 444.912 | 45.59 | 114.348 | 29.746 | 2.889 | 6.09 | 14246 | 119.6898 | 32.06
2006-03-13 | 10:06 | 2096 | 444.792 | 45.6 | 114.468 | 29.749 | 2.915 | 6.09 | 14226 | 119.5125 | 31.96
2006-03-13 | 10:07 | 2189 | 435.233 | 45.52 | 124.027 | 29.761 | 2.863 | 6.06 | 14127 | 118.5093 | 31.47
2006-03-13 | 10:08 | 2241 | 425.712 | 45.48 | 133.548 | 29.767 | 2.915 | 6.07 | 14137 | 118.5022 | 31.41
2006-03-13 | 10:09 | 2309 | 415.282 | 45.43 | 143.978 | 29.782 | 2.863 | 6.11 | 14090 | 117.9626 | 31.37
2006-03-13 | 10:10 | 2369 | 405.251 | 45.41 | 154.009 | 29.794 | 2.915 | 6.09 | 13912 | 116.4015 | 31.49
2006-03-13 | 10:11 | 2411 | 395.158 | 45.4 | 164.102 | 29.805 | 2.889 | 6.07 | 13871 | 115.9966 | 31.54
2006-03-13 | 10:12 | 2449 | 384.042 | 45.35 | 175.218 | 29.815 | 2.889 | 6.07 | 13832 | 115.5621 | 31.22
2006-03-13 | 10:13 | 2496 | 374.538 | 45.36 | 184.722 | 29.827 | 2.915 | 6.09 | 13726 | 114.6342 | 31.15
2006-03-13 | 10:13 | 2550 | 365.418 | 45.37 | 193.842 | 29.841 | 2.889 | 6.09 | 13677 | 114.182 | 31.63
2006-03-13 | 10:14 | 2592 | 354.488 | 45.39 | 204.772 | 29.852 | 2.889 | 6.09 | 13633 | 113.8068 | 33.08
2006-03-13 | 10:14 | 2605 | 354.422 | 45.39 | 204.838 | 29.854 | 2.915 | 6.11 | 13627 | 113.7501 | 33.14
2006-03-13 | 10:15 | 2638 | 344.827 | 45.42 | 214.433 | 29.863 | 2.915 | 6.11 | 13553 | 113.1388 | 34.63
2006-03-13 | 10:16 | 2705 | 335.842 | 45.42 | 223.418 | 29.877 | 2.915 | 6.13 | 13522 | 112.832 | 34.96
2006-03-13 | 10:17 | 2760 | 324.698 | 45.41 | 234.562 | 29.887 | 2.889 | 6.12 | 13468 | 112.3322 | 34.92
2006-03-13 | 10:18 | 2810 | 314 | 45.42 | 245.26 | 29.902 | 2.863 | 6.12 | 13405 | 111.7698 | 35
2006-03-13 | 10:18 | 2831 | 311.695 | 45.44 | 247.565 | 29.905 | 2.915 | 6.21 | 13432 | 112.0123 | 36.66

## Winchell Bay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2006-03-20 | 12:51
Report from file: | ...\SN32034 2006-03-20 085931 win060320.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | win060320
Test defined on: | 2006-03-20 | 9:00
Test started on: | 2006-03-20 | 9:00
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 11
TOTAL DATA SAMPLES | 11
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 565.65
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-03-20 | 9:00 | 39 | 564.485 | 52 | 1.165 | 29.178 | 2.889 | 6.65 | 16883 | 157.4605 | 29.13
2006-03-20 | 9:01 | 85 | 562.541 | 52 | 3.109 | 29.176 | 2.915 | 6.53 | 16606 | 154.9049 | 29.11
2006-03-20 | 9:02 | 126 | 559.656 | 51.98 | 5.994 | 29.191 | 2.941 | 6.5 | 16369 | 152.565 | 29.06
2006-03-20 | 9:03 | 201 | 556.679 | 51.88 | 8.971 | 29.198 | 2.941 | 6.39 | 16100 | 149.8321 | 28.97
2006-03-20 | 9:04 | 247 | 553.58 | 51.83 | 12.07 | 29.198 | 2.915 | 6.37 | 15986 | 148.6738 | 28.92
2006-03-20 | 9:05 | 351 | 550.507 | 51.81 | 15.143 | 29.205 | 2.941 | 6.29 | 15832 | 147.175 | 28.89
2006-03-20 | 9:06 | 397 | 547.511 | 51.78 | 18.139 | 29.207 | 2.915 | 6.28 | 15797 | 146.7683 | 28.88
2006-03-20 | 9:07 | 443 | 544.61 | 51.71 | 21.04 | 29.212 | 2.941 | 6.25 | 15506 | 143.9175 | 28.81
2006-03-20 | 9:08 | 493 | 541.606 | 51.63 | 24.044 | 29.215 | 2.941 | 6.23 | 15409 | 142.8577 | 28.78
2006-03-20 | 9:11 | 661 | 538.847 | 51.48 | 26.803 | 29.222 | 2.941 | 6.16 | 15169 | 140.3228 | 28.66
2006-03-20 | 9:12 | 728 | 538.154 | 51.58 | 27.496 | 29.224 | 2.941 | 6.14 | 15105 | 139.892 | 28.71
2006-03-20 | 9:19 | 24 | 531.945 | 51.14 | 33.705 | 29.231 | 2.941 | 5.93 | 14676 | 135.1204 | 28.5
2006-03-20 | 9:20 | 83 | 528.801 | 51 | 36.849 | 29.234 | 2.941 | 5.93 | 14825 | 136.2395 | 28.44
2006-03-20 | 9:22 | 183 | 526.241 | 50.1 | 39.409 | 29.237 | 2.889 | 5.83 | 14833 | 134.7116 | 29.69
2006-03-20 | 9:23 | 263 | 515.517 | 48.38 | 50.133 | 29.242 | 2.941 | 5.77 | 14898 | 132.2254 | 31.63
2006-03-20 | 9:24 | 318 | 504.884 | 46.62 | 60.766 | 29.247 | 2.915 | 5.81 | 15369 | 133.1941 | 32.97
2006-03-20 | 9:25 | 389 | 495.148 | 46.26 | 70.502 | 29.267 | 2.915 | 6 | 15624 | 134.6527 | 33.68
2006-03-20 | 9:26 | 436 | 485.736 | 45.98 | 79.914 | 29.278 | 2.915 | 6.14 | 15674 | 134.5354 | 33.7
2006-03-20 | 9:26 | 444 | 485.647 | 45.99 | 80.003 | 29.279 | 2.889 | 6.15 | 15769 | 135.3474 | 33.74
2006-03-20 | 9:27 | 503 | 475.247 | 45.89 | 90.403 | 29.29 | 2.941 | 6.24 | 15778 | 135.1979 | 33.94
2006-03-20 | 9:28 | 549 | 466.187 | 45.71 | 99.463 | 29.296 | 2.915 | 6.31 | 15792 | 134.9456 | 34.3
2006-03-20 | 9:29 | 625 | 455.567 | 45.56 | 110.083 | 29.316 | 2.889 | 6.41 | 15889 | 135.4138 | 34.46
2006-03-20 | 9:29 | 633 | 455.483 | 45.57 | 110.167 | 29.317 | 2.915 | 6.41 | 15841 | 135.0094 | 34.48
2006-03-20 | 9:30 | 679 | 445.684 | 45.56 | 119.966 | 29.324 | 2.915 | 6.46 | 15824 | 134.8228 | 34.56
2006-03-20 | 9:31 | 730 | 436.705 | 45.52 | 128.945 | 29.336 | 2.941 | 6.51 | 15791 | 134.4149 | 34.67
2006-03-20 | 9:31 | 738 | 436.574 | 45.53 | 129.076 | 29.337 | 2.889 | 6.51 | 15768 | 134.234 | 34.69
2006-03-20 | 9:32 | 797 | 425.396 | 45.26 | 140.254 | 29.349 | 2.941 | 6.63 | 16009 | 135.7177 | 33.61
2006-03-20 | 9:33 | 835 | 415.325 | 45.24 | 150.325 | 29.357 | 2.915 | 6.66 | 16078 | 136.2194 | 33.6
2006-03-20 | 9:33 | 877 | 404.806 | 44.63 | 160.844 | 29.365 | 2.915 | 6.45 | 16169 | 135.8176 | 31.86
2006-03-20 | 9:34 | 919 | 394.728 | 44.46 | 170.922 | 29.377 | 2.915 | 6.45 | 16256 | 136.1579 | 31.54
2006-03-20 | 9:34 | 953 | 386.229 | 44.45 | 179.421 | 29.387 | 2.941 | 6.47 | 16272 | 136.224 | 31.49
2006-03-20 | 9:35 | 1003 | 374.922 | 44.43 | 190.728 | 29.402 | 2.863 | 6.5 | 16185 | 135.3963 | 31.44
2006-03-20 | 9:36 | 1041 | 366.08 | 44.44 | 199.57 | 29.411 | 2.941 | 6.71 | 16113 | 134.7741 | 32.15
2006-03-20 | 9:36 | 1066 | 365.863 | 44.88 | 199.787 | 29.414 | 2.915 | 6.79 | 15865 | 133.5252 | 83.89

## Finegold
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2006-03-20 | 12:55
Report from file: | ...\SN32034 2006-03-20 095208 fin060320.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fin060320
Test defined on: | 2006-03-20 | 9:52
Test started on: | 2006-03-20 | 9:52
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 26
TOTAL DATA SAMPLES | 26
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 565.65
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-03-20 | 9:53 | 29 | 564.48 | 52.18 | 1.17 | 29.194 | 2.941 | 7.5 | 14790 | 138.1838 | 30.96
2006-03-20 | 9:53 | 67 | 562.529 | 52.16 | 3.121 | 29.193 | 2.941 | 7.39 | 14934 | 139.5035 | 30.87
2006-03-20 | 9:54 | 113 | 559.466 | 51.94 | 6.184 | 29.191 | 2.915 | 7.32 | 15034 | 140.0517 | 30.76
2006-03-20 | 9:55 | 150 | 556.531 | 51.99 | 9.119 | 29.193 | 2.941 | 7.29 | 14928 | 139.1386 | 30.72
2006-03-20 | 9:55 | 192 | 553.739 | 51.67 | 11.911 | 29.196 | 2.915 | 7.07 | 14905 | 138.332 | 30.42
2006-03-20 | 9:56 | 242 | 550.397 | 51.38 | 15.253 | 29.202 | 2.915 | 7.22 | 14773 | 136.5745 | 30.08
2006-03-20 | 9:57 | 296 | 547.619 | 51.25 | 18.031 | 29.206 | 2.915 | 7.13 | 14598 | 134.7216 | 30.6
2006-03-20 | 9:58 | 354 | 544.534 | 50.91 | 21.116 | 29.208 | 2.889 | 7.01 | 14515 | 133.343 | 32.67
2006-03-20 | 9:59 | 412 | 534.547 | 49.3 | 31.103 | 29.211 | 2.863 | 7.1 | 15195 | 136.6904 | 56.88
2006-03-20 | 10:00 | 483 | 524.752 | 47.06 | 40.898 | 29.218 | 2.889 | 7.08 | 15677 | 136.8301 | 47.98
2006-03-20 | 10:01 | 520 | 514.594 | 46.21 | 51.056 | 29.224 | 2.915 | 7.02 | 15707 | 135.4823 | 37.26
2006-03-20 | 10:01 | 558 | 504.698 | 45.94 | 60.952 | 29.236 | 2.915 | 6.91 | 15686 | 134.7534 | 35.18
2006-03-20 | 10:03 | 654 | 494.924 | 45.85 | 70.726 | 29.262 | 2.915 | 6.84 | 15874 | 136.0777 | 35.12
2006-03-20 | 10:04 | 720 | 484.553 | 45.77 | 81.097 | 29.272 | 2.915 | 6.81 | 15860 | 135.7583 | 35.13
2006-03-20 | 10:05 | 754 | 474.981 | 45.73 | 90.669 | 29.279 | 2.915 | 6.79 | 15844 | 135.5134 | 34.7
2006-03-20 | 10:06 | 812 | 464.605 | 45.59 | 101.045 | 29.296 | 2.915 | 6.75 | 15939 | 135.9847 | 34.16
2006-03-20 | 10:06 | 845 | 454.47 | 45.45 | 111.18 | 29.305 | 2.915 | 6.73 | 15961 | 135.8645 | 33.55
2006-03-20 | 10:06 | 854 | 454.105 | 45.46 | 111.545 | 29.307 | 2.889 | 6.73 | 15980 | 136.033 | 33.56
2006-03-20 | 10:07 | 899 | 444.536 | 45.29 | 121.114 | 29.318 | 2.915 | 6.77 | 16021 | 136.0119 | 33.04
2006-03-20 | 10:08 | 966 | 434.595 | 44.59 | 131.055 | 29.334 | 2.915 | 6.74 | 16300 | 136.9738 | 31.46
2006-03-20 | 10:09 | 1008 | 425.081 | 44.42 | 140.569 | 29.343 | 2.915 | 6.71 | 16421 | 137.6384 | 31.06
2006-03-20 | 10:10 | 1066 | 414.544 | 44.32 | 151.106 | 29.354 | 2.915 | 6.67 | 16411 | 137.3136 | 30.78
2006-03-20 | 10:11 | 1103 | 404.936 | 44.41 | 160.714 | 29.365 | 2.863 | 6.66 | 16406 | 137.3898 | 30.92
2006-03-20 | 10:11 | 1157 | 394.58 | 44.19 | 171.07 | 29.381 | 2.915 | 6.61 | 16400 | 136.8285 | 30.63
2006-03-20 | 10:12 | 1195 | 384.427 | 44.2 | 181.223 | 29.391 | 2.915 | 6.62 | 16405 | 136.8476 | 30.63
2006-03-20 | 10:13 | 1228 | 376.805 | 44.27 | 188.845 | 29.399 | 2.889 | 6.52 | 16410 | 136.9951 | 39.26