## Forebay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2006-04-21 | 11:02
Report from file: | ...\SN32034 2003-07-02 002805 fltr060421.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fltr060421
Test defined on: | 2003-07-02 | 0:28
Test started on: | 2003-07-02 | 0:28
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 29
TOTAL DATA SAMPLES | 29
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 551.31
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-04-21 | 0:29 | 29 | 550.496 | 62.96 | 0.814 | 29.155 | 2.681 | 6.71 | 3674 | 39.1915 | 33.85
2006-04-21 | 0:30 | 108 | 548.365 | 62.96 | 2.945 | 29.16 | 2.707 | 6.77 | 3731 | 39.7948 | 33.94
2006-04-21 | 0:32 | 237 | 545.205 | 62.95 | 6.105 | 29.164 | 2.733 | 6.76 | 3815 | 40.6871 | 33.89
2006-04-21 | 0:34 | 354 | 542.25 | 62.07 | 9.06 | 29.167 | 2.733 | 6.74 | 4040 | 42.6449 | 33.43
2006-04-21 | 0:35 | 433 | 539.103 | 60.96 | 12.207 | 29.166 | 2.681 | 6.71 | 4267 | 44.4535 | 32.88
2006-04-21 | 0:36 | 500 | 536.404 | 60.29 | 14.906 | 29.17 | 2.681 | 6.55 | 4386 | 45.3312 | 32.42
2006-04-21 | 0:37 | 550 | 532.931 | 59.85 | 18.379 | 29.173 | 2.733 | 6.5 | 4478 | 46.0288 | 32.22
2006-04-21 | 0:38 | 620 | 521.163 | 54.75 | 30.147 | 29.166 | 2.733 | 6.17 | 4894 | 47.2847 | 32.25
2006-04-21 | 0:40 | 708 | 511.255 | 50.48 | 40.055 | 29.182 | 2.681 | 6.09 | 5454 | 49.8699 | 34.2
2006-04-21 | 0:42 | 816 | 501.887 | 48.97 | 49.423 | 29.204 | 2.733 | 6.2 | 5624 | 50.3713 | 33.46
2006-04-21 | 0:43 | 870 | 491.583 | 48.21 | 59.727 | 29.206 | 2.707 | 6.19 | 5787 | 51.3145 | 33.86
2006-04-21 | 0:44 | 941 | 481.374 | 47.95 | 69.936 | 29.221 | 2.733 | 6.2 | 5801 | 51.2315 | 32.7
2006-04-21 | 0:45 | 1003 | 471.166 | 47.8 | 80.144 | 29.235 | 2.655 | 6.24 | 5936 | 52.2928 | 30.67
2006-04-21 | 0:46 | 1091 | 461.445 | 47.66 | 89.865 | 29.252 | 2.733 | 6.26 | 6015 | 52.8585 | 30.81
2006-04-21 | 0:47 | 1145 | 450.865 | 47.55 | 100.445 | 29.261 | 2.733 | 6.25 | 6172 | 54.1458 | 32.02
2006-04-21 | 0:48 | 1207 | 441.22 | 47.27 | 110.09 | 29.273 | 2.707 | 6.23 | 6211 | 54.2612 | 32.14
2006-04-21 | 0:50 | 1316 | 431.362 | 47.13 | 119.948 | 29.292 | 2.707 | 6.28 | 6742 | 58.7412 | 31.71
2006-04-21 | 0:51 | 1349 | 421.407 | 46.86 | 129.903 | 29.295 | 2.655 | 6.25 | 6770 | 58.7633 | 31.54
2006-04-21 | 0:52 | 1424 | 411.432 | 46.79 | 139.878 | 29.313 | 2.707 | 6.24 | 6792 | 58.8669 | 31.81
2006-04-21 | 0:53 | 1495 | 401.282 | 46.61 | 150.028 | 29.327 | 2.655 | 6.2 | 6838 | 59.099 | 31.95
2006-04-21 | 0:55 | 1590 | 390.957 | 46.51 | 160.353 | 29.343 | 2.707 | 6.28 | 6920 | 59.682 | 31.48
2006-04-21 | 0:55 | 1628 | 381.249 | 46.34 | 170.061 | 29.347 | 2.707 | 6.25 | 6961 | 59.8892 | 31.59
2006-04-21 | 0:56 | 1682 | 371.33 | 46.04 | 179.98 | 29.359 | 2.707 | 6.24 | 7022 | 60.1546 | 31.5
2006-04-21 | 0:57 | 1723 | 361.309 | 45.8 | 190.001 | 29.369 | 2.681 | 6.23 | 7062 | 60.2754 | 31.42
2006-04-21 | 0:58 | 1769 | 351.206 | 45.52 | 200.104 | 29.382 | 2.707 | 6.22 | 7043 | 59.8504 | 31.26
2006-04-21 | 0:58 | 1803 | 341.374 | 45.12 | 209.936 | 29.39 | 2.707 | 6.19 | 7123 | 60.1783 | 31.1
2006-04-21 | 0:59 | 1852 | 331.379 | 45.07 | 219.931 | 29.406 | 2.707 | 6.17 | 7086 | 59.7961 | 31.06
2006-04-21 | 1:00 | 1923 | 321.267 | 45.07 | 230.043 | 29.426 | 2.681 | 6.18 | 7085 | 59.7436 | 31.1
2006-04-21 | 1:00 | 1944 | 316.293 | 45.08 | 235.017 | 29.434 | 2.707 | 6.2 | 7070 | 59.6148 | 32.13

## Winchell Bay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2006-04-21 | 11:03
Report from file: | ...\SN32034 2003-07-02 011546 win060421.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | win060421
Test defined on: | 2003-07-02 | 1:16
Test started on: | 2003-07-02 | 1:16
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 23
TOTAL DATA SAMPLES | 23
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 551.31
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-04-21 | 1:16 | 25 | 550.906 | 60.85 | 0.404 | 29.192 | 2.707 | 7.9 | 8050 | 83.6737 | 1.39
2006-04-21 | 1:17 | 96 | 548.33 | 62.54 | 2.98 | 29.202 | 2.655 | 7.58 | 7657 | 81.1629 | 35.04
2006-04-21 | 1:21 | 286 | 545.234 | 62.11 | 6.076 | 29.188 | 2.707 | 7.41 | 7615 | 80.3547 | 34.85
2006-04-21 | 1:21 | 328 | 542.368 | 60.82 | 8.942 | 29.18 | 2.707 | 7.48 | 7882 | 81.9447 | 35.41
2006-04-21 | 1:23 | 416 | 539.191 | 60.53 | 12.119 | 29.191 | 2.707 | 7.38 | 7946 | 82.294 | 35.09
2006-04-21 | 1:24 | 471 | 536.401 | 60.29 | 14.909 | 29.195 | 2.707 | 7.36 | 8027 | 82.8854 | 34.29
2006-04-21 | 1:25 | 529 | 526.368 | 57.49 | 24.942 | 29.193 | 2.655 | 7.03 | 8462 | 84.4937 | 31.66
2006-04-21 | 1:26 | 639 | 516.251 | 51.61 | 35.059 | 29.2 | 2.707 | 6.67 | 8973 | 83.2027 | 34.89
2006-04-21 | 1:27 | 681 | 506.443 | 48.99 | 44.867 | 29.187 | 2.707 | 6.67 | 9396 | 84.2336 | 32.89
2006-04-21 | 1:28 | 731 | 496.022 | 48.5 | 55.288 | 29.209 | 2.707 | 6.65 | 9522 | 84.7505 | 33.83
2006-04-21 | 1:29 | 786 | 485.879 | 47.97 | 65.431 | 29.227 | 2.707 | 6.72 | 9737 | 85.9939 | 30.88
2006-04-21 | 1:30 | 828 | 476.173 | 47.88 | 75.137 | 29.239 | 2.655 | 6.75 | 9798 | 86.3918 | 30.42
2006-04-21 | 1:30 | 882 | 466.431 | 47.56 | 84.879 | 29.255 | 2.681 | 6.73 | 9900 | 86.8755 | 30.74
2006-04-21 | 1:31 | 916 | 456.167 | 47.36 | 95.143 | 29.265 | 2.681 | 6.72 | 9930 | 86.879 | 30.13
2006-04-21 | 1:32 | 966 | 446.342 | 47.24 | 104.968 | 29.28 | 2.707 | 6.71 | 9986 | 87.1807 | 30.32
2006-04-21 | 1:32 | 1000 | 436.567 | 47.16 | 114.743 | 29.289 | 2.707 | 6.67 | 9986 | 87.0624 | 30.65
2006-04-21 | 1:33 | 1045 | 426.218 | 47.13 | 125.092 | 29.303 | 2.681 | 6.63 | 9974 | 86.8693 | 31.6
2006-04-21 | 1:34 | 1104 | 416.549 | 46.94 | 134.761 | 29.317 | 2.707 | 6.55 | 9975 | 86.6082 | 31.8
2006-04-21 | 1:35 | 1154 | 406.202 | 46.74 | 145.108 | 29.328 | 2.655 | 6.55 | 10011 | 86.6594 | 31.51
2006-04-21 | 1:36 | 1199 | 396.264 | 46.52 | 155.046 | 29.338 | 2.707 | 6.53 | 10053 | 86.7389 | 31.41
2006-04-21 | 1:36 | 1237 | 386.63 | 46.43 | 164.68 | 29.348 | 2.707 | 6.52 | 10047 | 86.5495 | 31.43
2006-04-21 | 1:37 | 1287 | 376.116 | 45.84 | 175.194 | 29.359 | 2.681 | 6.45 | 10132 | 86.5463 | 31.58
2006-04-21 | 1:38 | 1308 | 370.926 | 45.86 | 180.384 | 29.367 | 2.655 | 6.46 | 10055 | 85.9006 | 37.5

## Finegold
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2006-04-21 | 11:05
Report from file: | ...\SN32034 2003-07-02 020631 fin060421.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fin060421
Test defined on: | 2003-07-02 | 2:07
Test started on: | 2003-07-02 | 2:07
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 21
TOTAL DATA SAMPLES | 21
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 551.31
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-04-21 | 2:07 | 15 | 550.222 | 64.37 | 1.088 | 29.204 | 2.707 | 8.26 | 8068 | 87.3372 | 49.04
2006-04-21 | 2:07 | 53 | 548.366 | 64.27 | 2.944 | 29.201 | 2.707 | 8.25 | 8080 | 87.38 | 48.45
2006-04-21 | 2:08 | 95 | 545.263 | 63.78 | 6.047 | 29.199 | 2.707 | 8.28 | 8150 | 87.6498 | 47.72
2006-04-21 | 2:09 | 136 | 542.151 | 60.88 | 9.159 | 29.185 | 2.707 | 8.19 | 8653 | 90.0115 | 56.46
2006-04-21 | 2:10 | 182 | 539.251 | 59.13 | 12.059 | 29.185 | 2.707 | 8.02 | 9034 | 92.0472 | 49.78
2006-04-21 | 2:11 | 257 | 529.163 | 54.67 | 22.147 | 29.186 | 2.655 | 7.43 | 9127 | 88.0387 | 60.15
2006-04-21 | 2:12 | 307 | 519.377 | 52.27 | 31.933 | 29.189 | 2.707 | 7.23 | 9373 | 87.6982 | 42.7
2006-04-21 | 2:12 | 349 | 508.962 | 49.75 | 42.348 | 29.185 | 2.681 | 7.13 | 9759 | 88.3811 | 32.45
2006-04-21 | 2:13 | 390 | 499.056 | 48.51 | 52.254 | 29.197 | 2.707 | 7.01 | 10068 | 89.6637 | 30.11
2006-04-21 | 2:14 | 423 | 489.403 | 48.02 | 61.907 | 29.209 | 2.681 | 7.02 | 10181 | 90.0307 | 29.39
2006-04-21 | 2:14 | 473 | 479.473 | 47.85 | 71.837 | 29.23 | 2.707 | 6.96 | 10150 | 89.4861 | 29.19
2006-04-21 | 2:15 | 511 | 469.549 | 47.58 | 81.761 | 29.238 | 2.681 | 6.95 | 10182 | 89.4164 | 29.06
2006-04-21 | 2:16 | 590 | 459.159 | 47.52 | 92.151 | 29.264 | 2.681 | 6.93 | 10172 | 89.1828 | 28.99
2006-04-21 | 2:17 | 628 | 449.479 | 47.26 | 101.831 | 29.266 | 2.707 | 6.86 | 10208 | 89.1753 | 28.86
2006-04-21 | 2:18 | 682 | 439.233 | 47.2 | 112.077 | 29.277 | 2.681 | 6.85 | 10216 | 89.1483 | 28.89
2006-04-21 | 2:18 | 711 | 429.292 | 46.95 | 122.018 | 29.284 | 2.681 | 6.78 | 10233 | 88.9687 | 29.67
2006-04-21 | 2:19 | 761 | 419.266 | 46.84 | 132.044 | 29.298 | 2.707 | 6.72 | 10220 | 88.6843 | 30.03
2006-04-21 | 2:20 | 802 | 409.336 | 46.67 | 141.974 | 29.311 | 2.707 | 6.68 | 10240 | 88.6052 | 30.26
2006-04-21 | 2:21 | 844 | 399.144 | 46.32 | 152.166 | 29.322 | 2.681 | 6.63 | 10279 | 88.4977 | 30.88
2006-04-21 | 2:21 | 877 | 389.335 | 46.16 | 161.975 | 29.332 | 2.681 | 6.58 | 10257 | 88.0758 | 31.14
2006-04-21 | 2:22 | 906 | 380.553 | 46.09 | 170.757 | 29.34 | 2.707 | 6.59 | 10261 | 88.0752 | 219.45