## Forebay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2006-06-19 | 9:01
Report from file: | ...\SN32034 2006-05-25 084645 fltr060525.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fltr060525
Test defined on: | 2006-05-25 | 8:47
Test started on: | 2006-05-25 | 8:47
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 28
TOTAL DATA SAMPLES | 28
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation | 559.35
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-05-25 | 8:47 | 34 | 558.723 | 67.2 | 0.627 | 29.403 | 2.421 | 7.3 | 7307 | 81.0948 | 39.72
2006-05-25 | 8:49 | 110 | 556.493 | 67.15 | 2.857 | 29.389 | 2.421 | 7.37 | 7327 | 81.3187 | 39.85
2006-05-25 | 8:50 | 169 | 553.324 | 67.2 | 6.026 | 29.392 | 2.421 | 7.29 | 7309 | 81.1494 | 39.86
2006-05-25 | 8:51 | 253 | 550.297 | 66.42 | 9.053 | 29.394 | 2.421 | 7.21 | 7463 | 82.1355 | 39.09
2006-05-25 | 8:52 | 325 | 547.337 | 63.37 | 12.013 | 29.378 | 2.395 | 7.02 | 7905 | 84.0817 | 35.47
2006-05-25 | 8:53 | 371 | 538.385 | 55.39 | 20.965 | 29.343 | 2.395 | 6.53 | 9291 | 89.94 | 26.21
2006-05-25 | 8:54 | 430 | 528.429 | 54.47 | 30.921 | 29.382 | 2.395 | 6.43 | 9287 | 88.7527 | 25.28
2006-05-25 | 8:55 | 481 | 518.074 | 53.47 | 41.276 | 29.401 | 2.395 | 6.42 | 9301 | 87.7138 | 21.93
2006-05-25 | 8:56 | 536 | 508.28 | 53.3 | 51.07 | 29.42 | 2.395 | 6.49 | 9298 | 87.4415 | 22.15
2006-05-25 | 8:57 | 587 | 498.466 | 53.08 | 60.884 | 29.43 | 2.395 | 6.45 | 9283 | 87.0248 | 21.74
2006-05-25 | 8:57 | 629 | 488.404 | 52.85 | 70.946 | 29.439 | 2.343 | 6.47 | 9281 | 86.7245 | 21.12
2006-05-25 | 8:58 | 667 | 478.15 | 52.7 | 81.2 | 29.45 | 2.395 | 6.47 | 9269 | 86.4069 | 21.09
2006-05-25 | 8:59 | 755 | 468.594 | 52.6 | 90.756 | 29.475 | 2.395 | 6.48 | 9176 | 85.3645 | 20.59
2006-05-25 | 9:00 | 802 | 458.243 | 52.53 | 101.107 | 29.48 | 2.395 | 6.44 | 9158 | 85.1092 | 19.82
2006-05-25 | 9:01 | 861 | 448.574 | 52.4 | 110.776 | 29.493 | 2.369 | 6.4 | 9162 | 84.9685 | 18.77
2006-05-25 | 9:02 | 903 | 438.356 | 52.36 | 120.994 | 29.502 | 2.343 | 6.4 | 9140 | 84.6894 | 18.98
2006-05-25 | 9:03 | 954 | 428.531 | 52.28 | 130.819 | 29.514 | 2.395 | 6.41 | 9084 | 84.052 | 20.4
2006-05-25 | 9:04 | 1013 | 418.144 | 52.21 | 141.206 | 29.528 | 2.369 | 6.39 | 9049 | 83.6058 | 18.67
2006-05-25 | 9:05 | 1068 | 408.099 | 52.08 | 151.251 | 29.537 | 2.395 | 6.36 | 9026 | 83.2288 | 19.51
2006-05-25 | 9:06 | 1139 | 397.73 | 51.9 | 161.62 | 29.551 | 2.317 | 6.32 | 9010 | 82.8505 | 18.66
2006-05-25 | 9:07 | 1198 | 388.43 | 51.88 | 170.92 | 29.562 | 2.369 | 6.31 | 8964 | 82.3776 | 19.1
2006-05-25 | 9:08 | 1261 | 378.2 | 51.89 | 181.15 | 29.573 | 2.369 | 6.27 | 8909 | 81.8468 | 19.86
2006-05-25 | 9:09 | 1324 | 368.397 | 51.85 | 190.953 | 29.583 | 2.369 | 6.24 | 8876 | 81.4808 | 20.73
2006-05-25 | 9:10 | 1370 | 358.689 | 51.77 | 200.661 | 29.592 | 2.369 | 6.24 | 8793 | 80.6166 | 23.29
2006-05-25 | 9:11 | 1458 | 348.438 | 50.13 | 210.912 | 29.604 | 2.291 | 6.22 | 8636 | 77.4687 | 29.19
2006-05-25 | 9:12 | 1543 | 336.885 | 48.04 | 222.465 | 29.617 | 2.369 | 6.16 | 8274 | 72.1707 | 32.87
2006-05-25 | 9:13 | 1585 | 326.753 | 47.52 | 232.597 | 29.619 | 2.369 | 6.12 | 8103 | 70.1791 | 33.79
2006-05-25 | 9:14 | 1615 | 318.257 | 47.51 | 241.093 | 29.627 | 2.369 | 6.15 | 7939 | 68.7358 | 35.5

## Winchell Bay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2006-06-15 | 14:23
Report from file: | ...\SN32034 2006-05-25 092700 win60525.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | win60525
Test defined on: | 2006-05-25 | 9:27
Test started on: | 2006-05-25 | 9:27
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 24
TOTAL DATA SAMPLES | 24
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation | 559.35
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-05-25 | 9:27 | 13 | 558.795 | 69.52 | 0.555 | 29.385 | 2.395 | 8.07 | 7529 | 85.7666 | 1.42
2006-05-25 | 9:28 | 59 | 556.252 | 70.06 | 3.098 | 29.425 | 2.369 | 7.99 | 7530 | 86.1755 | 42.08
2006-05-25 | 9:29 | 106 | 553.338 | 69.82 | 6.012 | 29.403 | 2.369 | 7.83 | 7433 | 84.908 | 41.98
2006-05-25 | 9:29 | 140 | 550.304 | 66.09 | 9.046 | 29.386 | 2.291 | 7.71 | 7945 | 87.1417 | 38.06
2006-05-25 | 9:30 | 186 | 546.868 | 63.92 | 12.482 | 29.383 | 2.291 | 7.6 | 8301 | 88.8364 | 35.94
2006-05-25 | 9:31 | 254 | 537.241 | 54.79 | 22.109 | 29.356 | 2.369 | 7.18 | 9781 | 93.9265 | 22.62
2006-05-25 | 9:32 | 305 | 527.047 | 53.83 | 32.303 | 29.382 | 2.343 | 7.07 | 9585 | 90.8607 | 21.58
2006-05-25 | 9:33 | 381 | 517.288 | 53.56 | 42.062 | 29.405 | 2.317 | 7.12 | 9461 | 89.3086 | 21.71
2006-05-25 | 9:35 | 457 | 508.025 | 53.28 | 51.325 | 29.42 | 2.369 | 7.08 | 9371 | 88.1053 | 21.39
2006-05-25 | 9:36 | 541 | 497.725 | 53.09 | 61.625 | 29.429 | 2.291 | 7.06 | 9353 | 87.6939 | 20.16
2006-05-25 | 9:37 | 579 | 486.811 | 52.99 | 72.539 | 29.432 | 2.369 | 7.02 | 9360 | 87.6343 | 20.53
2006-05-25 | 9:38 | 651 | 476.544 | 52.88 | 82.806 | 29.454 | 2.369 | 7.06 | 9335 | 87.2168 | 20.93
2006-05-25 | 9:39 | 697 | 466.983 | 52.81 | 92.367 | 29.462 | 2.369 | 7.03 | 9334 | 87.0992 | 20.14
2006-05-25 | 9:39 | 735 | 457.241 | 52.68 | 102.109 | 29.468 | 2.291 | 7.02 | 9349 | 87.0754 | 19.28
2006-05-25 | 9:40 | 769 | 447.398 | 52.63 | 111.952 | 29.477 | 2.317 | 6.95 | 9336 | 86.8814 | 18.99
2006-05-25 | 9:40 | 802 | 436.106 | 52.47 | 123.244 | 29.487 | 2.343 | 6.93 | 9361 | 86.8967 | 19.49
2006-05-25 | 9:41 | 828 | 425.64 | 52.43 | 133.71 | 29.497 | 2.369 | 6.93 | 9329 | 86.5366 | 19.73
2006-05-25 | 9:42 | 874 | 416.921 | 52.32 | 142.429 | 29.515 | 2.369 | 6.93 | 9285 | 85.9557 | 20.06
2006-05-25 | 9:42 | 912 | 407.484 | 52.12 | 151.866 | 29.528 | 2.369 | 6.9 | 9261 | 85.465 | 20.12
2006-05-25 | 9:43 | 946 | 397.691 | 51.89 | 161.659 | 29.535 | 2.317 | 6.9 | 9247 | 85.0637 | 19.81
2006-05-25 | 9:43 | 989 | 386.787 | 51.75 | 172.563 | 29.548 | 2.369 | 6.83 | 9248 | 84.8914 | 20.28
2006-05-25 | 9:44 | 1022 | 377.725 | 51.65 | 181.625 | 29.559 | 2.343 | 6.86 | 9218 | 84.4682 | 20.28
2006-05-25 | 9:45 | 1056 | 368.494 | 51.46 | 190.856 | 29.568 | 2.317 | 6.85 | 9184 | 83.9253 | 20.06
2006-05-25 | 9:45 | 1090 | 365.057 | 51.43 | 194.293 | 29.577 | 2.343 | 7 | 9138 | 83.447 | 26.95

## Finegold
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2006-06-19 | 8:59
Report from file: | ...\SN32034 2006-05-25 095903 fin060525.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fin060525
Test defined on: | 2006-05-25 | 9:59
Test started on: | 2006-05-25 | 9:59
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 22
TOTAL DATA SAMPLES | 22
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation | 559.35
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-05-25 | 9:59 | 17 | 556.797 | 70.38 | 2.553 | 29.383 | 2.369 | 7.93 | 7170 | 82.4571 | 43.34
2006-05-25 | 10:00 | 34 | 556.328 | 70.31 | 3.022 | 29.397 | 2.317 | 7.95 | 7189 | 82.5732 | 43.43
2006-05-25 | 10:01 | 93 | 553.293 | 70.11 | 6.057 | 29.386 | 2.291 | 7.84 | 7144 | 81.9094 | 43.5
2006-05-25 | 10:01 | 131 | 547.79 | 69.54 | 11.56 | 29.385 | 2.369 | 7.72 | 7114 | 81.0646 | 42.91
2006-05-25 | 10:02 | 186 | 547.451 | 65.7 | 11.899 | 29.382 | 2.291 | 7.63 | 7727 | 84.3934 | 42.36
2006-05-25 | 10:03 | 266 | 537.573 | 55.15 | 21.777 | 29.347 | 2.369 | 7.11 | 9307 | 89.8074 | 21.01
2006-05-25 | 10:04 | 292 | 527.228 | 53.81 | 32.122 | 29.356 | 2.343 | 7.02 | 9306 | 88.2778 | 19.53
2006-05-25 | 10:05 | 334 | 517.286 | 53.53 | 42.064 | 29.371 | 2.369 | 6.95 | 9284 | 87.7077 | 20.25
2006-05-25 | 10:05 | 359 | 507.431 | 53.43 | 51.919 | 29.382 | 2.369 | 6.96 | 9216 | 86.9184 | 19.78
2006-05-25 | 10:06 | 409 | 497.497 | 53.25 | 61.853 | 29.403 | 2.369 | 7.02 | 9137 | 85.9141 | 18.63
2006-05-25 | 10:07 | 451 | 487.76 | 53.12 | 71.59 | 29.419 | 2.369 | 6.99 | 9070 | 85.0944 | 18.5
2006-05-25 | 10:08 | 510 | 477.285 | 52.86 | 82.065 | 29.437 | 2.265 | 7.02 | 9130 | 85.3275 | 18.25
2006-05-25 | 10:08 | 548 | 467.675 | 52.64 | 91.675 | 29.445 | 2.369 | 6.9 | 9139 | 85.1459 | 18.02
2006-05-25 | 10:09 | 590 | 457.377 | 52.31 | 101.973 | 29.452 | 2.369 | 6.85 | 9191 | 85.2509 | 17.55
2006-05-25 | 10:09 | 615 | 446.606 | 51.45 | 112.744 | 29.456 | 2.317 | 6.85 | 9377 | 86.0092 | 17.03
2006-05-25 | 10:10 | 644 | 435.692 | 51.4 | 123.658 | 29.467 | 2.265 | 6.83 | 9389 | 86.0288 | 17.04
2006-05-25 | 10:11 | 695 | 425.383 | 51.44 | 133.967 | 29.492 | 2.343 | 6.88 | 9348 | 85.6197 | 17.06
2006-05-25 | 10:11 | 725 | 416.076 | 51.29 | 143.274 | 29.5 | 2.265 | 6.83 | 9368 | 85.6092 | 16.92
2006-05-25 | 10:12 | 763 | 407.696 | 51.23 | 151.654 | 29.512 | 2.343 | 6.82 | 9373 | 85.5657 | 16.9
2006-05-25 | 10:12 | 801 | 398.329 | 51.26 | 161.021 | 29.523 | 2.343 | 6.72 | 9349 | 85.3359 | 16.89
2006-05-25 | 10:13 | 835 | 387.772 | 51.38 | 171.578 | 29.531 | 2.265 | 6.74 | 9290 | 84.9146 | 17.04
2006-05-25 | 10:13 | 864 | 379.503 | 51.34 | 179.847 | 29.541 | 2.343 | 6.84 | 9254 | 84.5064 | 19.32