## Forebay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2006-08-07 | 11:06
Report from file: | ...\SN32034 2003-07-01 113111 fltr060714.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fltr060714
Test defined on: | 2003-07-01 | 11:31
Test started on: | 2003-07-01 | 11:31
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 36
TOTAL DATA SAMPLES | 36
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  |  | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Elev (ft) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-07-14 | 11:32 | 56 | 575.493 | 79 | 0.607 | 29.305 | 2.785 | 8.26 | 79955 | 1008.9392 | 33.64
2006-07-14 | 11:33 | 98 | 573.075 | 78.5 | 3.025 | 29.303 | 2.837 | 8.16 | 81187 | 1019.3393 | 33.75
2006-07-14 | 11:34 | 153 | 569.984 | 78.08 | 6.116 | 29.3 | 2.785 | 8.2 | 82212 | 1028.0376 | 33.48
2006-07-14 | 11:35 | 213 | 567.012 | 77.79 | 9.088 | 29.303 | 2.785 | 8.12 | 82960 | 1034.1245 | 33.28
2006-07-14 | 11:39 | 496 | 564.141 | 77.6 | 11.959 | 29.282 | 2.837 | 7.97 | 83432 | 1038.7928 | 33.11
2006-07-14 | 11:41 | 598 | 563.949 | 77.61 | 12.151 | 29.297 | 2.759 | 7.89 | 83412 | 1038.0772 | 33.12
2006-07-14 | 11:42 | 662 | 560.922 | 76.87 | 15.178 | 29.303 | 2.785 | 7.89 | 85316 | 1053.5319 | 32.66
2006-07-14 | 11:43 | 717 | 557.883 | 65.02 | 18.217 | 29.245 | 2.837 | 7.37 | 122383 | 1332.5523 | 18.76
2006-07-14 | 11:43 | 730 | 557.885 | 64.8 | 18.215 | 29.252 | 2.811 | 7.37 | 123176 | 1337.6442 | 18.79
2006-07-14 | 11:44 | 777 | 554.902 | 63.19 | 21.198 | 29.255 | 2.837 | 7.08 | 129357 | 1378.9582 | 17.82
2006-07-14 | 11:45 | 815 | 544.847 | 61.07 | 31.253 | 29.24 | 2.837 | 6.63 | 138005 | 1435.879 | 16.8
2006-07-14 | 11:45 | 849 | 534.925 | 60.42 | 41.175 | 29.241 | 2.759 | 6.52 | 140765 | 1453.3252 | 16.44
2006-07-14 | 11:46 | 888 | 524.763 | 60.05 | 51.337 | 29.261 | 2.785 | 6.55 | 142341 | 1462.1974 | 16.38
2006-07-14 | 11:47 | 926 | 514.912 | 59.78 | 61.188 | 29.277 | 2.811 | 6.6 | 143534 | 1468.8178 | 15.53
2006-07-14 | 11:47 | 977 | 504.544 | 59.33 | 71.556 | 29.3 | 2.785 | 6.49 | 145500 | 1479.8235 | 15.92
2006-07-14 | 11:48 | 1011 | 494.545 | 58.99 | 81.555 | 29.308 | 2.837 | 6.41 | 147031 | 1488.8576 | 15.74
2006-07-14 | 11:49 | 1045 | 484.834 | 58.52 | 91.266 | 29.319 | 2.759 | 6.39 | 149149 | 1501.212 | 16.22
2006-07-14 | 11:49 | 1087 | 474.76 | 58.15 | 101.34 | 29.332 | 2.785 | 6.31 | 150795 | 1510.4735 | 16.37
2006-07-14 | 11:50 | 1125 | 464.735 | 57.54 | 111.365 | 29.344 | 2.811 | 6.36 | 153631 | 1526.8885 | 16.73
2006-07-14 | 11:51 | 1159 | 454.814 | 56.73 | 121.286 | 29.349 | 2.837 | 6.27 | 157458 | 1549.2218 | 16.83
2006-07-14 | 11:51 | 1197 | 445.059 | 56.36 | 131.041 | 29.363 | 2.837 | 6.34 | 159279 | 1559.1709 | 16.88
2006-07-14 | 11:52 | 1230 | 435.184 | 55.98 | 140.916 | 29.373 | 2.837 | 6.33 | 161095 | 1569.1322 | 17.07
2006-07-14 | 11:52 | 1264 | 424.863 | 55.83 | 151.237 | 29.382 | 2.759 | 6.32 | 161863 | 1573.0836 | 17.1
2006-07-14 | 11:53 | 1323 | 414.67 | 55.65 | 161.43 | 29.416 | 2.811 | 6.32 | 162715 | 1576.1613 | 17.11
2006-07-14 | 11:54 | 1352 | 405.202 | 55.44 | 170.898 | 29.424 | 2.811 | 6.31 | 163789 | 1581.8737 | 17.05
2006-07-14 | 11:54 | 1382 | 395.219 | 55.25 | 180.881 | 29.428 | 2.837 | 6.3 | 164739 | 1587.0708 | 16.88
2006-07-14 | 11:55 | 1420 | 384.727 | 55.03 | 191.373 | 29.434 | 2.811 | 6.29 | 165804 | 1592.7584 | 17.07
2006-07-14 | 11:55 | 1449 | 375.117 | 54.8 | 200.983 | 29.448 | 2.811 | 6.3 | 166997 | 1598.7255 | 17.18
2006-07-14 | 11:56 | 1479 | 364.937 | 54.39 | 211.163 | 29.458 | 2.837 | 6.26 | 169072 | 1609.8464 | 17.79
2006-07-14 | 11:56 | 1500 | 364.923 | 54.38 | 211.177 | 29.469 | 2.785 | 6.31 | 169137 | 1609.6183 | 17.81
2006-07-14 | 11:57 | 1529 | 355.226 | 53.89 | 220.874 | 29.48 | 2.837 | 6.26 | 171657 | 1623.0271 | 18.67
2006-07-14 | 11:57 | 1555 | 345.017 | 53.14 | 231.083 | 29.481 | 2.759 | 6.16 | 175668 | 1645.0324 | 19.73
2006-07-14 | 11:58 | 1593 | 334.81 | 52.14 | 241.29 | 29.489 | 2.837 | 6.05 | 181097 | 1673.9255 | 21.93
2006-07-14 | 12:00 | 1715 | 324.693 | 51.41 | 251.407 | 29.542 | 2.811 | 6.07 | 185155 | 1692.3499 | 23.88
2006-07-14 | 12:01 | 1795 | 323.848 | 51.39 | 252.252 | 29.547 | 2.811 | 6.03 | 185250 | 1692.5833 | 23.91
2006-07-14 | 12:02 | 1833 | 316.766 | 51.32 | 259.334 | 29.538 | 2.785 | 6.16 | 185637 | 1695.1439 | 28.18
Note on A66: Tracy B. Vermeyen: Date was corrected as suggested by Michael Wolfe's email.

## Winchell Bay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2006-08-07 | 11:07
Report from file: | ...\SN32034 2003-07-01 121123 win060714.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | win060714
Test defined on: | 2003-07-01 | 12:11
Test started on: | 2003-07-01 | 12:11
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 26
TOTAL DATA SAMPLES | 26
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  |  | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Elev (Ft) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-07-14 | 12:12 | 13 | 574.839 | 80.48 | 1.261 | 29.304 | 2.759 | 8.44 | 70533 | 903.4227 | 34.55
2006-07-14 | 12:12 | 34 | 572.973 | 80.29 | 3.127 | 29.304 | 2.811 | 8.41 | 76851 | 982.5465 | 34.59
2006-07-14 | 12:12 | 64 | 570.162 | 80.07 | 5.938 | 29.301 | 2.811 | 8.38 | 77388 | 987.2379 | 34.5
2006-07-14 | 12:13 | 110 | 567.079 | 79.14 | 9.021 | 29.301 | 2.759 | 8.17 | 79601 | 1006.0526 | 33.73
2006-07-14 | 12:14 | 144 | 563.967 | 76.03 | 12.133 | 29.289 | 2.811 | 8.26 | 87500 | 1071.7986 | 30.25
2006-07-14 | 12:14 | 177 | 560.906 | 73.73 | 15.194 | 29.273 | 2.811 | 8.25 | 93853 | 1122.9654 | 27.8
2006-07-14 | 12:15 | 211 | 550.646 | 62.77 | 25.454 | 29.212 | 2.785 | 7.3 | 131019 | 1391.9781 | 17.79
2006-07-14 | 12:15 | 236 | 540.878 | 61.26 | 35.222 | 29.21 | 2.811 | 6.67 | 137216 | 1432.3008 | 16.21
2006-07-14 | 12:16 | 266 | 530.909 | 60.24 | 45.191 | 29.233 | 2.811 | 6.51 | 141504 | 1458.3513 | 15.73
2006-07-14 | 12:17 | 342 | 520.56 | 59.9 | 55.54 | 29.305 | 2.733 | 6.63 | 142982 | 1463.9682 | 15.45
2006-07-14 | 12:18 | 385 | 510.964 | 59.42 | 65.136 | 29.311 | 2.811 | 6.55 | 145109 | 1476.8339 | 15.5
2006-07-14 | 12:18 | 419 | 500.99 | 59.14 | 75.11 | 29.315 | 2.811 | 6.53 | 146327 | 1484.1274 | 15.47
2006-07-14 | 12:19 | 457 | 490.914 | 58.82 | 85.186 | 29.323 | 2.785 | 6.58 | 147777 | 1492.6084 | 15.48
2006-07-14 | 12:20 | 487 | 481.165 | 58.46 | 94.935 | 29.333 | 2.733 | 6.47 | 149402 | 1502.0064 | 15.74
2006-07-14 | 12:20 | 533 | 470.873 | 57.85 | 105.227 | 29.345 | 2.785 | 6.52 | 152176 | 1518.0808 | 16.49
2006-07-14 | 12:21 | 572 | 461.076 | 57.39 | 115.024 | 29.358 | 2.811 | 6.43 | 154327 | 1530.2483 | 16.91
2006-07-14 | 12:21 | 601 | 450.817 | 56.94 | 125.283 | 29.366 | 2.785 | 6.44 | 156482 | 1542.5962 | 17.02
2006-07-14 | 12:22 | 631 | 440.884 | 56.44 | 135.216 | 29.372 | 2.759 | 6.45 | 158889 | 1556.3799 | 16.78
2006-07-14 | 12:23 | 687 | 431.228 | 56.08 | 144.872 | 29.397 | 2.811 | 6.48 | 160617 | 1565.0701 | 16.99
2006-07-14 | 12:23 | 695 | 431.268 | 56.09 | 144.832 | 29.403 | 2.811 | 6.5 | 160548 | 1564.3548 | 17
2006-07-14 | 12:23 | 721 | 421.14 | 55.85 | 154.96 | 29.408 | 2.811 | 6.43 | 161760 | 1571.0567 | 17.08
2006-07-14 | 12:24 | 751 | 411.015 | 55.59 | 165.085 | 29.41 | 2.811 | 6.44 | 163023 | 1578.2487 | 16.99
2006-07-14 | 12:24 | 780 | 400.914 | 55.31 | 175.186 | 29.415 | 2.811 | 6.43 | 164418 | 1585.9102 | 17.09
2006-07-14 | 12:25 | 823 | 391.207 | 55.21 | 184.893 | 29.436 | 2.811 | 6.41 | 164930 | 1587.6745 | 17.07
2006-07-14 | 12:26 | 857 | 381.122 | 54.98 | 194.978 | 29.448 | 2.785 | 6.39 | 166085 | 1593.606 | 17.34
2006-07-14 | 12:26 | 879 | 377.884 | 54.79 | 198.216 | 29.455 | 2.811 | 6.56 | 167028 | 1598.5472 | 22.61

## Finegold
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2006-08-07 | 11:08
Report from file: | ...\SN32034 2003-07-01 124145 fin060714.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fin060714
Test defined on: | 2003-07-01 | 12:42
Test started on: | 2003-07-01 | 12:42
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 25
TOTAL DATA SAMPLES | 25
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  |  | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Elev(ft) | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-07-14 | 12:42 | 15 | 575.392 | 81.38 | 0.708 | 29.288 | 2.759 | 7.81 | 74354 | 961.5108 | 34.76
2006-07-14 | 12:42 | 44 | 572.983 | 81.3 | 3.117 | 29.262 | 2.811 | 7.66 | 74549 | 964.1192 | 34.78
2006-07-14 | 12:43 | 78 | 569.996 | 80.95 | 6.104 | 29.268 | 2.811 | 7.69 | 75338 | 970.7474 | 34.53
2006-07-14 | 12:44 | 129 | 567.072 | 80.22 | 9.028 | 29.278 | 2.811 | 7.57 | 77040 | 985.0971 | 33.84
2006-07-14 | 12:45 | 193 | 563.939 | 75.53 | 12.161 | 29.269 | 2.811 | 7.18 | 88858 | 1083.5052 | 28.23
2006-07-14 | 12:46 | 240 | 553.718 | 62.34 | 22.382 | 29.173 | 2.759 | 6.15 | 132778 | 1405.465 | 16.71
2006-07-14 | 12:46 | 269 | 540.991 | 61.26 | 35.109 | 29.2 | 2.785 | 6.04 | 137218 | 1432.8576 | 16.07
2006-07-14 | 12:47 | 304 | 533.834 | 60.66 | 42.266 | 29.229 | 2.733 | 6.28 | 139753 | 1447.5272 | 15.77
2006-07-14 | 12:48 | 346 | 523.834 | 60.34 | 52.266 | 29.26 | 2.785 | 6.32 | 141109 | 1454.5588 | 15.63
2006-07-14 | 12:48 | 401 | 514.559 | 59.85 | 61.541 | 29.289 | 2.811 | 6.42 | 143212 | 1466.2036 | 15.53
2006-07-14 | 12:49 | 444 | 504.303 | 59.47 | 71.797 | 29.297 | 2.785 | 6.49 | 144876 | 1476.1661 | 15.46
2006-07-14 | 12:50 | 490 | 494.068 | 59.23 | 82.032 | 29.309 | 2.811 | 6.42 | 145940 | 1482.0692 | 15.38
2006-07-14 | 12:51 | 525 | 483.788 | 58.73 | 92.312 | 29.32 | 2.785 | 6.44 | 148161 | 1495.1532 | 15.24
2006-07-14 | 12:51 | 559 | 473.655 | 58.43 | 102.445 | 29.327 | 2.785 | 6.4 | 149540 | 1503.164 | 15.86
2006-07-14 | 12:52 | 593 | 463.979 | 57.8 | 112.121 | 29.334 | 2.785 | 6.39 | 152421 | 1520.1606 | 15.99
2006-07-14 | 12:52 | 606 | 464.022 | 57.82 | 112.078 | 29.343 | 2.785 | 6.42 | 152342 | 1519.2322 | 16.01
2006-07-14 | 12:52 | 640 | 454.228 | 57.17 | 121.872 | 29.351 | 2.785 | 6.39 | 155399 | 1536.9927 | 16.16
2006-07-14 | 12:53 | 669 | 444.186 | 56.68 | 131.914 | 29.357 | 2.785 | 6.35 | 157689 | 1550.1852 | 16.28
2006-07-14 | 12:53 | 699 | 433.817 | 56.23 | 142.283 | 29.365 | 2.785 | 6.31 | 159884 | 1562.5698 | 16.53
2006-07-14 | 12:54 | 729 | 424.089 | 55.97 | 152.011 | 29.374 | 2.785 | 6.29 | 161166 | 1569.4827 | 16.74
2006-07-14 | 12:54 | 759 | 414.178 | 55.68 | 161.922 | 29.389 | 2.785 | 6.31 | 162581 | 1576.868 | 16.95
2006-07-14 | 12:55 | 798 | 403.559 | 55.52 | 172.541 | 29.407 | 2.785 | 6.31 | 163374 | 1580.4172 | 17.14
2006-07-14 | 12:56 | 828 | 393.435 | 55.22 | 182.665 | 29.418 | 2.785 | 6.28 | 164855 | 1588.261 | 17.6
2006-07-14 | 12:56 | 866 | 384.211 | 54.93 | 191.889 | 29.432 | 2.785 | 6.81 | 166353 | 1596.1278 | 35.15
2006-07-14 | 12:56 | 879 | 383.752 | 54.73 | 192.348 | 29.438 | 2.785 | 6.84 | 167371 | 1601.8213 | 83.53